|  |  |
| --- | --- |
| Title | **Install three-phase wiring** |
| Level | **2** | **Credits** | **28** |

|  |  |
| --- | --- |
| Purpose | This competency standard is intended for those who carry out electrical operations. People holding credit for this competency standard are able to: Plan wiring layout; lay cable; perform wiring test; and complete work. |

|  |  |
| --- | --- |
| Classification ISCED | 0713 Electricity and energy |

|  |  |
| --- | --- |
| Available grade | Competent / Not yet competent |

|  |  |
| --- | --- |
| Modification history | N/A |

|  |  |  |
| --- | --- | --- |
| **Competency Unit** | **Performance Criteria** | **Knowledge and Understanding** |
| **F1:** **Plan wiring layout** | **P1-** Follow wiring layout**P2-** Measure distance to connection points**P3-** Estimate material**P4-** Prepare tools, equipment and materials | **K1-** Interpretation of drawings, symbols, cable number according to load, and colour coding**K2-** Measuring of units and conversion**K3-** Quality of different conductor and insulator types**K4-** Application of tools, equipment and materials |
| **F2:** **Lay cables** | **P1-** Prepare installation of cable**P2-** Install conduit, GI pipes, PVCpipesand/or ducts**P3-** Pull-in cables**P4-** Connect cables**P5-** Connect fixtures | **K1-** Chiselling, ducting, PVC and GIpipe wiring procedures**K2-** Properties of materials**K3-** Application of cables and tools**K4-** Types of joints**K5-** Types and purpose of fixtures |
| **F3:** **Perform wiring test** | **P1-** Inspect wiring and distribution board**P2-** Conduct tests**P3-** Document test results | **K1-** Importance of continuity and factors of loose fittings**K2-** Application of equipment and tools used for testing; Importance of earthing, voltage level, short circuit, phase sequence, installation test etc.**K3-** Importance of documenting compliance & noncompliance of test results and subsequent steps to be taken |
| **F4:** **Complete work** | **P1-** Complete work related documents and procedures**P2-** Perform final quality inspection**P3-** Clean up and store tools, equipment and materials | **K1-** Importance of documentation; Customer care procedures and techniques**K2-** Importance of quality; handing over to client**K3-** Waste disposal procedures; Care of tools and equipment |