Assessment Evidence Guide For “General Electrician/ Domestic Electrician Level-2” Install Single Phase Electrical Wiring (Formative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | General Electrician/ Domestic Electrician Level-II |
| --- | --- |
| Competency Standard | Install Simple Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, the candidate is required to perform the given tasks by following operational health and safety at workplace within time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase - Lay cables - Practice single phase electrical circuit - Perform single-phase electrical domestic wiring. |
| Minimum Evidence Required | Maintain Tools & Equipment for Single Phase Wiring - Identify tools and equipment - Prepare list of tools and equipment as per requirement - Arrange Tools and Equipment - Interpret job card - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment - Maintain Tool Box Make Cable/Wire Joints for Single Phase Wiring - Select the cable. - Strip the wire according to 50mm. - Make Cross/Twist joint - Make Straight/Married joint - Make T- Joint - Make Rat tail joint - Make Britannia joint Prepare and Install Distribution Boards for Single Phase - Develop Basic Drawing - Prepare estimate for wiring material. - Prepare Distribution Board - Install Distribution Board. - Test Distribution board. Lay cables - Interpret electrical drawing/document - Identify cables - Lay cables - Perform earthling Practice single phase electrical circuit - Draw wiring diagram of single phase circuit. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Perform single phase electrical domestic wiring - Draw wiring diagram for single phase. - Draw Current path diagram for single phase. - Draw layout diagram for single phase. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | General Electrician/ Domestic Electrician Level-II |
| Competency Standard | Install Simple Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | To meet this standard, the candidate is required to perform the given tasks by following operational health and safety at workplace within time frame (for practical demonstration & assessment): - Make single pole switch circuit. - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit. - Make intermediate switch circuit. - Make of Tunnel circuit - Make impulse switch circuit. - Connect Electrical power Backup system (e.g UPS, Solar, generator) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify tools and equipment |  |  |
| - Prepare list of tools and equipment as per requirement |  |  |
| - Arrange Tools and Equipment |  |  |
| - Interpret job card |  |  |
| - Insulate Tools and Equipment |  |  |
| - Calibrate measuring tools |  |  |
| - Manage Inventory of tools and equipment |  |  |
| - Maintain Tool Box |  |  |
| - Select the cable. |  |  |
| - Strip the wire according to 50mm. |  |  |
| - Make Cross/Twist joint |  |  |
| - Make Straight/Married joint |  |  |
| - Make T- Joint |  |  |
| - Make Rat tail joint |  |  |
| - Make Britannia joint |  |  |
| - Develop Basic Drawing |  |  |
| - Prepare estimate for wiring material. |  |  |
| - Prepare Distribution Board |  |  |
| - Install Distribution Board. |  |  |
| - Test Distribution board. |  |  |
| - Interpret electrical drawing/document |  |  |
| - Identify cables |  |  |
| - Lay cables |  |  |
| - Perform earthling |  |  |
| - Draw wiring diagram of single phase circuit. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Draw wiring diagram for single phase. |  |  |
| - Draw Current path diagram for single phase. |  |  |
| - Draw layout diagram for single phase. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | General Electrician/ Domestic Electrician Level-II |
| --- | --- |
| Competency Standard | Install Simple Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Make single pole switch circuit. - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit. - Make intermediate switch circuit. - Make of Tunnel circuit - Make impulse switch circuit. - Connect Electrical power Backup system (e.g UPS, Solar, generator) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify tools and equipment |  |  |  |  |  |
|  | Prepare list of tools and equipment as per requirement |  |  |  |  |  |
|  | Arrange Tools and Equipment |  |  |  |  |  |
|  | Interpret job card |  |  |  |  |  |
|  | Insulate Tools and Equipment |  |  |  |  |  |
|  | Calibrate measuring tools |  |  |  |  |  |
|  | Manage Inventory of tools and equipment |  |  |  |  |  |
|  | Maintain Tool Box |  |  |  |  |  |
|  | Select the cable. |  |  |  |  |  |
|  | Strip the wire according to 50mm. |  |  |  |  |  |
|  | Make Cross/Twist joint |  |  |  |  |  |
|  | Make Straight/Married joint |  |  |  |  |  |
|  | Make T- Joint |  |  |  |  |  |
|  | Make Rat tail joint |  |  |  |  |  |
|  | Make Britannia joint |  |  |  |  |  |
|  | Develop Basic Drawing |  |  |  |  |  |
|  | Prepare estimate for wiring material. |  |  |  |  |  |
|  | Prepare Distribution Board |  |  |  |  |  |
|  | Install Distribution Board. |  |  |  |  |  |
|  | Test Distribution board. |  |  |  |  |  |
|  | Interpret electrical drawing/document |  |  |  |  |  |
|  | Identify cables |  |  |  |  |  |
|  | Lay cables |  |  |  |  |  |
|  | Perform earthling |  |  |  |  |  |
|  | Draw wiring diagram of single phase circuit. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Draw wiring diagram for single phase. |  |  |  |  |  |
|  | Draw Current path diagram for single phase. |  |  |  |  |  |
|  | Draw layout diagram for single phase. |  |  |  |  |  |
|  | Mark on working board according to layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | General Electrician/ Domestic Electrician Level-II |
| --- | --- |
| Competency Standard | Install Simple Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Job Card/Work order. |  |  |
|  | Differentiate between cable and wire. |  |  |
|  | Describe the type of soldering. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________