Assessment Evidence Guide For “Industrial Electrician Level-3” Identify Vector Group of Three Phase Transformer (Formative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Identify Vector Group of Three Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect three identical single phase transformer in star to star connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect three identical single phase transformer in delta to delta connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). Connect 3-phase transformers as per given vector group Yd11 and Yd1 - Connect three identical single phase transformer in star to delta connection. - Connect phase angle meter between primary and secondary. - Apply rated voltage to the primary side of transformer. - Measure the phase angle between primary and secondary with the help of phase angle meter (300 lag or 300 lead). |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Electrician |
| Competency Standard | Identify Vector Group of Three Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Connect three identical single phase transformer in star to star connection. |  |  |
| - Connect phase angle meter between primary and secondary. |  |  |
| - Apply rated voltage to the primary side of transformer. |  |  |
| - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |  |  |
| - Connect three identical single phase transformer in delta to delta connection. |  |  |
| - Connect phase angle meter between primary and secondary. |  |  |
| - Apply rated voltage to the primary side of transformer. |  |  |
| - Measure the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |  |  |
| - Connect three identical single phase transformer in star to delta connection. |  |  |
| - Connect phase angle meter between primary and secondary. |  |  |
| - Apply rated voltage to the primary side of transformer. |  |  |
| - Measure the phase angle between primary and secondary with the help of phase angle meter (300 lag or 300 lead). |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Identify Vector Group of Three Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Connected three identical single phase transformer in star to star connection. |  |  |  |  |  |
|  | Connected phase angle meter between primary and secondary. |  |  |  |  |  |
|  | Applied rated voltage to the primary side of transformer. |  |  |  |  |  |
|  | Measured the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |  |  |  |  |  |
|  | Connected three identical single phase transformer in delta to delta connection. |  |  |  |  |  |
|  | Connected phase angle meter between primary and secondary. |  |  |  |  |  |
|  | Applied rated voltage to the primary side of transformer. |  |  |  |  |  |
|  | Measured the phase angle between primary and secondary with the help of phase angle meter (00 and 1800). |  |  |  |  |  |
|  | Connected three identical single phase transformer in star to delta connection. |  |  |  |  |  |
|  | Connected phase angle meter between primary and secondary. |  |  |  |  |  |
|  | Applied rated voltage to the primary side of transformer. |  |  |  |  |  |
|  | Measured the phase angle between primary and secondary with the help of phase angle meter (300 lag or 300 lead). |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Identify Vector Group of Three Phase Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain star to star connection. |  |  |
|  | Explain the term phase angle |  |  |
|  | How to connect phase angle meter between primary and secondary of the transformer? |  |  |
|  | What is the phase angle of vector group Yy0? |  |  |
|  | What is the phase angle of vector group Yd11? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________