Assessment Evidence Guide For “Industrial Electrician Level-3” Install Three Phase Complex Electrical Wiring (Formative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Install Three Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with Indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator - Perform Electrical Work in Industrial Area. |
| Minimum Evidence Required | - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with Indicator. - Draw power diagram of circuit. - Draw control diagram of circuit. - Draw installation diagram of circuit. - Mark on exercise board according to installation/layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Draw power diagram of circuit. - Draw control diagram of circuit. - Draw installation diagram of circuit. - Mark on exercise board according to installation/layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator. - Draw power diagram of circuit. - Draw control diagram of circuit. - Draw installation diagram of circuit. - Mark on exercise board according to installation/layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator - Draw power diagram of circuit. - Draw control diagram of circuit. - Draw installation diagram of circuit. - Mark on exercise board according to installation/layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply. - Perform Electrical Work in Industrial Area. - Install wire for grounding - Perform pre Installation module based Tests - Perform integrated tests. - Install conduits or Trunks in the building as per drawing - Install electrical wiring, as per drawing and standard. - Install centralize lighting, heating, cooling system and other appliances - Install main box and distribution box. - Install Electric Breakers and switch gears in main box, as per load for safety measures - Install fire alarm and smoke detector system - Install the appliances used in electric work as per drawing - Install emergency light system in main box, as per standard color scheme - Install Main Distribution Board. - Test and certify the Installed system. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Electrician |
| Competency Standard | Install Three Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with Indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator - Perform Electrical Work in Industrial Area. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw power diagram of circuit. |  |  |
| - Draw control diagram of circuit. |  |  |
| - Draw installation diagram of circuit. |  |  |
| - Mark on exercise board according to installation/layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Install wire for grounding |  |  |
| - Perform pre Installation module based Tests |  |  |
| - Perform integrated tests. |  |  |
| - Install conduits or Trunks in the building as per drawing |  |  |
| - Install electrical wiring, as per drawing and standard. |  |  |
| - Install centralize lighting, heating, cooling system and other appliances |  |  |
| - Install main box and distribution box. |  |  |
| - Install Electric Breakers and switch gears in main box, as per load for safety measures |  |  |
| - Install fire alarm and smoke detector system |  |  |
| - Install the appliances used in electric work as per drawing |  |  |
| - Install emergency light system in main box, as per standard color scheme |  |  |
| - Install Main Distribution Board. |  |  |
| - Test and certify the Installed system. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Install Three Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator - Perform Electrical Work in Industrial Area. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Drew power diagram of circuit. |  |  |  |  |  |
|  | Drew control diagram of circuit. |  |  |  |  |  |
|  | Drew installation diagram of circuit. |  |  |  |  |  |
|  | Marked on exercise board according to installation/layout diagram. |  |  |  |  |  |
|  | Installed accessories according to layout diagram. |  |  |  |  |  |
|  | Laid wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Made connections according to wiring diagram. |  |  |  |  |  |
|  | Checked the circuit before connect the main supply. |  |  |  |  |  |
|  | Made connection with main supply. |  |  |  |  |  |
|  | Checked the function of circuit after connect the main supply |  |  |  |  |  |
|  | Installed wire for grounding |  |  |  |  |  |
|  | Performed pre Installation module based Tests |  |  |  |  |  |
|  | Performed integrated tests. |  |  |  |  |  |
|  | Installed conduits or Trunks in the building as per drawing |  |  |  |  |  |
|  | Installed electrical wiring, as per drawing and standard. |  |  |  |  |  |
|  | Installed centralize lighting, heating, cooling system and other appliances |  |  |  |  |  |
|  | Installed main box and distribution box. |  |  |  |  |  |
|  | Installed Electric Breakers and switch gears in main box, as per load for safety measures |  |  |  |  |  |
|  | Installed fire alarm and smoke detector system |  |  |  |  |  |
|  | Installed the appliances used in electric work as per drawing |  |  |  |  |  |
|  | Installed emergency light system in main box, as per standard color scheme |  |  |  |  |  |
|  | Installed Main Distribution Board. |  |  |  |  |  |
|  | Tested and verified the Installed system. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Install Three Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Define star/delta circuit. |  |  |  |
|  | Describe three phase motor. |  |  |  |
|  | Describe Magnetic contactor |  |  |  |
|  | List types of wiring. |  |  |  |
|  | Describe star/delta conversion |  |  |  |
|  | List types of electric circuit breaker. |  |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |