Assessment Evidence Guide For “Industrial Electrician Level-3” Verify Basic Laws of Electromagnetic induction (Formative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Verify Basic Laws of Electromagnetic induction |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil and magnet. - Verify Faraday’s Law using simple loop generator. - Verify Torque induce in a current carrying loop - Verify Mutual induction |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Verify Faraday’s law by moving permanent magnet inside the coil. - Construct a coil. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow. - Record the effect of movement of magnet on reading of Galvanometer. - Hold the magnet inside the coil and record the effect on reading of Galvanometer again. Verify Faraday’s law by moving coil near the magnet field. - Fix permanent magnet and move the coil fast and slow on it. - Record the effect of movement of coil on reading of Galvanometer. - Hold the coil near the magnetic field and record the effect on reading of Galvanometer. Verify Faraday’s law using relative motion of coil and magnet. - Make relative motion of coil and magnet. - Record the effect of movement on reading of Galvanometer. Verify Faraday’s Law using simple loop generator. - Identify single loop generator and its parts. - Select field winding. - Connect Galvanometer with single loop coil. - Rotate the single loop coil of generator in the field - Measures the voltages induce in loop generator. - Record the effect of movement on reading of Galvanometer. Verify Torque induce in a current carrying loop - Apply DC voltage to this coil. - Place a current carrying loop in this coil and check the direction of force to verify the torque produce. Verify Mutual induction - Construct 2 coils on two different legs of core. - Apply AC voltage to the any one coil and check the voltage induce in other coil by voltmeter - Check the volts induce in other coil by voltmeter |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Electrician |
| Competency Standard | Verify Basic Laws of Electromagnetic induction |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): 1. Verify Faraday’s law by moving permanent magnet inside the coil. 2. Verify Faraday’s law by moving coil near the magnet field. 3. Verify Faraday’s law using relative motion of coil and magnet. 4. Verify Faraday’s Law using simple loop generator. 5. Verify Torque induce in a current carrying loop 6. Verify Mutual induction |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Construct a coil. |  |  |
| - Connect Galvanometer with coil. |  |  |
| - Move permanent magnet inside the coil fast and slow. |  |  |
| - Record the effect of movement of magnet on reading of Galvanometer. |  |  |
| - Hold the magnet inside the coil and record the effect on reading of Galvanometer again. |  |  |
| - Fix permanent magnet and move the coil fast and slow on it. |  |  |
| - Record the effect of movement of coil on reading of Galvanometer. |  |  |
| - Hold the coil near the magnetic field and record the effect on reading of Galvanometer. |  |  |
| - Make relative motion of coil and magnet. |  |  |
| - Record the effect of movement on reading of Galvanometer. |  |  |
| - Identify single loop generator and its parts. |  |  |
| - Select field winding. |  |  |
| - Connect Galvanometer with single loop coil. |  |  |
| - Rotate the single loop coil of generator in the field |  |  |
| - Measures the voltages induce in loop generator. |  |  |
| - Record the effect of movement on reading of Galvanometer. |  |  |
| - Apply DC voltage to this coil. |  |  |
| - Place a current carrying loop in this coil and check the direction of force to verify the torque produce. |  |  |
| - Construct 2 coils on two different legs of core. |  |  |
| - Apply AC voltage to the any one coil and check the voltage induce in other coil by voltmeter |  |  |
| - Check the volts induce in other coil by voltmeter |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Verify Basic Laws of Electromagnetic induction |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): 1. Verify Faraday’s law by moving permanent magnet inside the coil. 2. Verify Faraday’s law by moving coil near the magnet field. 3. Verify Faraday’s law using relative motion of coil and magnet. 4. Verify Faraday’s Law using simple loop generator. 5. Verify Torque induce in a current carrying loop 6. Verify Mutual induction |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Constructed a coil. |  |  |  |  |  |
|  | Connected Galvanometer with coil. |  |  |  |  |  |
|  | Moved permanent magnet inside the coil fast and slow. |  |  |  |  |  |
|  | Recorded the effect of movement of magnet on reading of Galvanometer. |  |  |  |  |  |
|  | Held the magnet inside the coil and recorded the effect on reading of Galvanometer again. |  |  |  |  |  |
|  | Fixed permanent magnet and move the coil fast and slow on it. |  |  |  |  |  |
|  | Recorded the effect of movement of coil on reading of Galvanometer. |  |  |  |  |  |
|  | Held the coil near the magnetic field and recorded the effect on reading of Galvanometer. |  |  |  |  |  |
|  | Made relative motion of coil and magnet. |  |  |  |  |  |
|  | Recorded the effect of movement on reading of Galvanometer. |  |  |  |  |  |
|  | Identified single loop generator and its parts. |  |  |  |  |  |
|  | Selected field winding. |  |  |  |  |  |
|  | Connected Galvanometer with single loop coil. |  |  |  |  |  |
|  | Rotated the single loop coil of generator in the field |  |  |  |  |  |
|  | Measured the voltages induce in loop generator. |  |  |  |  |  |
|  | Recorded the effect of movement on reading of Galvanometer. |  |  |  |  |  |
|  | Applied DC voltage to this coil. |  |  |  |  |  |
|  | Placed a current carrying loop in this coil and checked the direction of force to verify the torque produce. |  |  |  |  |  |
|  | Constructed 2 coils on two different legs of core. |  |  |  |  |  |
|  | Applied AC voltage to the any one coil and checked the voltage induce in other coil by voltmeter |  |  |  |  |  |
|  | Checked the volts induce in other coil by voltmeter |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Electrician |
| --- | --- |
| Competency Standard | Verify Basic Laws of Electromagnetic induction |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is first law of Faraday? |  |  |
|  | How can we find the direction of induced emf? |  |  |
|  | What is torque? |  |  |
|  | What is mutual induction? |  |  |
|  | Which machine work on the principle of mutual induction |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________