Assessment Evidence Guide For “Industrial Electrician Level-3” (Summative Assessment)

National Vocational & Technical Training Commission Islamabad

Instruction Sheet for the Candidate

| Qualification | Industrial Electrician Level-3 |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electromagnetic induction - Operate/Perform associated test on Transformer - Identify Vector Group of Three Phase Transformer - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Repair/Maintain Electrical Installations of Three Phase - Maintain professionalism in the workplace and advance Green Practices |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Verify Faraday’s Law using simple loop generator. - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator - Perform Continuity/Loop Test |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify single loop generator and its parts. - Select field winding. - Connect Multi-meter with single loop coil. - Rotate the single loop coil of generator in the field - Measures the voltages induce in loop generator. - Record the effect of movement on reading of Galvanometer. - Draw power diagram of circuit. - Draw control diagram of circuit. - Draw installation diagram of circuit. - Mark on exercise board according to installation/layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply). - Connect all metal clad switches, metal parts, conduits with earth. - Open the main switch. - Turn on all the switches. - Connect earth continuity tester with conduit and independent earth. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Electrician Level-3 |
| Competency Standard | - Verify Basic Laws of Electromagnetic induction - Operate/Perform associated test on Transformer - Identify Vector Group of Three Phase Transformer - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Repair/Maintain Electrical Installations of Three Phase - Maintain professionalism in the workplace and advance Green Practices |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Verify Faraday’s Law using simple loop generator. - Make and Install 3-phase motor connection 2 speed by Magnetic contactor with indicator - Perform Continuity/Loop Test |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify single loop generator and its parts. |  |  |
| - Select field winding. |  |  |
| - Connect Multi-meter with single loop coil. |  |  |
| - Rotate the single loop coil of generator in the field |  |  |
| - Measures the voltages induce in loop generator. |  |  |
| - Record the effect of movement on reading of Multi-meter. |  |  |
| - Draw layout circuit diagram of circuit. |  |  |
| - Draw power diagram of circuit. |  |  |
| - Draw control diagram of circuit. |  |  |
| - Draw installation diagram of circuit. |  |  |
| - Mark on exercise board according to installation/layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply). |  |  |
| - Check the control circuit, power circuit and motor connection carefully in the supervisor assessor. |  |  |
| - Connect all metal clad switches, metal parts, conduits with earth. |  |  |
| - Open the main switch. |  |  |
| - Turn on all the switches. |  |  |
| - Connect earth continuity tester with conduit and independent earth. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Electrician Level-3 |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electromagnetic induction - Operate/Perform associated test on Transformer - Identify Vector Group of Three Phase Transformer - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Repair/Maintain Electrical Installations of Three Phase - Maintain professionalism in the workplace and advance Green Practices |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | The candidate is required to complete the given task by following the operational health and safety at workplace within time frame (for practical demonstration & assessment): - Verify Faraday’s Law using simple loop generator. - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator - Perform Continuity/Loop Test |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify single loop generator and its parts. |  |  |  |  |  |
|  | Select field winding. |  |  |  |  |  |
|  | Connect Multi-meter with single loop coil. |  |  |  |  |  |
|  | Rotate the single loop coil of generator in the field |  |  |  |  |  |
|  | Measures the voltages induce in loop generator. |  |  |  |  |  |
|  | Record the effect of movement on reading of Galvanometer. |  |  |  |  |  |
|  | Draw power diagram of circuit. |  |  |  |  |  |
|  | Draw control diagram of circuit. |  |  |  |  |  |
|  | Draw installation diagram of circuit. |  |  |  |  |  |
|  | Mark on exercise board according to installation/layout diagram. |  |  |  |  |  |
|  | Install accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Check the circuit before connect the main supply. |  |  |  |  |  |
|  | Make connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply). |  |  |  |  |  |
|  | Connect all metal clad switches, metal parts, conduits with earth. |  |  |  |  |  |
|  | Open the main switch. |  |  |  |  |  |
|  | Turn on all the switches. |  |  |  |  |  |
|  | Connect earth continuity tester with conduit and independent earth. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Electrician Level-3 |
| --- | --- |
| Competency Standard | - Verify Basic Laws of Electromagnetic induction - Operate/Perform associated test on Transformer - Identify Vector Group of Three Phase Transformer - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Repair/Maintain Electrical Installations of Three Phase - Maintain professionalism in the workplace and advance Green Practices |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is star to Delta connection? |  |  |
|  | Explain the relation between line voltage and phase voltage in delta connection. |  |  |
|  | Define star/delta circuit. |  |  |
|  | Describe Magnetic contactor. |  |  |
|  | What is the purpose of DC supply in Murray loop test? |  |  |
|  | Describe purpose of Galvanometer. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________