NATIONAL COMPETENCY STANDARDS

National Competency Standards

FOR

DIALYSIS TECHNICIAN

Edited and Coordinated by:

Mr. Atif Mahmood

Technical Advisor (CBT&A)/HRD/Assessment)

TVET Sector Support Programme (TSSP)

GIZ, Islamabad

Quality Assessed by:

Mr. Muqeem-ul-Islam Director General (Skills, Standards and Curricula) NAVTTC, Islamabad Mr. Muhammad Naeem Akhtar Senior Technical Advisor (QA) Islamabad

NAVTTC is extremely thankful to the management of Shifa International Hospital for their contribution and concerted efforts for engaging their technical experts and consultants in competency standard development activities.

TABLE OF CONTENTS

INTRODUCTION	6

PURPOSE OF THE QUALIFICATION	8

DATE OF VALIDATION	8

DATE OF REVIEW	8

CODE OF QUALIFICATION	8

QUALIFICATIONS DEVELOPMENT COMMITTEE	9

QUALIFICATIONS VALIDATION COMMITTEE	10

ENTRY REQUIREMENTS	11

REGULATIONS FOR THE QUALIFICATION AND SCHEDULE OF UNITS	11

SUMMARY OF COMPETENCY STANDARDS	11

091400661       Demonstrate Ethical Behaviour in Health Sector	12

091400652	Maintain Health, Safety and Environment	15

091400653      Identify the Patient for Dialysis	17

091400677        Ensure Safe Transfer of the Patient	19

091400654	Check Vital Signs of Patient	20

091400655	Prepare Dialysis Machine	22

091400656	Access Vascular Assessment	23

091400657	Cannulation of Access /Catheter Initiation	25

091400658	Initiate Dialysis Procedure	27

091400659	Take Safety Measures During Dialysis Process	29

091400660	Discontinue Dialysis Treatment	31

071300559	Demonstrate Communication Skills	33

LIST OF TOOLS AND EQUIPMENT	35

# INTRODUCTION

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

- National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace. For development of competency-based training standards/curricula, NAVTTC adopted DACUM (Developing a Curriculum) approach with the technical and financial support of TVET-SSP.

Dialysis Technicians play a key role in the healthcare field by providing care to patients afflicted with acute or chronic renal disease. A dialysis technician performs functions in multiple roles, which include dialyzer reprocessing, equipment maintenance and repair, water treatment monitoring, participation in quality improvement, vascular access monitoring and direct patient care. They are allied health professionals who work closely with and care for patients while they undergo dialysis treatments.

Considering their critical role in health sector and the demand in the local and international job market, National Vocational & Technical Training Commission (NAVTTC) developed National Competency Standards (NCS). The NCS for Dialysis Technician were developed in close collaboration with industry through Qualifications Development Committee (QDC) which has representation from the leading health sector establishment in the country. Competency standards, which are benchmarks for the performance, cover the commercial aspects of a generator mechanic’s job. Required skills, underpinning knowledge and attitudes expected of a generator mechanic have been incorporated in these competency standards while setting standards for the performance of a Dialysis Technician. The NAVTTC endorsed National Competency Standards (NSCs) for Dialysis Technician will provide the basis for further development of curricula, assessment materials and instructional materials that will support implementation of competency-based training and assessment at institutional level.

The details of NCSs packaged in this qualification are as under:

National Vocational Certificate Level – 4 in Dialysis Technician

| 091400652 | Maintain Health, Safety and Environment |
| --- | --- |
| 091400661 | Demonstrate Ethical Behaviour in Health Sector |
| 071300559 | Demonstrate Communication Skills |
| 091400653 | Identify the Patient for Dialysis |
| 091400654 | Check Vital Signs of Patient |
| 091400655 | Prepare Dialysis Machine |
| 091400677 | Ensure Safe transfer of the Patient |
| 091400656 | Vascular access assessment |
| 091400657 | Cannulation /Catheter initiation |
| 091400658 | Initiate Dialysis procedure |
| 091400659 | Safety measures during dialysis process |
| 091400660 | Discontinue Dialysis Treatment |

# PURPOSE OF THE QUALIFICATION

In this training program trainee will learn and acquire specialized knowledge and particle skills required to function as a Dialysis Operator both at public and private levels. The specific objectives of developing these qualifications are as under:

- Improve the overall quality of training delivery and setting national benchmarks for training of generator mechanic in the country

- Provide flexible pathways and progressions to learners enabling them to receive relevant, up-to-date and recent skills

- Provide basis for competency-based assessment which is recognized and accepted by employers

- Establish a standardized and sustainable system of training for generator mechanic in the country

# DATE OF VALIDATION

These national qualifications have been validated by the Qualification Validation Committee (QVC) on 14th & 15th March, 2019 in Islamabad and will remain currency until February, 2021.

# DATE OF REVIEW

These national qualifications may be reviewed in February, 2021.

# CODE OF QUALIFICATION

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling, and analyzing cross-nationally comparable statistics on education and training, ISCED codes for these qualifications as assigned as follow:

| Qualification Title | Code |
| --- | --- |
| National Vocational Certificate Level – 4 in Dialysis Technician | 0914H&W08 |

# QUALIFICATIONS DEVELOPMENT COMMITTEE

The Qualifications Development Committee consisted of following members:

| S. No. | NAME | DESIGNATION &ORGANIZATION |
| --- | --- | --- |
|  | Dr. Farrukh Mateen, Director SIMT | Shifa Int. Hospitals, Islamabad |
|  | Mr. Imdad Ismail, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. M. Tehseen Javaid, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Muhammad Ishaq, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Ameer Hamza, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Muhamamd Umer Azeem, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Khurram Aftab Khattak, Technician, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Muhamamd Amir, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Shujat Ali, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Mr. Muzamil Hanif, Technician Hemo Dialysis | Shifa Int. Hospitals, Islamabad |
|  | Ms. Shahid Riaz, Nursing Instructor | Shaukat Khanum Memorial Cancer Hospital & Research Centre, Lahore |
|  | Mr. Muhammad Raza Shah, Team Leader | Ali Medical, Islamabad. |
|  | Mr. Amjad Parvaiz, Dialysis Technician | Sharif Medical Complex, Lahore |
|  | Mr. Muhammad Nasir Khan | DACUM Facilitator |

# QUALIFICATIONS VALIDATION COMMITTEE

The Qualifications validation Committee consisted of following members:

| S. No. | NAME | DESIGNATION &ORGANIZATION |
| --- | --- | --- |
| 1. | Dr. Ehtsham Hafeez | Medical Specialist / Nephrology Fellow, Shifa international Hospital H8/4, Islamabad. |
| 2. | Mr. Tariq Hussein Bhatti | Assistant secretary, Balochistan Medical Faculty, Quetta |
| 3. | Mrs.Roofia Binyamin | RN, Quaid-e-Azam International Hospital, Islamabad. |
| 4. | M. Siddique | Senior Dialysis Technician, Sharif Medical City Hospital, Lahore |
| 5. | Abdul Rauf | Senior Dialysis Technician, Life Care International Hospital, G-10 Markaz, Islamabad |
| 6. | M. Asif | Senior Dialysis Technician, Shifa International Hospital, H8/4, Islamabad. |
| 7. | Ameer Hamza | Senior Dialysis Technician, Shifa International Hospital, H8/4, Islamabad. |
| 8. | Munazza Tanveer | DACUM Facilitator |
| 11. | Mr. Muhammad Nasir Khan | EX-DD, SS&C NAVTTC- DACUM Facilitator |

# ENTRY REQUIREMENTS

The entry requirement in Level - 3 NVQ is Matric Science preferably FSc.A

# REGULATIONS FOR THE QUALIFICATION AND SCHEDULE OF UNITS

Not Applicable.

# SUMMARY OF COMPETENCY STANDARDS

| Code | Competency Standard | Level | Credits | Category |
| --- | --- | --- | --- | --- |
| 091400652 | Maintain Health, Safety and Environment | 3 | 3 | Functional |
| 091400653 | Identify the Patient | 3 | 3 | Technical |
| 091400654 | Check Vital Signs of Patient | 3 | 3 | Technical |
| 091400677 | Ensure Safe transfer of the Patient | 3 | 4 | Technical |
| 091400655 | Prepare dialysis Machine | 3 | 4 | Technical |
| 091400656 | Access Vascular assessment | 4 | 5 | Technical |
| 091400657 | Cannulation of access /Catheter initiation | 4 | 17 | Technical |
| 091400658 | Initiate Dialysis procedure | 4 | 3 | Technical |
| 091400659 | Take safety measures during dialysis process | 4 | 11 | Technical |
| 091400660 | Discontinue Dialysis Treatment | 4 | 15 | Technical |
| 091400661 | Demonstrate Ethical Behaviour in Health Sector | 3 | 3 | Generic |
| 071300559 | Demonstrate Communication Skills | 3 | 3 | Generic |

NTRY

EMEN

# 091400661       Demonstrate Ethical Behaviour in Health Sector

Overview

For effective delivery of health services to clients and community, it is imperative to act ethically and diligently. This Competency Standard, therefore, is specifically developed for allied health sector practitioners and technicians to improve their performance at workplace by demonstrating high level of ethical behavior. This Competency Standard identifies the competencies required to work ethically and effectively in this sector.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Work ethically | - Follow ethical guidelines in decision-making in all work undertaken in the health setting with awareness of potential ethical complexity in own work role - Reflect understanding and compliance with the principles of duty of care and legal responsibilities in all work undertaken - Refer any breach or non-adherence to standard procedures or adverse event to appropriate personnel - Maintain confidentiality of any client matter in line with organisation policy and procedure - Show respect for rights and responsibilities of others through considered application of work practices - Reflect current working knowledge and understanding of employee and employer rights and responsibilities in all work undertaken - Recognise, avoid and/or address any conflict of interest |
| 2. Practice high standards of personal hygiene | - Maintain personal hygiene with an understanding of risks associated with contamination and infection in a health setting - Wear personal protective equipment correctly according to organisation requirements - Safely dispose of infectious and/or hazardous waste material according to waste management policy and procedures - Report or initiate action within own area of responsibility to redress any potential workplace hazards |
| 3. Maintain professional work standards | - Identify relevant organisation policies and procedures relating to awards, standards and legislative requirements of own work role and clarify any uncertainties with appropriate personnel - Contribute to identifying and implementing improved work practices - Comply with relevant accreditation standards applying to work undertaken - Reflect understanding and focus on achieving organisation goals and objectives in all work undertaken - Respond positively to changes to improve work practices and procedures in accordance with organisation requirements - Identify and report issues requiring mandatory notification to supervisor and/or appropriate authority |
| 4. Work effectively within the health care system | - Demonstrate respect for workers from different sectors and levels of the industry - Work with awareness of the roles of various organisations in the health care system in Australia - Maintain awareness of current issues influencing health care, including health issues for Indigenous Australians |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understanding of relevant organisation procedures, policies, awards, standards and legislation and how to access them

- Meaning of Duty of Care, confidentiality of information and ethical decision-making in relation to specific work role duties and responsibilities; what constitutes a breach of these and potential ramifications of such a breach

- Organisation procedures relating to emergency response, fire safety and security

- Principles underpinning client-centred health care

- Principles of client safety

- Relevance of the work role and functions to maintaining sustainability of the workplace, including environmental, economic, workforce and social sustainability

- Role, function and objectives of the organisation, and relevance to specific work role

- Apply decision-making and problem-solving skills as required to constructively achieve identified outcomes in line with work role

- Demonstrate communication skills as required by specific work role

Critical Evidence(s) Required

The candidates need to produce following critical evidence(s) to be competent in this competency standard:

- The individual being assessed must provide evidence of specified essential knowledge as well as skills

- Consistency of performance should be demonstrated over a range of workplace situations

# 091400652	Maintain Health, Safety and Environment

Overview

This Competency Standard relates with health sector and identifies the competencies required to protect/apply occupational Safety, Health and Environment at workplace according to institutions’ approved guidelines and interpret environmental regulations/procedures. Trainee will be expected to identify and use Personal Protective Equipment (PPE) according to the work place requirements.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1.Observe Occupational Safety and Health | P1. Ensure safety at work place, comply with health and safety precautions and other regulations consistent with national/international standards. P2. Identify health and safety hazards in the workplace i.e. prevention of actual and potential personal injury, damage to the equipment at the workplace etc. and corrective action is taken according to safety guidelines. P3. Initiate the corrective preventive action if in your control otherwise report to the concerned according to organizational SOP. P4. Maintain Safe and clean environment, ensure infection control measures, equipment/ instruments storage guidelines to prevent incidents according to the institution’s policy. P5. Use personal protective equipment (PPE) according to national/international guidelines e.g. wear lead apron and dosimeter for surgeries that need radiation, laser therapy, chemotherapy etc. P6. Perform safe practices for prevention of needle stick injury and body fluid splash. |
| 2.Wear appropriate attire | P1. Remove personal articles (e.g. jewelry, watch, etc.) to protect from any incident during work P2. Wear appropriate Dress, cap, mask and shoes by following infection control guidelines according to the organizational policy. P3. Change dress when soiled and/or after direct contact with infectious procedure as per organizational policy. |
| 3. Perform scrubbing, gowning, gloving and maintaining sterile appropriately | P1. Perform gowning and gloving maintaining aseptic technique according to institutional guidelines. P2. Demonstrate orderly wearing and removal of personal protective equipment according to infection control guidelines. P3. Demonstrate appropriate disposal of personal protective equipment according to institutional guidelines |
| 4.Ensure safety from fire | P1. Demonstrate usage of appropriate fire extinguishing method according to fire safety manual P2. Demonstrate appropriate usage of evacuation equipment P3. Perform the safe evacuation plan according to guidelines. |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Institutional policies and procedures regarding safety.

- Accessibility and application of Material Safety Data Sheet

- Information of safety Equipment in dialysis unit.

- Safety signs and symbols

- Different cleaning methods

- Appropriate storage sites for various equipment etc. (instruments, trolleys, machines, chemicals)

- Need of wearing mask

- Aseptic techniques

- Proper method of gowning

- Steps of removing and disposing off PPE

- Prevention and maintaining of infections control practices.

- Types and location of firefighting equipment

- Evacuation procedures of the hospital

Critical Evidence(s) Required

The candidates need to produce following critical evidence(s) to be competent in this competency standard:

- Health and safety precautions, signs and symbols

- Fire-fighting and surgical fire safety methods

- Use of appropriate Personal Protective Equipment (PPE) for the assigned job

- Maintain, implement and update material Safety Data Sheet

- Demonstrate gowning and gloving

- Maintain Asepsis and sterility

# 091400653      Identify the Patient for Dialysis

Overview

This Competency Standard identifies the competencies for obtaining dialysis patient’s record required for completion of dialysis procedure. Trainee will be expected to check patient’s roster, Check currency and accuracy of patient demographic and personal details for safe and adequate dialysis.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Check Patient’s identification | - Check correct name and medical record number of the patient - Review hepatitis and HIV status of the patient - Check previous dialysis schedule of the patient - Verify completely filled and signed informed consent with no abbreviations - Check weight of the patient using and record accurately |
| 2. Check Dialysis orders | - Identify detailed dialysis prescription from the doctor which includes dialysis duration, dialyzer type and size, blood flow, dialysate flow, potassium bath, conductivity, heparin and ultra-filtration/DW. - Inform team leader, if dialysis prescription is not completed |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Importance of Hepatitis and HIV status of the patient

- Importance of dialysis consent, and patient dialysis schedule

- Significance of the medical reports describing the patients’ condition

- Values of the vital parameters under which dialysis can be safely performed

- Importance of pre and post dialysis weight checking of the patient

- Components and importance of dialysis prescription

- Importance of vital sign measuring in dialysis and methods of measuring vital signs.

- Conversion of weights etc.

- The importance of reporting and minimizing risk

- The right person to be contacted in case patients’ chart / vitals are not within the prescribed limits for undertaking dialysis

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Interpret patient’s Hepatitis and HIV results.

- Describe different components of dialysis prescription.

# 091400677        Ensure Safe Transfer of the Patient

Overview

This Competency Standard covers the competencies required to implement WHO dialysis safety checklist. Patients and their safety must always be the number one priority in all health-related establishments. When patients are admitted into the hospital or health care site, they are likely scared of being hurt from disease or injury. Health administrators are responsible for creating the proper standards of a safety-based culture. The trainee will be required to perform all parameters to ensure the safety of dialysis patient.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Transfer patient to dialysis bed safely | P1. Transfer the patient safely from wheel chair/stretcher to dialysis bed according to institutional guidelines P2. Take precautions to prevent the patient from falling down P3. Adopt appropriate procedures and methods for shifting the patient safely |
| 2. Transfer Patient from dialysis bed | P1. Take precautions to prevent the patient from falling down P2. Assist in safe handover of patient from dialysis unit to attendants P3. Inform any special post-dialysis instructions to attendants |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe fall risk assessment of a patient

- Elaborate principles of safe transfer of patient

- Method of draping the patient appropriately

- Way of positioning the patient comfortably

- Modifying the general protocol for patients with additional/special requirements (e.g. for cardiac patients, physically handicapped persons etc.)

- Using personal protective gear while draping and positioning contagious and infected patients

- Making sure that proper procedures and processes are followed

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate safe transfer of the patient to and from the dialysis unit

# 091400654	Check Vital Signs of Patient

Overview

This Competency Standard covers the competencies required to check vital signs include the measurement of temperature, respiratory rate, pulse, blood pressure and, where appropriate, blood oxygen saturation. These numbers provide critical information (hence the name "vital") about a patient's state of health. Vital signs are useful in detecting or monitoring medical problems. Vital signs can be measured in a medical setting, at home, at the site of a medical emergency, or elsewhere. The trainee will be required to check vital signs of a patient as per the prescription of doctor & as per departmental policy

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Check Blood Pressure and Pulse of the Patient | P1. Check pulse for 1 minute as per standard protocol and document in pre-dialysis flow sheet P2. Check blood pressure in non-fistula arm as per standard protocol and document in pre-dialysis flow sheet P3. Inform critical values to the team leader |
| 2. Check temperature of the patient | P1. Check thermometer for proper working condition as per standard protocol P2. Take axillary temperature for 1 -2 minute as per standard protocol P3. Write down temperature reading in pre-dialysis flow sheet P4. Inform critical values to the team leader |
| 3. Check respiratory rate and oxygen saturation | P1. Count respiratory rate for 1 minute as per standard protocol P2. Check oxygen saturation of every patient on room air by using pulse oximeter. P3. Document respiratory rate and oxygen saturation reading in pre-dialysis flow sheet. P4. Inform critical values to the team leader |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identify the regularity of pulse

- Identify the critical values of pulse, blood pressure, temperature as per unit protocol

- Explain the possible major causes of erratic temperature reading.

- Identify the critical values of respiratory rate and oxygen saturation

- Describe the possible major causes of erratic respiratory rate and oxygen saturation reading

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate proper methodology of Pulse, Blood pressure, temperature, respiratory rate and pulse oxymetry

- Exhibit proper filling of dialysis flow sheet

# 091400655	Prepare Dialysis Machine

Overview

This Competency Standard identifies the required skills and knowledge to prepare a Hemodialysis machine. Trainee will be able to operate dialysis machine as per standard protocols defined by the manufacturer and department.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Preparation of the machine for dialysis | P1. Wear personal protective equipment before operating the dialysis machine as per hospital protocol P2. Arrange dialysis disposable items & instruments. P3. Prepare dialysis machine as per standard protocol. |
| 2. Prime the dialyzer and blood line | P1. Attach the blood line and dialyzer as per machine specification P2. Prime the blood line and dialyzer as per operating manual of machine and unit protocols |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain the importance of wearing personal protective equipment

- Elaborate the components of dialysis equipment and disposables

- Describe the importance of compatible bloodlines with dialysis machine.

- Demonstration of proper installation of blood tubing and dialyzer.

- Explain the importance of proper priming of blood line and dialyzer

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate the use of PPE

- Perform blood line installation and priming of the circuit.

# 091400656	Access Vascular Assessment

Overview

This Competency Standard identifies the required skills to perform assessment of Vascular Access (AVF/AVG and Assess Catheter) before starting the dialysis process.  A trainee will be able to perform vascular access of a dialysis patient.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Assess AVF/AVG | P1. Identify the pre-dialysis assessments for all types of vascular access. P2. Assess the vascular access (AVF/AV graft) as per standard protocol before dialysis P3. Assess the blood flow before inserting a needle into the fistula/ graft P4. Report poorly functioning or infected AVF/AVG to team leader and enter in dialysis flow sheet |
| 2. Assess Catheter | P1. Assess Catheter as per standard protocol before dialysis P2. Report poorly functioning or infected dialysis catheter to team leader and enter in dialysis flow sheet. P3. Assess a fistula or graft prior to each treatment by inspecting (looking for infection, steal syndrome, stenosis, etc.), auscultating (listening for bruit and deep access location), and palpating (feeling for skin temperature, thrill, stenosis, vein diameter etc.) the access P4. Prepare a patient’s skin for cannulation using anti‐bacterial solutions |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe the three main types of vascular access (fistulae, grafts and catheters)

- Identify Signs of infected / poorly functioning vascular access

- Describe the methods of needle insertion for AVFs and grafts

- Describe the pre-dialysis assessment, accessing procedure, exit site care, and monitoring of catheters

- Describe the pros and cons of catheters

- Describe the types of catheter and port/catheter devices

- Entering of vascular access status in dialysis flow sheet

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate the use of PPE

- Assessment of vascular access.

- Documentation of access status in dialysis flow sheet

# 091400657	Cannulation of Access /Catheter Initiation

Overview

This Competency Standard covers the required skills and knowledge to cannulate AVF/ AVG or to prepare dialysis a catheter for attachment to human dialysis machine. A trainee will be able to prepare the vascular access for initiation of human dialysis.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1.Cannulate Arteriovenous Fistula, Arteriovenous Graft (AVF/AVG) | P1. Take aseptic measures as per standard protocol P2. Position the patient for comfortable access cannulation P3. Prepare a patient’s skin for cannulation using anti‐bacterial solutions P4. Secure the access as per standard protocol after Cannulation P5. Secure needles after insertion P6. Sustain comfortable and appropriate positioning of vascular access/ limb / blood tubing for the whole duration of dialysis |
| 2.Prepare catheter for dialysis | P1. Take Aseptic measures as per standard protocol P2. Position the patient for comfortable attachment of dialysis circuit P3. Secure the access as per standard protocol P4. Maintain comfortable and appropriate positioning of dialysis catheter/ blood tubing for the whole duration of dialysis |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Importance and procedure of aseptic measures / technique

- Types of Cannulation in AVF/AVG

- Importance of access positioning during and after Cannulation/ during whole period of hemodialysis

- Types of hemodialysis catheter

- Considerations for accessing catheters and cleansing exit sites

- Various methods for preparing a patient’s skin for cannulation

- Concept of Antegrade and retrograde needle direction

- How to rotate cannulation sites for fistulae and grafts

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Perform Cannulation of AVF/AVG

- Perform Hemodialysis Catheter hookup to dialysis circuit.

# 091400658	Initiate Dialysis Procedure

Overview

This Competency Standard identifies the required skills and knowledge to initiate a Hemodialysis procedure, after attaching the AVF/ AVG/ Hemodialysis catheter to the hemodialysis machine.

| Competency Unit | Performance Criteria |
| --- | --- |
| H1. Initiate dialysis procedure as per protocol via AVF/AVG | P1. Attach the Fistula line/graft needles with blood line to the dialysis circuit P2. Initiate and adjust blood pump speed as per standard protocol P3. Follow dialysis prescription for adjustment of dialysis parameters P4. Use standard protocols for inserting IV lines and making connections to prevent infection and reduce discomfort to the patient P5. Minimise inconvenience and pain for the patient while performing the procedure |
| H2. Initiate dialysis procedure as per protocol via Catheter | P1. Connect the catheter to the dialysis circuit P2. Initiate and adjust blood pump speed as per standard protocol P3. Follow dialysis prescription for adjustment of dialysis parameters P4. Minimise inconvenience and pain for the patient while performing the procedure |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Importance of proper attachment of AVF/AVG needle to the dialysis circuit

- Protocol for adjustment of dialysis parameters

- Importance of proper attachment of catheter to the dialysis circuit

- Protocol for adjustment of dialysis parameters

- Protocol for contacting the senior technician/ physician/nurse in case of difficulty in insertion

- How to make incisions on the limb of the patient for inserting IV lines with minimum discomfort

- How to use existing catheters without causing additional discomfort

- purpose and functioning of the different connections

- Appropriate method for starting the dialysis

- How to manage additional equipment like other catheters or IV lines while performing the task

- Tubings that are required to be connected to the dialysis unit

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Execute initiation of dialysis via AVF/AVG

- Initiate dialysis via catheter

- Perform Catheter hookup to dialysis circuit.

# 091400659	Take Safety Measures During Dialysis Process

Overview

This Competency Standard covers the required skills and knowledge for taking safety measures for a dialysis patient during the whole Hemodialysis process, to make sure that the whole procedure is safe for the patients and surroundings and is according to the prescription.  A trainee will be able to perform safety measures during dialysis process maintaining global and departmental standards.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Ensure patient physical safety during dialysis process | P1. Lock dialysis chair/bed according to the requirement of dialysis process. P2. Keep bed side rails up for patient wherever required. P3. Remove any sharp objects/equipment from patient’s surroundings. P4. Fix and secure blood lines as per standard protocol |
| 2. Monitor dialysis procedure safety | P1. Check blood line clamps and stoppers periodically. P2. Monitor blood line clotting periodically as per protocol. P3. Monitor the vascular access periodically as per protocol. P4. Keep the vascular access uncovered and visible during whole dialysis duration. P5. Keep patient face uncovered during whole dialysis period. |
| 3. Periodic assessment of dialysis parameters during dialysis | P1. Monitor Vital signs as per unit protocol during whole duration of dialysis and inform team leader about any critical value of vital signs. P2. Monitor dialysis machine parameters as per standard protocol during whole duration of dialysis and inform team leader about any critical value of parameters. P3. Monitor general well-being of the patient during dialysis. P4. Check blood sugars per unit protocol or on as required basis. |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Steps involved in patient safety during dialysis

- Importance of secured blood lines during dialysis

- importance of periodic monitoring of vital signs and machine parameters

- Identify critical values of machine and vital signs parameters

- Importance of access visibility / uncovered face during dialysis.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate patient safety during transfer

- Demonstrate periodic safety check of dialysis equipment

- Demonstrate periodic check of dialysis parameters

# 091400660	Discontinue Dialysis Treatment

Overview

This Competency Standard identifies the competencies required to demonstrate the discontinuation of dialysis procedure after completion of whole dialysis process safely. The trainee will be able to safely perform the whole process and discontinue the dialysis procedure at the right time.

| Competency Unit | Performance Criteria |
| --- | --- |
| 1. Take aseptic measures and discontinue dialysis procedure | P1. Perform aseptic techniques as per standard and unit protocol. P2. Take blood samples, give medication if any, as per prescription before termination process. P3. Follow stepwise approach to discontinuation of dialysis procedure as per standard protocol. P4. Document dialyzer and blood line status in dialysis flow sheet |
| 2. Monitor vitals after dialysis | P1. Check vital signs and general wellbeing of the patient after dialysis P2. Check weight of the patient after dialysis and document in dialysis flow sheet. |
| 3.Schedule for next dialysis | P1. Send the patient to team leader for next appointment confirmation. P2. Enter next appointment in dialysis flow sheet. |
| 4.Disinfect the machine and clean the area | P1. Perform external cleaning of the machine and surroundings with recommended disinfectant by the manufacturer. P2. Switch the machine to disinfection mode as per unit protocol. P3. Clean the unit as per standard protocol before next shift |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Importance of aseptic measures in discontinuation of dialysis procedure.

- the steps involved in discontinuation of dialysis procedure.

- Importance of dialyzer and blood line status at the end of dialysis procedure

- Importance of vital signs / weight / general well-being post dialysis.

- Elaborate the Importance of external cleaning of the machine and surroundings

- Importance and different modes of chemical disinfection of the dialysis machine

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate Proper procedure of discontinuation of dialysis.

- Perform Proper stepwise disinfection of machine and surroundings

- Making of dialysis schedule of the patients

# 071300559	Demonstrate Communication Skills

Overview

This Competency Standard identifies the competencies required to apply communication skills at workplace in accordance with the organization’s guidelines and procedures. You are expected to work in a team to achieve common organizational goals and avoid conflicts. This competency standard would also enable you to use basic computer skills to communicate effectively and prepare work related documents and reports.

| Competency Units | Performance Criteria |
| --- | --- |
| - Work in Team | - Treat team members with respect and maintain positive relationships to achieve common organizational goals - Listen to instructions carefully & comply with those instructions - Provide work related information to team members and identify interrelated work activities to avoid confusion - Adopt communication skills appropriate to work activities and company procedures - Identify problems and resolve them through discussion and mutual agreement |
| - Deal with Clients | - Collect and confirm work requirements from clients using appropriate communication procedures - Provide clear information to clients about work requirements including costs and time needed to accomplish the task - Negotiate with clients regarding wages, time, labour requirements etc. |
| - Demonstrate Basic IT Skills | - Create folders and files and learn major commands of operating system/windows - Type text and use major commands such as printing, editing, creating tables, header footer, footnotes, table of contents and page number etc. - Make the document as per work specifications and client’s requirement - Generate reports for clients using appropriate computer applications - Use internet for sending/receiving emails and connecting through social or other media |

Knowledge & Understanding

The candidate must be able to demonstrate fundamental knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Principles of effective and interactive communication

- 7 C’s of communication and their importance

- Cultural and organizational practices for effective communication

- Effective negotiation skills

- Role of team members and functionality of the teams

- Team dynamics and stages of team development

- Conflict resolution strategies

- Negotiation techniques

- Basic architecture of computer system

- Input / output devices of computer and their functions

- Basic computer skills using MS Word, MS Excel, use of internet, sending and receiving emails etc.

- Preparing relevant documents and reports

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Communicate effectively with colleagues and clients

- Develop a job completion report for the work using computer technology

# LIST OF TOOLS AND EQUIPMENT

| S.No | TOOLS AND EQUIPMENT |
| --- | --- |
| 1. | Computer |
| 2. | Wheel Chair / Stretcher |
| 3. | Weighing scale |
| 4. | Dialysis Chair/ Bed |
| 5. | Dialysis Machine / WRO Plant |
| 6. | Cardiac Monitor |
| 7. | Manual BP Operatus |
| 8. | Thermometer |
| 9. | Disinfection Kit / Cannulation Kit |
| 10. | Dialysis Disposables (Blood tubing, Dialyzer, Fistula Needles) |
| 11. | Minor Procedure Set/ Sterilized Instruments |
| 12. | Crash Cart |
| 13. | Defibrillatot |
| 14. | Dialysis Fluids |
| 15. | Disinfections Chemicals |
| 16. | ECG Machine |
| 17. | Gluco Meter |
| 18. | Oxygen Supply |
| 19. | Suction machine |
| 20. | Blood Sample Tube |

I