Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Basic Electrical Work on Telecom site |
| --- | --- |
| Competency Standard | 0714-E&A-25: Install Simple Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Make single pole switch circuit. - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit. - Make intermediate switch circuit. - Make of Tunnel circuit - Make impulse switch circuit. |
| Minimum Evidence Required | - Make single pole switch circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make single pole switch socket circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make two-way switch circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make series/test lamp circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make intermediate switch circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make of Tunnel circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make impulse switch circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Basic Electrical Work on Telecom site |
| Competency Standard | Install Simple Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Make single pole switch circuit. - Make single pole switch socket circuit. - Make two-way switch circuit. - Make series/test lamp circuit. - Make intermediate switch circuit. - Make of Tunnel circuit - Make impulse switch circuit. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw wiring diagram of single pole switch circuit. |  |  |
| - Draw Current path diagram of single pole switch circuit. |  |  |
| - Draw layout diagram of single pole switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - 10.Check the function of circuit after connect the main supply |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Basic Electrical Work on Telecom site |
| --- | --- |
| Competency Standard | Install Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Make single pole switch circuit. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Make single pole switch socket circuit. |  |  |  |  |
|  |  | - Make two-way switch circuit. |  |  |  |  |
|  |  | - Make series/test lamp circuit. |  |  |  |  |
|  |  | - Make intermediate switch circuit. |  |  |  |  |
|  |  | - Make of Tunnel circuit |  |  |  |  |
|  |  | - Make impulse switch circuit. |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Drew wiring diagram of single pole switch circuit. |  |  |  |  |  |
|  | Drew Current path diagram of single pole switch circuit. |  |  |  |  |  |
|  | Drew layout diagram of single pole switch circuit. |  |  |  |  |  |
|  | Marked on working board according to layout diagram. |  |  |  |  |  |
|  | Installed accessories according to layout diagram. |  |  |  |  |  |
|  | Lay wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Maked connections according to wiring diagram. |  |  |  |  |  |
|  | Checked the circuit before connect the main supply. |  |  |  |  |  |
|  | Maked connection with main supply. |  |  |  |  |  |
|  | Checked the function of circuit after connect the main supply |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology Basic Electrical Wiring (Single Phase) |
| --- | --- |
| Competency Standard | Install Simple Single Phase Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define single pole switch. |  |  |
|  | Write the uses of single pole switch circuit. |  |  |
|  | What is meant by socket and what is its use? |  |  |
|  | Describe series circuit and its uses. |  |  |
|  | Define intermediate switch. |  |  |
|  | Explain tunnel circuit and its use. |  |  |
|  | Define impulse switch. |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________