Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | 0714-E&A-35: Install and Maintain Battery |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Perform following tasks - Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery. - Perform Maintenance of Valve Regulated Lead Acid Battery |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment |  |  |  |  |  |
|  | Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. |  |  |  |  |  |
|  | Install 3 tier rack for batteries. |  |  |  |  |  |
|  | Locating/Fixed the Batteries on the Racks |  |  |  |  |  |
|  | Prepare Battery Terminals. |  |  |  |  |  |
|  | Prepare and install the Inter tier, inter row and Inter rack Connections. |  |  |  |  |  |
|  | Connect the Load/Charger with Batteries |  |  |  |  |  |
|  | Conduct different Tests of VRLA/SLA Battery. |  |  |  |  |  |
|  | Perform High rate momentary load test. |  |  |  |  |  |
|  | Measurements of resistance/ conductance/impedance of battery. |  |  |  |  |  |
|  | Conduct Performance test of battery. |  |  |  |  |  |
|  | Perform Maintenance of Valve Regulated Lead Acid Battery |  |  |  |  |  |
|  | Measure and record overall float voltage measured at the battery terminals. |  |  |  |  |  |
|  | Measure and record charge output current and voltage. |  |  |  |  |  |
|  | Measure and record ambient temperature of battery room or cabinet |  |  |  |  |  |
|  | Check condition of ventilation and monitoring equipment. |  |  |  |  |  |
|  | Visual inspection of cell/unit integrity for evidence of corrosion at terminals, connections, racks, or cabinets and area around batteries accessibilities |  |  |  |  |  |
|  | Check for excessive jar/cover distortion Measure and record DC float current (per string) using equipment |  |  |  |  |  |
|  | Measure and record cell/unit internal ohmic values. |  |  |  |  |  |
|  | Measure and record temperature of the negative terminal of each cell/unit of battery. |  |  |  |  |  |
|  | Measure and record voltage of each cell/unit Measure and record cell to cell and terminal connection detail resistance of entire battery. |  |  |  |  |  |
|  | Measure and record AC ripple current and/or voltage imposed on the battery |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Install and Maintain Battery |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to check the transformer primary and secondary windings. |  |  |
|  | What are Types of transformers. |  |  |
|  | What is Working of half wave rectifier. |  |  |
|  | Define Input and output wave forms of half wave rectifier. |  |  |
|  | What are Polarities of Diodes and characteristic curves of diodes. |  |  |
|  | Define Centre tape transformers |  |  |
|  | Name Working centre tape transformer |  |  |
|  | Mention Working of Full wave rectifier. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| Competency Standards | Install and Maintain Battery |
| Assessment Task | - Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery. - Perform Maintenance of Valve Regulated Lead Acid Battery |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment |  |  |
| Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. |  |  |
| Install 3 tier rack for batteries. |  |  |
| Locating/Fixed the Batteries on the Racks |  |  |
| Prepare Battery Terminals. |  |  |
| Prepare and install the Inter tier, inter row and Inter rack Connections. |  |  |
| Connect the Load/Charger with Batteries |  |  |
| Conduct different Tests of VRLA/SLA Battery. |  |  |
| Perform High rate momentary load test. |  |  |
| Measurements of resistance/ conductance/impedance of battery. |  |  |
| Conduct Performance test of battery. |  |  |
| Perform Maintenance of Valve Regulated Lead Acid Battery |  |  |
| Measure and record overall float voltage measured at the battery terminals. |  |  |
| Measure and record charge output current and voltage. |  |  |
| Measure and record ambient temperature of battery room or cabinet |  |  |
| Check condition of ventilation and monitoring equipment. |  |  |
| Visual inspection of cell/unit integrity for evidence of corrosion at terminals, connections, racks, or cabinets and area around batteries accessibilities |  |  |
| Check for excessive jar/cover distortion Measure and record DC float current (per string) using equipment |  |  |
| Measure and record cell/unit internal ohmic values. |  |  |
| Measure and record temperature of the negative terminal of each cell/unit of battery. |  |  |
| Measure and record voltage of each cell/unit Measure and record cell to cell and terminal connection detail resistance of entire battery. |  |  |
| Measure and record AC ripple current and/or voltage imposed on the battery |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Install and Maintain Battery |
| Purpose of Assessment | Formative assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the 03 Hours (for practical demonstration & assessment): - Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery. - Perform Maintenance of Valve Regulated Lead Acid Battery |
| Time: 03 Hours | During a practical assessment, under observation by an assessor, you are required to - Installation of Valve Regulated Lead Acid Battery (VRLA)/Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. - Install 3 tier rack for batteries. - Locating/Fixed the Batteries on the Racks - Prepare Battery Terminals. - Prepare and install the Inter tier, inter row and Inter rack Connections. - Connect the Load/Charger with Batteries - .Conduct different Tests of VRLA/SLA Battery. - Perform High rate momentary load test. - Measurements of resistance/ conductance/impedance of battery. - Conduct Performance test of battery. - Perform Maintenance of Valve Regulated Lead Acid Battery - Measure and record overall float voltage measured at the battery terminals. - Measure and record charge output current and voltage. - Measure and record ambient temperature of battery room or cabinet - Check condition of ventilation and monitoring equipment. - Visual inspection of cell/unit integrity for evidence of corrosion at terminals, connections, racks, or cabinets and area around batteries accessibilities - Check for excessive jar/cover distortion Measure and record DC float current (per string) using equipment - Measure and record cell/unit internal ohmic values. - Measure and record temperature of the negative terminal of each cell/unit of battery. - Measure and record voltage of each cell/unit Measure and record cell to cell and terminal connection detail resistance of entire battery. - Measure and record AC ripple current and/or voltage imposed on the battery |
| Minimum Evidence Required |  |

| Tools and Equipment |  |
| --- | --- |
| - Trainer - Multi meter - Connecting wire. - Transformers - Trainer - Connecting wire. - Battery lifting equipment - Full face shield. - Complete Tool kit of screws and wrenches. - Complete Electrical Toolkit - Torque wrench calibrated in inch-pounds, insulated. - Insulated Shoes | - Complete Electrical Tools kit. - Earth Tester. - Digging Equipment - RLC Meter - Digital Multi Meter - Digital Oscilloscope - Power Supply - Digital voltmeter. - Impedance Meter - Clamp Meter - Rubber gloves - Safety Helmet |