Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | 0714-E&A-36: Install PDU, SPD, ATS & BRAKERS |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Perform following tasks - Install Power Distribution Unit Installation (PDU) - Install Surge Protection Device (SPD) - Install Auto Transfer Switch (ATS) - Install Circuit Breakers |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Install Power Distribution Unit Installation (PDU) |  |  |  |  |  |
|  | Mount PDU (Bracket Mount). |  |  |  |  |  |
|  | Install the PDU Rack as per given layout/Manual. |  |  |  |  |  |
|  | Attach the cord retention trays to the Rack PDU, using four flat-head screws (provided) per tray. |  |  |  |  |  |
|  | Attach a cord to the tray by looping the cord and securing it to the tray, using a wire Tie. |  |  |  |  |  |
|  | Install the brackets on the Rack PDU and then attach the PDU to the rack using caged nuts. |  |  |  |  |  |
|  | Install the rack PDU using the supplied screws and cages nuts. |  |  |  |  |  |
|  | Install Surge Protection Device (SPD) |  |  |  |  |  |
|  | Install/Fix the SPD in the main power distribution unit and in rectifier unit. |  |  |  |  |  |
|  | Connect SPD with main AC input supply. |  |  |  |  |  |
|  | Connect SPD with circuit Breakers and main ground/earth panel. |  |  |  |  |  |
|  | Connect SPD with rectifier system. |  |  |  |  |  |
|  | Install Auto Transfer Switch (ATS) |  |  |  |  |  |
|  | Install/Mount the ATS panel at the specific place mention in given site plan. |  |  |  |  |  |
|  | Install Magnetic contactors, Relays, Phase Missing Relays |  |  |  |  |  |
|  | Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. |  |  |  |  |  |
|  | Install Circuit Breakers |  |  |  |  |  |
|  | Determining Where to Install the Circuit Breaker |  |  |  |  |  |
|  | TURN OFF THE MAIN Supply. |  |  |  |  |  |
|  | Remove the panel cover. |  |  |  |  |  |
|  | Remove old circuit breaker. |  |  |  |  |  |
|  | Connect the MCB (Miniature circuit Breaker). |  |  |  |  |  |
|  | CONNECT THE input and output wire with circuit breaker. |  |  |  |  |  |
|  | Put the panel cover on. |  |  |  |  |  |
|  | Turn ON the main power. |  |  |  |  |  |
|  | Test the Installation. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Install PDU, SPD, ATS & BRAKERS |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is Transformer identification of primary and secondary windings. |  |  |
|  | What is Working of Voltage doubler and Tripler Circuits. |  |  |
|  | What is Input and output voltage levels. |  |  |
|  | What is Use of voltage doubler and Tripler Circuits. |  |  |
|  | What is Working of Capacitor. |  |  |
|  | What is meant by Boost charging, under and over AC voltage setting. |  |  |
|  | Define Diodes, filters and transformer. |  |  |
|  | Mention working of diodes, filters and transformers. |  |  |
|  | What are Use of resistor and capacitor as filter. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| Competency Standards | Install Power Plant System |
| Assessment Task | - Install Power Distribution Unit Installation (PDU) - Install Surge Protection Device (SPD) - Install Auto Transfer Switch (ATS) - Install Circuit Breakers |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Install Power Distribution Unit Installation (PDU) |  |  |
| Mount PDU (Bracket Mount). |  |  |
| Install the PDU Rack as per given layout/Manual. |  |  |
| Attach the cord retention trays to the Rack PDU, using four flat-head screws (provided) per tray. |  |  |
| Attach a cord to the tray by looping the cord and securing it to the tray, using a wire Tie. |  |  |
| Install the brackets on the Rack PDU and then attach the PDU to the rack using caged nuts. |  |  |
| Install the rack PDU using the supplied screws and cages nuts. |  |  |
| Install Surge Protection Device (SPD) |  |  |
| Install/Fix the SPD in the main power distribution unit and in rectifier unit. |  |  |
| Connect SPD with main AC input supply. |  |  |
| Connect SPD with circuit Breakers and main ground/earth panel. |  |  |
| Connect SPD with rectifier system. |  |  |
| Install Auto Transfer Switch (ATS) |  |  |
| Install/Mount the ATS panel at the specific place mention in given site plan. |  |  |
| Install Magnetic contactors, Relays, Phase Missing Relays |  |  |
| Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. |  |  |
| Install Circuit Breakers |  |  |
| Determine Where to Install the Circuit Breaker |  |  |
| TURN OFF THE MAIN Supply. |  |  |
| Remove the panel cover. |  |  |
| Remove old circuit breaker. |  |  |
| Connect the MCB (Miniature circuit Breaker). |  |  |
| CONNECT THE input and output wire with circuit breaker. |  |  |
| Put the panel cover on. |  |  |
| Turn ON the main power. |  |  |
| Test the Installation. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Install PDU, SPD, ATS & BRAKERS |
| Purpose of Assessment | Formative assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the 06 Hours (for practical demonstration & assessment): - Install Power Distribution Unit Installation (PDU) - Install Surge Protection Device (SPD) - Install Auto Transfer Switch (ATS) - Install Circuit Breakers |
| Time: 06 Hours | During a practical assessment, under observation by an assessor, you are required to - Install Power Distribution Unit Installation (PDU) - Mount PDU (Bracket Mount). - Install the PDU Rack as per given layout/Manual. - Attach the cord retention trays to the Rack PDU, using four flat-head screws (provided) per tray. - Attach a cord to the tray by looping the cord and securing it to the tray, using a wire Tie. - Install the brackets on the Rack PDU and then attach the PDU to the rack using caged nuts. - Install the rack PDU using the supplied screws and cages nuts. - Install Surge Protection Device (SPD) - Install/Fix the SPD in the main power distribution unit and in rectifier unit. - Connect SPD with main AC input supply. - Connect SPD with circuit Breakers and main ground/earth panel. - Connect SPD with rectifier system. - Install Auto Transfer Switch (ATS) - Install/Mount the ATS panel at the specific place mention in given site plan. - Install Magnetic contactors, Relays, Phase Missing Relays - Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. - Install Circuit Breakers - Determine Where to Install the Circuit Breaker - TURN OFF THE MAIN Supply. - Remove the panel cover. - Remove old circuit breaker. - Connect the MCB (Miniature circuit Breaker). - CONNECT THE input and output wire with circuit breaker. - Put the panel cover on. - Turn ON the main power. - Test the Installation. |
| Minimum Evidence Required |  |

| Tools and Equipment |  |
| --- | --- |
| - Trainer - Multi meter - Connecting wire. - Transformers - Trainer - Connecting wire. - Battery lifting equipment - Full face shield. - Complete Tool kit of screws and wrenches. - Complete Electrical Toolkit - Torque wrench calibrated in inch-pounds, insulated. - Insulated Shoes | - Complete Electrical Tools kit. - Earth Tester. - Digging Equipment - RLC Meter - Digital Multi Meter - Digital Oscilloscope - Power Supply - Digital voltmeter. - Impedance Meter - Clamp Meter - Rubber gloves - Safety Helmet |