Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | 0714-E&A-38: Preventive maintenance of Telecom power system |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Perform following tasks - Perform/Conduct Preventive Maintenance of Telecom Power System - Perform Preventive Maintenance of Telecom Power System (Battery Plant) - Perform/Conduct Corrective Maintenance of Telecom Power System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform/Conduct Preventive Maintenance of Telecom Power System |  |  |  |  |  |
|  | Inspect power Relays, rectifiers, inverters, converters & ring plants. |  |  |  |  |  |
|  | Verify plant operating voltages and load balancing. |  |  |  |  |  |
|  | Check operation & calibration of plant metering, shunts, local/remote sensing, voltage & amperes. |  |  |  |  |  |
|  | Rectify/Verify all major & minor alarming across plant: - Fuse Alarm - High Voltage Alarm - Low Voltage Alarm - Low Voltage Drop Out/Pick Up Points. - Battery Disconnect Set Points. - Rectifier Fail Alarm. Power major/ Minor Alarm. |  |  |  |  |  |
|  | Perform Preventive Maintenance of Telecom Power System (Battery Plant) |  |  |  |  |  |
|  | Complete visual inspection of battery cells, cable connections, inter-cell connections & electrolyte levels |  |  |  |  |  |
|  | Check all batteries terminal & strap connections. |  |  |  |  |  |
|  | Verify battery cell and string voltage operating levels |  |  |  |  |  |
|  | Perform battery testing analysis & specific gravity testing |  |  |  |  |  |
|  | Measure float current, cell temperatures, resistance breakdown leakage testing and plate polarization |  |  |  |  |  |
|  | Measure C Message noise of battery plant to industry standard |  |  |  |  |  |
|  | Perform load capacity testing using IEEE testing parameters |  |  |  |  |  |
|  | Analyse Battery room ventilation |  |  |  |  |  |
|  | Prepare and Provide report outlining battery capacity, conditions, concerns & recommendations |  |  |  |  |  |
|  | Perform/Conduct Corrective Maintenance of Telecom Power System |  |  |  |  |  |
|  | Detect faults for corrective maintenance. |  |  |  |  |  |
|  | Rectify the rectifier major alarm by replacing rectifier module. |  |  |  |  |  |
|  | Rectify the rectifier minor alarm by replacing SPD. |  |  |  |  |  |
|  | Rectify main power failure alarm by checking/ replacing of circuit breaker and Input main AC supply. |  |  |  |  |  |
|  | Rectify low battery voltage alarm by checking and tightening battery connections, check and repair battery drainage problems. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Preventive maintenance of Telecom power system |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Input and output voltage levels. |  |  |
|  | Use of voltage doubler and Tripler Circuits. |  |  |
|  | Working of Capacitor. |  |  |
|  | Boost charging, under and over AC voltage setting. |  |  |
|  | Diodes, filters and transformer. |  |  |
|  | working of diodes, filters and transformers. |  |  |
|  | Use of resistor and capacitor as filter. |  |  |
|  | Filter power supply working and applications. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| Competency Standards | Preventive maintenance of Telecom power system |
| Assessment Task | - Perform/Conduct Preventive Maintenance of Telecom Power System - Perform Preventive Maintenance of Telecom Power System (Battery Plant) - Perform/Conduct Corrective Maintenance of Telecom Power System |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Perform/Conduct Preventive Maintenance of Telecom Power System |  |  |
| Inspect power Relays, rectifiers, inverters, converters & ring plants. |  |  |
| Verify plant operating voltages and load balancing. |  |  |
| Check operation & calibration of plant metering, shunts, local/remote sensing, voltage & amperes. |  |  |
| Rectify/Verify all major & minor alarming across plant: - Fuse Alarm - High Voltage Alarm - Low Voltage Alarm - Low Voltage Drop Out/Pick Up Points. - Battery Disconnect Set Points. - Rectifier Fail Alarm. Power major/ Minor Alarm. |  |  |
| Perform Preventive Maintenance of Telecom Power System (Battery Plant) |  |  |
| Complete visual inspection of battery cells, cable connections, inter-cell connections & electrolyte levels |  |  |
| Check all batteries terminal & strap connections. |  |  |
| Verify battery cell and string voltage operating levels |  |  |
| Perform battery testing analysis & specific gravity testing |  |  |
| Measure float current, cell temperatures, resistance breakdown leakage testing and plate polarization |  |  |
| Measure C Message noise of battery plant to industry standard |  |  |
| Perform load capacity testing using IEEE testing parameters |  |  |
| Analyse Battery room ventilation |  |  |
| Prepare and Provide report outlining battery capacity, conditions, concerns & recommendations |  |  |
| Perform/Conduct Corrective Maintenance of Telecom Power System |  |  |
| Detect faults for corrective maintenance. |  |  |
| Rectify the rectifier major alarm by replacing rectifier module. |  |  |
| Rectify the rectifier minor alarm by replacing SPD. |  |  |
| Rectify main power failure alarm by checking/ replacing of circuit breaker and Input main AC supply. |  |  |
| Rectify low battery voltage alarm by checking and tightening battery connections, check and repair battery drainage problems. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant Technician (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | Preventive maintenance of Telecom power system |
| Purpose of Assessment | Formative assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the 5 Hours (for practical demonstration & assessment): - Perform/Conduct Preventive Maintenance of Telecom Power System - Perform Preventive Maintenance of Telecom Power System (Battery Plant) - Perform/Conduct Corrective Maintenance of Telecom Power System |
| Time: 5 Hours | During a practical assessment, under observation by an assessor, you are required to - Perform/Conduct Preventive Maintenance of Telecom Power System - Inspect power Relays, rectifiers, inverters, converters & ring plants. - Verify plant operating voltages and load balancing. - Check operation & calibration of plant metering, shunts, local/remote sensing, voltage & amperes. - Rectify/Verify all major & minor alarming across plant: - Fuse Alarm - High Voltage Alarm - Low Voltage Alarm - Low Voltage Drop Out/Pick Up Points. - Battery Disconnect Set Points. - Rectifier Fail Alarm. Power major/ Minor Alarm. -Battery Discharge Alarm - Perform Preventive Maintenance of Telecom Power System (Battery Plant) - Complete visual inspection of battery cells, cable connections, inter-cell connections & electrolyte levels - Check all batteries terminal & strap connections. - Verify battery cell and string voltage operating levels - Perform battery testing analysis & specific gravity testing - Measure float current, cell temperatures, resistance breakdown leakage testing and plate polarization - Measure C Message noise of battery plant to industry standard - Perform load capacity testing using IEEE testing parameters - Analyse Battery room ventilation - Prepare and Provide report outlining battery capacity, conditions, concerns & recommendations - Perform/Conduct Corrective Maintenance of Telecom Power System - Detect faults for corrective maintenance. - Rectify the rectifier major alarm by replacing rectifier module. - Rectify the rectifier minor alarm by replacing SPD. - Rectify main power failure alarm by checking/ replacing of circuit breaker and Input main AC supply. - Rectify low battery voltage alarm by checking and tightening battery connections, check and repair battery drainage problems. |
| Minimum Evidence Required |  |

| Tools and Equipment |  |
| --- | --- |
| - Trainer - Multi meter - Connecting wire. - Transformers - Trainer - Connecting wire. - Battery lifting equipment - Full face shield. - Complete Tool kit of screws and wrenches. - Complete Electrical Toolkit - Torque wrench calibrated in inch-pounds, insulated. - Insulated Shoes | - Complete Electrical Tools kit. - Earth Tester. - Digging Equipment - RLC Meter - Digital Multi Meter - Digital Oscilloscope - Power Supply - Digital voltmeter. - Impedance Meter - Clamp Meter - Rubber gloves - Safety Helmet |