Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology Measuring Instruments (Telecommunication) |
| --- | --- |
| Competency Standard(s) | 0714-E&A-66: Perform Measurement and Calibration of Instruments |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Test Ethernet cable - Calibrate Frequency Generator |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| 1. Test Ethernet cable |  |  |  |  |  |
| 1.1. Turn on Ethernet tester. |  |  |  |  |  |
| 1.2. Put the ends of Ethernet cable RJ45terminated cable into the tester's two ports. |  |  |  |  |  |
| 1.3. Push the button and note two separate bars of indicators, each with 8 lights. |  |  |  |  |  |
| 1.4. Observe whether lights are bright, dim or no light to indicate good, bad or no connection respectively. |  |  |  |  |  |
| 2. Calibrate Frequency Generator |  |  |  |  |  |
| 2.1. Maintain the room Temperature (23±2) °C & (50±15) % R.H. |  |  |  |  |  |
| 2.2. Check the Instrument physically for any damage or abnormality |  |  |  |  |  |
| 2.3. Switch on the instrument and give Proper time to stabilize the instrument. |  |  |  |  |  |
| 2.4. Check the Time Base of Instrument under calibration on the standard reference Signal analysers. |  |  |  |  |  |
| 2.5. Take different signals from low to high frequency with suitable gap and proper amplitude from the reference frequency Generator (EUC) on the standard reference frequency Counter/Analyser. |  |  |  |  |  |
| 2.6. Take at least five readings of same frequency giving suitable interval between the readings. |  |  |  |  |  |
| 2.7. Take average of above five values and compare it with the specific value. |  |  |  |  |  |
| 2.8. Find standard deviation and uncertainty. |  |  |  |  |  |
| 2.9. Prepare calibration report. |  |  |  |  |  |
| 2.10. Observe the average value within tolerance limit (provided by the manufacturer) and specification of international standard. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology Measuring Instruments |
| --- | --- |
| Competency Standard(s) | Perform Measurement and Calibration of Instruments |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Question: What is meant by calibration? |  |  |
|  | Candidate’s response |  |  |
|  | What is the importance of calibration of an instrument before using that instrument? |  |  |
|  | How is a Straight Through Ethernet cable different from Cross Over Ethernet cable? |  |  |
|  | What is meant by Time Base off an instrument? |  |  |
|  | What is meant by standard deviation? |  |  |
|  | How is testing of Cross Over Ethernet cable different from testing of Straight Through Ethernet cable? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology Measuring Instruments |
| Competency Standards | Perform Measurement and Calibration of Instruments |
| Assessment Task | - Test Ethernet cable - Calibrate Frequency Generator |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Test Ethernet cable |  |  |
| 1.1. Turn on Ethernet tester. |  |  |
| 1.2. Put the ends of Ethernet cable RJ45terminated cable into the tester's two ports. |  |  |
| 1.3. Push the button and note two separate bars of indicators, each with 8 lights. |  |  |
| 1.4. Observe whether lights are bright, dim or no light to indicate good, bad or no connection respectively. |  |  |
| 2. Calibrate Frequency Generator |  |  |
| 2.1. Maintain the room Temperature (23±2) °C & (50±15) % R.H. |  |  |
| 2.2. Check the Instrument physically for any damage or abnormality |  |  |
| 2.3. Switch on the instrument and give Proper time to stabilize the instrument. |  |  |
| 2.4. Check the Time Base of Instrument under calibration on the standard reference Signal analysers. |  |  |
| 2.5. Take different signals from low to high frequency with suitable gap and proper amplitude from the reference frequency Generator (EUC) on the standard reference frequency Counter/Analyser. |  |  |
| 2.6. Take at least five readings of same frequency giving suitable interval between the readings. |  |  |
| 2.7. Take average of above five values and compare it with the specific value. |  |  |
| 2.8. Find standard deviation and uncertainty. |  |  |
| 2.9. Prepare calibration report. |  |  |
| 2.10. Observe the average value within tolerance limit (provided by the manufacturer) and specification of international standard. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology Measuring Instruments |
| --- | --- |
| Competency Standard(s) | Perform Measurement and Calibration of Instruments |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Test Ethernet cable - Calibrate Frequency Generator |
| Time: 3 Hours | During a practical assessment, under observation by an assessor, you are required to - Test Ethernet cable - Turn on Ethernet tester. - Put the ends of Ethernet cable RJ45terminated cable into the tester's two ports. - Push the button and note two separate bars of indicators, each with 8 lights. - Observe whether lights are bright, dim or no light to indicate good, bad or no connection respectively. - Calibrate Frequency Generator - Maintain the room Temperature (23±2) °C & (50±15) % R.H. - Check the Instrument physically for any damage or abnormality - Switch on the instrument and give Proper time to stabilize the instrument. - Check the Time Base of Instrument under calibration on the standard reference Signal analysers. - Take different signals from low to high frequency with suitable gap and proper amplitude from the reference frequency Generator (EUC) on the standard reference frequency Counter/Analyser. - Take at least five readings of same frequency giving suitable interval between the readings. - Take average of above five values and compare it with the specific value. - Find standard deviation and uncertainty. - Prepare calibration report. - Observe the average value within tolerance limit (provided by the manufacturer) and specification of international standard. |
| Minimum Evidence Required |  |