Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology Construction Practice & Project |
| --- | --- |
| Competency Standard(s) | 0714-E&A-71: Install GPS antenna and rack |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Performed the following tasks: - Installed GPS Antenna as per given installation plan. - Installed Rack as per given layout plan |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Install the GPS antenna on the GPS antenna and use four screws to secure it |  |  |  |  |  |
|  | Install the mounting bracket according to the direction. |  |  |  |  |  |
|  | Lead the hose clamps through the holes in the multi-functional accessory. |  |  |  |  |  |
|  | Wear the hose clamps around the pole body and tighten the hose clamps. |  |  |  |  |  |
|  | Remove the rubber plug and connect the GPS feeder. |  |  |  |  |  |
|  | Connect the other end of the feeder to the GPS antenna and secure the joint. |  |  |  |  |  |
|  | Install surge arrester to protect interface lightning. |  |  |  |  |  |
|  | Mark points for drilling as per given plan. |  |  |  |  |  |
|  | Drill holes onto the marked points. |  |  |  |  |  |
|  | Fix Ravel Bolts into the holes. |  |  |  |  |  |
|  | Place Rack onto the bolts. |  |  |  |  |  |
|  | Tighten Nuts on the bolts. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology Construction Practice & Project |
| --- | --- |
| Competency Standard(s) | Install GPS antenna and rack |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Reading layout plan |  |  |
|  | What is Use of compass |  |  |
|  | Define Earthing |  |  |
|  | What is Hose clamp |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology Construction Practice & Project |
| Competency Standards | Install GPS antenna and rack |
| Assessment Task | Perform the following tasks: - Install GPS Antenna as per given installation plan. - Install Rack as per given layout plan |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Install the GPS antenna on the GPS antenna and use four screws to secure it |  |  |
| - Install the mounting bracket according to the direction. |  |  |
| - Lead the hose clamps through the holes in the multi-functional accessory. |  |  |
| - Wear the hose clamps around the pole body and tighten the hose clamps. |  |  |
| - Remove the rubber plug and connect the GPS feeder. |  |  |
| - Connect the other end of the feeder to the GPS antenna and secure the joint. |  |  |
| - Install surge arrester to protect interface lightning. |  |  |
| - Mark points for drilling as per given plan. |  |  |
| - Drill holes onto the marked points. |  |  |
| - Fix Ravel Bolts into the holes. |  |  |
| - Place Rack onto the bolts. |  |  |
| - Tighten Nuts on the bolts. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology Construction Practice & Project |
| --- | --- |
| Competency Standard(s) | Install GPS antenna and rack |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): Perform the following tasks: - Install GPS Antenna as per given installation plan. - Install Rack as per given layout plan |
| Time: 05 Hours | During a practical assessment, under observation by an assessor, you are required to - Install the GPS antenna on the GPS antenna and use four screws to secure it - Install the mounting bracket according to the direction. - Lead the hose clamps through the holes in the multi-functional accessory. - Wear the hose clamps around the pole body and tighten the hose clamps. - Remove the rubber plug and connect the GPS feeder. - Connect the other end of the feeder to the GPS antenna and secure the joint. - Install surge arrester to protect interface lightning. - Mark points for drilling as per given plan. - Drill holes onto the marked points. - Fix Ravel Bolts into the holes. - Place Rack onto the bolts. - Tighten Nuts on the bolts. |
| Minimum Evidence Required |  |