Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Plan water treatment (Filtration) |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Draw Plan water filtration process - Interpret Plan (Slow Sand Filter) at water treatment plant - Interpret Plan (Pressure Sand Filter) at water treatment plant |
| Time: | During a practical assessment, under observation by an assessor, you are required to 1. Identify source of water 2. Calculate quantity of water 3. Indicate sand beds 4. Check filtration Rate 5. Select reducing Factor 6. Indicate inlet & outlet 7. Identify water treatment plant 8. Identify sand beds 9. Identify slow sand filters 10. Identify sand removal need 11. Identify Rapid / Pressure filters 12. Check filter media 13. Identify back wash results 14. Check associated symptoms |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standards | Plan water treatment (Filtration) |
| Assessment Task | - Draw Plan water filtration process - Interpret Plan (Slow Sand Filter) at water treatment plant - Interpret Plan (Pressure Sand Filter) at water treatment plant |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify source of water |  |  |
| - Calculate quantity of water |  |  |
| - Indicate sand beds |  |  |
| - Check filtration Rate |  |  |
| - Select reducing Factor |  |  |
| - Indicate inlet & outlet |  |  |
| - Identify water treatment plant |  |  |
| - Identify sand beds |  |  |
| - Identify slow sand filters |  |  |
| - Check filter media |  |  |
| - Identify sand removal need |  |  |
| - Identify source of water |  |  |
| - Identify sand beds |  |  |
| - Identify Rapid / Pressure filters |  |  |
| - Check filter media |  |  |
| - Identify back wash results |  |  |
| - Check associated symptoms |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Plan water treatment (Filtration) |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Draw Plan water filtration process - Interpret Plan (Slow Sand Filter) at water treatment plant - Interpret Plan (Pressure Sand Filter) at water treatment plant |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified source of water |  |  |  |  |  |
|  | Calculated quantity of water |  |  |  |  |  |
|  | Indicated sand beds |  |  |  |  |  |
|  | Checked filtration Rate |  |  |  |  |  |
|  | Selected reducing Factor |  |  |  |  |  |
|  | Indicated inlet & outlet |  |  |  |  |  |
|  | Identified water treatment plant |  |  |  |  |  |
|  | Identified sand beds |  |  |  |  |  |
|  | Identified slow sand filters |  |  |  |  |  |
|  | Checked filter media |  |  |  |  |  |
|  | Identified sand removal need |  |  |  |  |  |
|  | Identified source of water |  |  |  |  |  |
|  | identified sand beds |  |  |  |  |  |
|  | Identified Rapid / Pressure filters |  |  |  |  |  |
|  | Checked filter media |  |  |  |  |  |
|  | Identified back wash results |  |  |  |  |  |
|  | Checked associated symptoms |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Plan water treatment (Filtration) |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the safety requirements for drinking water after treatment |  |  |
|  | Name water treatment process |  |  |
|  | Name different stages for water treatment process |  |  |
|  | Define filter media |  |  |
|  | Name the types of filter media |  |  |
|  | Why change of filter media at water treatment plant is necessary |  |  |
|  | Define slow sand filters at water treatment plant |  |  |
|  | Define rapid sand filters at water treatment plant |  |  |
|  | Define reducing factor |  |  |
|  | Enlist the steps for repair and maintenance at water treatment plant |  |  |
|  | State working of sand filters |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _____________________