Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Join pipes & fittings |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Undertake pipe fitting and Installation - Install Hot and Cold Water Supply Pipes - Joining Cast iron pipes - Join G.I Pipes - Join PPRC Pipes - Joining PVC Pipes - Joining Concrete Pipes |
| Time: | During a practical assessment, under observation by an assessor, you are required to :- - Observe basic principles for pipe fittings - Identify and select materials for task - Identify tools and equipment for task - Attach Pipe with fittings - Locate fixtures properly - Attach cold Pipe with fittings - Attach Hot Pipe with Geyser and fittings - Locate cross over properly - Locate drainage pipes - Place the spigot end of a pipe inside the bell end of another pipe making sure that both are clean and dry. - Inert the gasket into the hub of joint using yarning iron and then pack to the proper depth by using the packing iron. - Pour the molten lead into the joint up to the top of the hub. - Perform caulking after the lead has solidified and cooled - Align the pipe - Observe basic principles for G.I. pipes |
| Minimum Evidence Required |  |

| Minimum Evidence Required | - Tight pipe with socket - Undertake pipe leakage test - Use PPEs - Observe basic principles for PPRC pipes - Adopt safety measures - Prepare welding machine with required dies of diameter - Cut the pipes at right angles to the pipe axis using suitable cutter - Remove any burrs or chips by cleaning the cutting area. - Heat the machine up to 260°C - Mark the welding depth on pipe - Insert the end of pipe into the heating sleeve up to the marked welding depth and mount the fitting also. - Leave the pipe and fitting on the heating tool until the heating time is elapsed (5 to 7 sec) - Remove the pipe and fitting from heating tool and push them immediately into each other up to marked welding depth without rotating. - Allow the joint to cool down. - Clean the ends of pipes to be joined. - Make one end of pipe should be cup/bell/ socket type if they are not in required shape. - Apply jointing solution in the bell/socket and over the spigot end - Insert the spigot end of a pipe into bell/socket of other pipe - Correctly position and bed the first pipe. - Prepare the bedding for the second pipe. - Apply the seal on the spigot end. - Ensure the joint ring is not twisted and correctly located on spigot. - Centre the socket/bell and fill the gap with cement mortar - Select materials for task - Threading & Cutting the Pipe |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standards | Join pipes & fittings |
| Assessment Task | - Undertake pipe fitting and Installation - Install Hot and Cold Water Supply Pipes - Joining Cast iron pipes - Join G.I Pipes - Join PPRC Pipes - Joining PVC Pipes - Joining Concrete Pipes |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Observe basic principles for pipe fittings |  |  |
| - Identify and select materials for task |  |  |
| - Identify tools and equipment for task |  |  |
| - Attach Pipe with fittings |  |  |
| - Locate fixtures properly |  |  |
| - Undertake pipe leakage test |  |  |
| - Use PPEs |  |  |
| - Observe basic principles for pipe fitting |  |  |
| - Identify and select materials for task |  |  |
| - Identify tools and equipment for task |  |  |
| - Attach cold Pipe with fittings |  |  |
| - Attach Hot Pipe with Geyser and fittings |  |  |
| - Locate cross over properly |  |  |
| - Locate drainage pipes |  |  |
| - Undertake pipe leakage test |  |  |
| - Use PPEs |  |  |
| - Place the spigot end of a pipe inside the bell end of another pipe making sure that both are clean and dry. |  |  |
| - Inert the gasket into the hub of joint using yarning iron and then pack to the proper depth by using the packing iron. |  |  |
| - Pour the molten lead into the joint up to the top of the hub. |  |  |
| - Perform caulking after the lead has solidified and cooled |  |  |
| - Align the pipe |  |  |
| - Undertake pipe leakage test |  |  |
| - Use PPEs |  |  |
| - Observe basic principles for G.I. pipes |  |  |
| - Select materials for task |  |  |
| - Identify tools and equipment for task |  |  |
| - Threading & Cutting the Pipe |  |  |
| - Tight pipe with socket |  |  |
| - Undertake pipe leakage test |  |  |
| - Use PPEs |  |  |
| - Observe basic principles for PPRC pipes |  |  |
| - Adopt safety measures |  |  |
| - Prepare welding machine with required dies of diameter |  |  |
| - Cut the pipes at right angles to the pipe axis using suitable cutter |  |  |
| - Remove any burrs or chips by cleaning the cutting area. |  |  |
| - Heat the machine up to 260°C |  |  |
| - Mark the welding depth on pipe |  |  |
| - Insert the end of pipe into the heating sleeve up to the marked welding depth and mount the fitting also. |  |  |
| - Leave the pipe and fitting on the heating tool until the heating time is elapsed (5 to 7 sec) |  |  |
| - Remove the pipe and fitting from heating tool and push them immediately into each other up to marked welding depth without rotating. |  |  |
| - Allow the joint to cool down. |  |  |
| - Clean the ends of pipes to be joined. |  |  |
| - Make one end of pipe should be cup/bell/ socket type if they are not in required shape. |  |  |
| - Apply jointing solution in the bell/socket and over the spigot end |  |  |
| - Insert the spigot end of a pipe into bell/socket of other pipe |  |  |
| - Correctly position and bed the first pipe. |  |  |
| - Prepare the bedding for the second pipe. |  |  |
| - Apply the seal on the spigot end. |  |  |
| - Ensure the joint ring is not twisted and correctly located on spigot. |  |  |
| - Centre the socket/bell and fill the gap with cement mortar |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Join pipes & fittings |
| Candidate Details | Name:_____________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Undertake pipe fitting and Installation - Install Hot and Cold Water Supply Pipes - Joining Cast iron pipes - Join G.I Pipes - Join PPRC Pipes - Joining PVC Pipes - Joining Concrete Pipes |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Observed basic principles for pipe fittings |  |  |  |  |  |
|  | Identified and select materials for task |  |  |  |  |  |
|  | Identified tools and equipment for task |  |  |  |  |  |
|  | Attached Pipe with fittings |  |  |  |  |  |
|  | Located fixtures properly |  |  |  |  |  |
|  | Undertaken pipe leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Observed basic principles for pipe fitting |  |  |  |  |  |
|  | Identified and select materials for task |  |  |  |  |  |
|  | Identified tools and equipment for task |  |  |  |  |  |
|  | Attached cold Pipe with fittings |  |  |  |  |  |
|  | Attached Hot Pipe with Geyser and fittings |  |  |  |  |  |
|  | Located cross over properly |  |  |  |  |  |
|  | Located drainage pipes |  |  |  |  |  |
|  | Undertaken pipe leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Placed the spigot end of a pipe inside the bell end of another pipe making sure that both are clean and dry. |  |  |  |  |  |
|  | Inserted the gasket into the hub of joint using yarning iron and then pack to the proper depth by using the packing iron. |  |  |  |  |  |
|  | Poured the molten lead into the joint up to the top of the hub. |  |  |  |  |  |
|  | Performed caulking after the lead has solidified and cooled |  |  |  |  |  |
|  | Aligned the pip |  |  |  |  |  |
|  | Undertaken pipe leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Observed basic principles for G.I. pipes |  |  |  |  |  |
|  | Selected materials for task |  |  |  |  |  |
|  | Identified tools and equipment for task |  |  |  |  |  |
|  | Threading & Cutting the Pipe |  |  |  |  |  |
|  | Tighten pipe with socket |  |  |  |  |  |
|  | Undertaken pipe leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Observed basic principles for PPRC pipes |  |  |  |  |  |
|  | Adopted safety measures |  |  |  |  |  |
|  | Prepared welding machine with required dies of diameter. |  |  |  |  |  |
|  | Cut the pipes at right angles to the pipe axis using suitable cutter. |  |  |  |  |  |
|  | Removed any burrs or chips by cleaning the cutting area. |  |  |  |  |  |
|  | Heated the machine up to 260°C |  |  |  |  |  |
|  | Marked the welding depth on pipe |  |  |  |  |  |
|  | Inserted the end of pipe into the heating sleeve up to the marked welding depth and mount the fitting also. |  |  |  |  |  |
|  | Leaved the pipe and fitting on the heating tool until the heating time is elapsed (5 to 7 sec) |  |  |  |  |  |
|  | Removed the pipe and fitting from heating tool and push them immediately into each other up to marked welding depth without rotating. |  |  |  |  |  |
|  | Allowed the joint to cool down. |  |  |  |  |  |
|  | Cleaned the ends of pipes to be joined. |  |  |  |  |  |
|  | Make one end of pipe should be cup/bell/ socket type if they are not in required shape. |  |  |  |  |  |
|  | Applied jointing solution in the bell/socket and over the spigot end |  |  |  |  |  |
|  | Inserted the spigot end of a pipe into bell/socket of other pipe |  |  |  |  |  |
|  | Correctly position and bed the first pipe. |  |  |  |  |  |
|  | Prepared the bedding for the second pipe. |  |  |  |  |  |
|  | Applied the seal on the spigot end. |  |  |  |  |  |
|  | Ensured the joint ring is not twisted and correctly located on spigot. |  |  |  |  |  |
|  | Ensured the joint ring is not twisted and correctly located on spigot. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard(s) | Join pipes & fittings |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Interpret signs and symbols for Water supply system |  |  |
|  | State specifications for cold water connections |  |  |
|  | State specifications for hot water connections |  |  |
|  | Name the fittings attach with hot water |  |  |
|  | Name the faults in hot water pipes |  |  |
|  | What are the safety values used in geysers |  |  |
|  | Name the equipment for installing and fittings of pipes |  |  |
|  | Define drain Pipes |  |  |
|  | Name different pipe joints |  |  |
|  | Name the methods for different type of pipe joints |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature____________________ Assessor’s Signature ____________________ |  |  |  |  |