Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform on site Field Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform Pre- field calibration of Equipment’s - Perform Ph - Perform Electrical conductivity - Perform Testing of Dissolved Oxygen |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Perform Pre- field calibration of Equipment’s - Be familiar with the contents of the operating manual for that specific instrument - Calibration must be undertaken as per the instrument manufacturer’s instructions - Make sure that the calibrating standards have not been expired. - Perform calibration using standards in the range of values expected to be encountered in the field. - Perform and record calibration before the start of a field trip and should be checked at the conclusion of each field trip. - Calibrate/standardize the instrument with the calibrating standards as per the manufacturer instruction. Perform Ph - Immersed the electrodes are either in, or rinsed with, distilled water. Remove them from the water and blot dry. - Rinse the electrodes and a small beaker with a portion of the sample. - Pour sufficient of the sample into the small beaker to allow the tips of the electrodes to be immersed to a depth of about 2 cm. The electrodes should be at least 1 cm away from the sides and the bottom of the beaker. - Measure the temperature of the water sample and set the temperature adjustment dial accordingly (if the instrument does not have automatic temperature compensation). - Turn on the pH meter. - Read the pH of the water sample on the meter. - Raise the electrodes out of the sample. Remove the sample and discard it. - Rinse the electrodes and the beaker with distilled water and blot the electrodes with soft tissue. - Replace the protective rubber cap on the tip. - Switch the meter off and pack it in its carrying case for transport. Perform Electrical conductivity - Rinse the conductivity cell with at least three portions of the sample. - Immerse the conductivity cell containing the electrodes in a sufficient volume of the sample for the liquid level to be above the vent holes in the cell. There should be no air bubbles clinging to the electrodes and the cell should not be closer than 2 cm to the sides and bottom of the container. - Turn the meter on. Follow the manufacturer’s operating instructions and record the meter reading. - Turn the meter off and pack it and the electrode in the carrying case for transport. Perform Testing of Dissolved Oxygen - Calibrate/standardize the instrument as per the manufacturer instruction - Rinse the electrode in a portion of the sample which is to be analyzed for dissolved oxygen. - Immerse the electrode in the water, ensuring a continuous flow of water past the membrane to obtain a steady response on the meter. - Record the meter reading and the temperature - Switch the meter off and pack it and the electrode in the carrying case for transport. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standard | Perform on site Field Testing |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform Pre- field calibration of Equipment’s - Perform Ph - Perform Electrical conductivity - Perform Testing of Dissolved Oxygen |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Be familiar with the contents of the operating manual for that specific instrument |  |  |
| - Calibration must be undertaken as per the instrument manufacturer’s instructions |  |  |
| - Make sure that the calibrating standards have not been expired. |  |  |
| - Perform calibration using standards in the range of values expected to be encountered in the field. |  |  |
| - Perform and record calibration before the start of a field trip and should be checked at the conclusion of each field trip. |  |  |
| - Calibrate/standardize the instrument with the calibrating standards as per the manufacturer instruction. |  |  |
| - Immersed the electrodes are either in, or rinsed with, distilled water. Remove them from the water and blot dry. |  |  |
| - Rinse the electrodes and a small beaker with a portion of the sample. |  |  |
| - Pour sufficient of the sample into the small beaker to allow the tips of the electrodes to be immersed to a depth of about 2 cm. The electrodes should be at least 1 cm away from the sides and the bottom of the beaker. |  |  |
| - Measure the temperature of the water sample and set the temperature adjustment dial accordingly (if the instrument does not have automatic temperature compensation). |  |  |
| - Turn on the pH meter. |  |  |
| - Read the pH of the water sample on the meter. |  |  |
| - Raise the electrodes out of the sample. Remove the sample and discard it. |  |  |
| - Rinse the electrodes and the beaker with distilled water and blot the electrodes with soft tissue. |  |  |
| - Replace the protective rubber cap on the tip. |  |  |
| - Switch the meter off and pack it in its carrying case for transport. |  |  |
| - Immerse the conductivity cell containing the electrodes in a sufficient volume of the sample for the liquid level to be above the vent holes in the cell. There should be no air bubbles clinging to the electrodes and the cell should not be closer than 2 cm to the sides and bottom of the container. |  |  |
| - Turn the meter on. Follow the manufacturer’s operating instructions and record the meter reading. |  |  |
| - Turn the meter off and pack it and the electrode in the carrying case for transport. |  |  |
| - Calibrate/standardize the instrument as per the manufacturer instruction |  |  |
| - Rinse the electrode in a portion of the sample which is to be analyzed for dissolved oxygen. |  |  |
| - Immerse the electrode in the water, ensuring a continuous flow of water past the membrane to obtain a steady response on the meter. |  |  |
| - Record the meter reading and the temperature |  |  |
| - Switch the meter off and pack it and the electrode in the carrying case for transport. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform on site Field Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform Pre- field calibration of Equipment’s - Perform Ph - Perform Electrical conductivity - Perform Testing of Dissolved Oxygen |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Be familiar with the contents of the operating manual for that specific instrument |  |  |  |  |  |
|  | Calibration must be undertaken as per the instrument manufacturer’s instructions |  |  |  |  |  |
|  | Make sure that the calibrating standards have not been expired. |  |  |  |  |  |
|  | Perform calibration using standards in the range of values expected to be encountered in the field. |  |  |  |  |  |
|  | Perform and record calibration before the start of a field trip and should be checked at the conclusion of each field trip. |  |  |  |  |  |
|  | Calibrate/standardize the instrument with the calibrating standards as per the manufacturer instruction. |  |  |  |  |  |
|  | Immersed the electrodes are either in, or rinsed with, distilled water. Remove them from the water and blot dry. |  |  |  |  |  |
|  | Rinse the electrodes and a small beaker with a portion of the sample. |  |  |  |  |  |
|  | Pour sufficient of the sample into the small beaker to allow the tips of the electrodes to be immersed to a depth of about 2 cm. The electrodes should be at least 1 cm away from the sides and the bottom of the beaker. |  |  |  |  |  |
|  | Measure the temperature of the water sample and set the temperature adjustment dial accordingly (if the instrument does not have automatic temperature compensation). |  |  |  |  |  |
|  | Turn on the pH meter. |  |  |  |  |  |
|  | Read the pH of the water sample on the meter. |  |  |  |  |  |
|  | Raise the electrodes out of the sample. Remove the sample and discard it. |  |  |  |  |  |
|  | Rinse the electrodes and the beaker with distilled water and blot the electrodes with soft tissue. |  |  |  |  |  |
|  | Replace the protective rubber cap on the tip. |  |  |  |  |  |
|  | Switch the meter off and pack it in its carrying case for transport. |  |  |  |  |  |
|  | Immerse the conductivity cell containing the electrodes in a sufficient volume of the sample for the liquid level to be above the vent holes in the cell. There should be no air bubbles clinging to the electrodes and the cell should not be closer than 2 cm to the sides and bottom of the container. |  |  |  |  |  |
|  | Turn the meter on. Follow the manufacturer’s operating instructions and record the meter reading. |  |  |  |  |  |
|  | Turn the meter off and pack it and the electrode in the carrying case for transport. |  |  |  |  |  |
|  | Calibrate/standardize the instrument as per the manufacturer instruction |  |  |  |  |  |
|  | Rinse the electrode in a portion of the sample which is to be analyzed for dissolved oxygen. |  |  |  |  |  |
|  | Immerse the electrode in the water, ensuring a continuous flow of water past the membrane to obtain a steady response on the meter. |  |  |  |  |  |
|  | Record the meter reading and the temperature |  |  |  |  |  |
|  | Switch the meter off and pack it and the electrode in the carrying case for transport. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform on site Field Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Elaborate the procedure for pre-field calibration of equipment’s? |  |  |
|  | Described the procedure of on field Testing? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________