Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Collection of Sample (Ground Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Collect sample for chemical analysis - Collect sample for Microbiological analysis |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Collect sample for chemical analysis - Follow fallowing and precautionary measures while collecting samples from the field. - Select an un-rusted tap while collecting water sample/s from water supply line/consumer end. Clean the tap properly and allowed to flow for a few minutes before collection of sample. - Collect the water sample from a tube well after allowing it to flow for at least 10 minutes to get representative sample of the groundwater. Record the depth of groundwater level. - Collect the water samples from a distribution network from the source of supply (tube well) as close as possible, to minimize the effects of pollution in the distribution system; and from consumer end (tap) to evaluate the actual quality of water being used. Fill all the water sampling bottles slowly to avoid turbulence and air bubbles, after flushing the system for sufficient time. - Hand Pump/Dug Well: Collect the water sample from a selected hand pump or dug well after purging, making one stroke for every foot of depth (a hand pump or dug well having 30 feet of depth, needs 30 strokes for its purging). Collect sample for Microbiological analysis - Collect the water samples for microbiological analysis in clean, sterile plastic bottles (200 ml). - Ensure that no accidental contamination occurs during sampling. - Take Samples from those taps, which were not leaking between the spindle and gland to avoid outside contamination. - Kept the samples cool (in ice box) and in dark during transportation to designated laboratory. Where there a proper place was available, - Analyse the samples just after collection by field testing method. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standard | Perform Collection of Sample (Ground Water) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Collect sample for chemical analysis - Collect sample for Microbiological analysis |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow fallowing and precautionary measures while collecting samples from the field. |  |  |
| - Select an un-rusted tap while collecting water sample/s from water supply line/consumer end. Clean the tap properly and allowed to flow for a few minutes before collection of sample. |  |  |
| - Collect the water sample from a tube well after allowing it to flow for at least 10 minutes to get representative sample of the groundwater. Record the depth of groundwater level. |  |  |
| - Collect the water samples from a distribution network from the source of supply (tube well) as close as possible, to minimize the effects of pollution in the distribution system; and from consumer end (tap) to evaluate the actual quality of water being used. Fill all the water sampling bottles slowly to avoid turbulence and air bubbles, after flushing the system for sufficient time. |  |  |
| - Hand Pump/Dug Well: Collect the water sample from a selected hand pump or dug well after purging, making one stroke for every foot of depth (a hand pump or dug well having 30 feet of depth, needs 30 strokes for its purging). |  |  |
| - Collect the water samples for microbiological analysis in clean, sterile plastic bottles (200 ml). |  |  |
| - Ensure that no accidental contamination occurs during sampling. |  |  |
| - Take Samples from those taps, which were not leaking between the spindle and gland to avoid outside contamination. |  |  |
| - Kept the samples cool (in ice box) and in dark during transportation to designated laboratory. Where there a proper place was available |  |  |
| - Analyse the samples just after collection by field testing method. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Collection of Sample (Ground Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Collect sample for chemical analysis - Collect sample for Microbiological analysis |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow fallowing and precautionary measures while collecting samples from the field. |  |  |  |  |  |
|  | Select an un-rusted tap while collecting water sample/s from water supply line/consumer end. Clean the tap properly and allowed to flow for a few minutes before collection of sample. |  |  |  |  |  |
|  | Collect the water sample from a tube well after allowing it to flow for at least 10 minutes to get representative sample of the groundwater. Record the depth of groundwater level. |  |  |  |  |  |
|  | Collect the water samples from a distribution network from the source of supply (tube well) as close as possible, to minimize the effects of pollution in the distribution system; and from consumer end (tap) to evaluate the actual quality of water being used. Fill all the water sampling bottles slowly to avoid turbulence and air bubbles, after flushing the system for sufficient time. |  |  |  |  |  |
|  | Hand Pump/Dug Well: Collect the water sample from a selected hand pump or dug well after purging, making one stroke for every foot of depth (a hand pump or dug well having 30 feet of depth, needs 30 strokes for its purging). |  |  |  |  |  |
|  | Collect the water samples for microbiological analysis in clean, sterile plastic bottles (200 ml). |  |  |  |  |  |
|  | Ensure that no accidental contamination occurs during sampling. |  |  |  |  |  |
|  | Take Samples from those taps, which were not leaking between the spindle and gland to avoid outside contamination. |  |  |  |  |  |
|  | Kept the samples cool (in ice box) and in dark during transportation to designated laboratory. Where there a proper place was available |  |  |  |  |  |
|  | Analyse the samples just after collection by field testing method. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Collection of Sample (Ground Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How much time is required to flow the water of tube well before sampling? |  |  |
|  | How many strokes are required for Hand pump before sampling? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________