Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Water and Waste Water Sampling and Field Monitoring (Water Quality Surveyor) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): Prepare sampling plan - Make Checklist for sampling operations. - Select the suitable sampling technique, preservatives, equipment’s and sampling bottles. - Label the sampling bottles according to sample type. Observe the site Details - Fill the given sampling Performa and collect required information Collect Sample form Ground water - Collect Chemical and microbiological sample form tube well and Hand Pump according to the prescribed procedure. Collect Sample for Quality Control - Collect field blank and replicate samples for the purpose of quality control. Perform on site Field Testing - Calibrate the instrument using calibrating standards. - Perform PH, Electrical Conductivity and dissolve Oxygen and Record the results. Storage and Transportation of Samples - Maintain the temperature of samples for storage |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standard | Water and Waste Water Sampling and Field Monitoring (Water Quality Surveyor) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare sampling plan - Observe the site Details - Collect Sample form Ground water - Collect Sample for Quality Control - Perform on site Field Testing - Storage and Transportation of Samples |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Make Checklist for sampling operations. |  |  |
| - Select the suitable sampling technique, preservatives, equipment’s and sampling bottles. |  |  |
| - Label the sampling bottles according to sample type. |  |  |
| - Fill the given sampling Performa and collect required information |  |  |
| - Collect Chemical and microbiological sample form tube well and Hand Pump according to the prescribed procedure. |  |  |
| - Collect field blank and replicate samples for the purpose of quality control. |  |  |
| - Calibrate the instrument using calibrating standards. |  |  |
| - Perform PH, Electrical Conductivity and dissolve Oxygen and Record the results. |  |  |
| - Take direct sample |  |  |
| - Take grab sample |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Water and Waste Water Sampling and Field Monitoring (Water Quality Surveyor) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare sampling plan - Observe the site Details - Collect Sample form Ground water - Collect Sample for Quality Control - Perform on site Field Testing - Storage and Transportation of Samples |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Make Checklist for sampling operations. |  |  |  |  |  |
|  | Select the suitable sampling technique, preservatives, equipment’s and sampling bottles. |  |  |  |  |  |
|  | Label the sampling bottles according to sample type. |  |  |  |  |  |
|  | Fill the given sampling Performa and collect required information |  |  |  |  |  |
|  | Collect Chemical and microbiological sample form tube well and Hand Pump according to the prescribed procedure. |  |  |  |  |  |
|  | Collect field blank and replicate samples for the purpose of quality control. |  |  |  |  |  |
|  | Calibrate the instrument using calibrating standards. |  |  |  |  |  |
|  | Perform PH, Electrical Conductivity and dissolve Oxygen and Record the results. |  |  |  |  |  |
|  | Take direct sample |  |  |  |  |  |
|  | Take grab sample |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Water and Waste Water Sampling and Field Monitoring (Water Quality Surveyor) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Described various techniques for collection of Samples? |  |  |
|  | Name the preservative required for preservation of water quality samples? |  |  |
|  | Described the method for calibration of different field related equipment’s? |  |  |
|  | Name the different type of Water samples collected for water quality analysis? |  |  |
|  | Make a checklist for pre-sampling, Sampling and post Sampling preparations? |  |  |
|  | What are the Physical Area Characteristics required to be noted in the sampling area? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________