Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Module | Water and waste water Testing (Physico-chemical Parameter) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform testing of pH - Testing of Electrical Conductivity(EC) - Perform test of Turbidity - Determine Calcium & Magnesium - Testing/Determination of Hardness by EDTA titrimetric method - Determine Alkalinity |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Perform Testing of pH - Identify appropriate test method, equipment and safety requirements for analysis of PH. - Analyze pH of the provided sample according to already prescribed procedure. - Adopt precautionary measures for probe handling. Testing of Electrical Conductivity(EC) - Identify appropriate test method and equipment for analysis of electrical conductivity. - Perform calibration of meter using provided standard. - Check repeatability of analyzed sample. Perform testing of Turbidity - Identify appropriate test method and equipment for analysis of turbidity. - Perform calibration of the meter using provided standard. - Adopt precautionary measures for cuvette handling. Determine Calcium & Magnesium in drinking water sample - Identify appropriate test method, Glassware and safety requirements for determining calcium and magnesium. - Check calcium concentration in provided water sample. - Apply quality control checks before sample analysis. Testing/Determination of Hardness by EDTA titrimetric method - Prepare Hardness buffer solution as per standard procedure - Verify EDTA concentration by titrating with known standards of Ca. Determine Alkalinity - Identify appropriate test method, Glassware and safety requirements for analyzing alkalinity - Prepare and standardized reagent and evaluate factor for alkalinity |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Module | Water and waste water Testing (Physico-chemical Parameter) |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Perform testing of pH - Testing of Electrical Conductivity(EC) - Perform test of Turbidity - Determine Calcium & Magnesium - Testing/Determination of Hardness by EDTA titrimetric method - Determine Alkalinity |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, equipment and safety requirements for analysis of pH. |  |  |
| - Analyze pH of the provided sample according to already prescribed procedure. |  |  |
| - Adopt precautionary measures for probe handling. |  |  |
| - Identify appropriate test method and equipment for analysis of electrical conductivity. |  |  |
| - Perform calibration of meter using provided standard. |  |  |
| - Check repeatability of analyzed sample. |  |  |
| - Identify appropriate test method and equipment for analysis of turbidity. |  |  |
| - Perform calibration of the meter using provided standard. |  |  |
| - Adopt precautionary measures for cuvette handling. |  |  |
| - Identify appropriate test method, Glassware and safety requirements for determining calcium and magnesium. |  |  |
| - Check calcium concentration in provided water sample. |  |  |
| - Apply quality control checks before sample analysis. |  |  |
| - Prepare Hardness buffer solution as per standard procedure |  |  |
| - Verify EDTA concentration by titrating with known standards of Ca. |  |  |
| - Identify appropriate test method, Glassware and safety requirements. |  |  |
| - Prepare and standardized reagent and evaluate factor for alkalinity. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Water and waste water Testing (Physico-chemical Parameter) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform testing of pH - Testing of Electrical Conductivity(EC) - Perform test of Turbidity - Determine Calcium & Magnesium - Testing/Determination of Hardness by EDTA titrimetric method - Determine Alkalinity |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, equipment and safety requirements for analysis of pH. |  |  |  |  |  |
|  | Analyze pH of the provided sample according to already prescribed procedure. |  |  |  |  |  |
|  | Adopt precautionary measures for probe handling. |  |  |  |  |  |
|  | Identify appropriate test method and equipment for analysis of electrical conductivity. |  |  |  |  |  |
|  | Perform calibration of meter using provided standard. |  |  |  |  |  |
|  | Check repeatability of analyzed sample. |  |  |  |  |  |
|  | Identify appropriate test method and equipment for analysis of turbidity. |  |  |  |  |  |
|  | Perform calibration of the meter using provided standard. |  |  |  |  |  |
|  | Adopt precautionary measures for cuvette handling. |  |  |  |  |  |
|  | Identify appropriate test method, Glassware and safety requirements for determining calcium and magnesium. |  |  |  |  |  |
|  | Check calcium concentration in provided water sample. |  |  |  |  |  |
|  | Apply quality control checks before sample analysis. |  |  |  |  |  |
|  | Prepare Hardness buffer solution as per standard procedure |  |  |  |  |  |
|  | Verify EDTA concentration by titrating with known standards of Ca. |  |  |  |  |  |
|  | Identify appropriate test method, Glassware and safety requirements for analyzing alkalinity. |  |  |  |  |  |
|  | Prepare and standardized reagent and evaluate factor for alkalinity. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Module | Water and waste water Testing (Physico-chemical Parameter) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the common points in analyzing electrical conductivity and pH? Describe any two. |  |  |
|  | What is the basic principle applied in turbidity meter for analysis of water? |  |  |
|  | Differentiate between NTU and FTU? |  |  |
|  | What is the principle of titration for alkalinity? |  |  |
|  | Write down standardization procedure for EDTA?? |  |  |
|  | Why burette reading after titrating sample for Total hardness is multiplied by 100, also write down formula?? |  |  |
|  | Write down procedure for preparation of murexide? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________