Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Testing of pH by pH Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform Testing of pH by pH Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during result |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Perform Testing of pH by pH Meter - Check the sample label for the requirement of pH testing. - Maintain the Laboratory room temperature at 25 °C through heating or cooling whatever required - Prepare pH buffer solution. - Identify appropriate test method, equipment and safety requirements. Prepare for laboratory testing - Set up pH meter and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Check the calibration status of pH meter. Perform calibration if required. Perform tests on samples - Give warm up time to the instrument. - Check the calibration by running known buffers. - Test the pH of the sample with pH meter. - Analyze three replicates (3 readings per sample) - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. Quality Control Checks - standardized pH meter by running known standard - Analyze Method blank after every 10 samples. - Analyze Laboratory Control samples of pH 7.00 with every batch of 10 samples. - Check repeatability . - Record Daily quality control data in QC Data sheet-I. Record the results/ Finalise work - Report the results on result record form with proper uncertainty and unit. - Clear and restore instrument . Adopt precautions during work - Check calibration. - Adopt precautionary measurements for probe handling. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| Competency Standard | CS-14 Perform Testing of pH by pH Meter |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform Testing of pH by pH Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalise work - Adopt precautions during work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the sample label for the requirement of pH testing. |  |  |
| - Maintain the Laboratory room temperature at 25 °C through heating or cooling whatever required. |  |  |
| - Prepare pH buffer solution. |  |  |
| - Identify appropriate test method, equipment and safety requirements. |  |  |
| - Set up pH meter and/or reagents in accordance with the specified work instructions |  |  |
| - Conduct pre-use and safety checks |  |  |
| - Check the calibration status of pH meter. Perform calibration if required |  |  |
| - Give warm up time to the instrument. |  |  |
| - Check the calibration by running known buffers. |  |  |
| - Test the pH of the sample with pH meter. |  |  |
| - Analyze three replicates (3 readings per sample) |  |  |
| - Store unused reagents and dispose of wastes as required by relevant regulations and codes. |  |  |
| - Clean and store equipment. |  |  |
| - standardized pH meter by running known standard |  |  |
| - Analyze Method blank after every 10 samples. |  |  |
| - Analyze Laboratory Control samples of pH 7.00 with every batch of 10 samples. |  |  |
| - Check repeatability . |  |  |
| - Record quality control data in QC Data sheet-I. |  |  |
| - Report the results on result record form with proper uncertainty and unit. |  |  |
| - Clear and restore instrument . |  |  |
| - Check calibration. |  |  |
| - Adopt precautionary measurements for probe handling. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Testing of pH by pH Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform Testing of pH by pH Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalise work - Adopt precautions during work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the sample label for the requirement of pH testing. |  |  |  |  |  |
|  | Maintain the Laboratory room temperature at 25 °C through heating or cooling whatever required. |  |  |  |  |  |
|  | Keep the sample at room temperature for few minutes. |  |  |  |  |  |
|  | Prepare pH buffer solution. |  |  |  |  |  |
|  | Set up pH meter and/or reagents in accordance with the specified work instructions |  |  |  |  |  |
|  | Conduct pre-use and safety checks |  |  |  |  |  |
|  | Check the calibration status of pH meter. Perform calibration if required |  |  |  |  |  |
|  | Give warm up time to the instrument. |  |  |  |  |  |
|  | Check the calibration by running known buffers. |  |  |  |  |  |
|  | Test the pH of the sample with pH meter. |  |  |  |  |  |
|  | Analyze three replicates (3 readings per sample) |  |  |  |  |  |
|  | Store unused reagents and dispose of wastes as required by relevant regulations and codes. |  |  |  |  |  |
|  | Clean and store equipment. |  |  |  |  |  |
|  | standardized pH meter by running known standard |  |  |  |  |  |
|  | Analyze Method blank after every 10 samples. |  |  |  |  |  |
|  | Analyze Laboratory Control samples of pH 7.00 with every batch of 10 samples. |  |  |  |  |  |
|  | Check repeatability . |  |  |  |  |  |
|  | Record quality control data in QC Data sheet-I. |  |  |  |  |  |
|  | Report the results on result record form with proper uncertainty and unit. |  |  |  |  |  |
|  | Clear and restore instrument . |  |  |  |  |  |
|  | Check calibration. |  |  |  |  |  |
|  | Adopt precautionary measurements for probe handling. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate-Level-3 in Water Quality & Resource Management (Water Quality Surveyor) |
| --- | --- |
| Competency Standard | Perform Testing of pH by pH Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the difference between acidic and basic pH? |  |  |
|  | How to prepare pH 7 standard? |  |  |
|  | Mention the pH range of drinking water? |  |  |
|  | What is alkaline water and where it is used? |  |  |
|  | Which pH standards are used for calibration of pH meter. |  |  |
|  | What are the possible health implications of acidic pH for human health? |  |  |
|  | What is the pH of deionized water? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________