Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| MODULE | Water and waste water testing (physico-chemical parameters)-II |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Testing/ Determination of Bicarbonate (HCO3) - Testing/Determination of Carbonate (CO3) - Testing/Determination of Chloride (Cl) - Testing of Chlorine (Cl2) - Testing/Determination of Fluoride (F) |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| - Minimum Evidence Required | Testing/ Determination of Bicarbonate (HCO3) - Identify appropriate test method, apparatus/equipment and Glassware used for testing of bicarbonates - Identify reagents required for testing of bicarbonates - Prepare and standardize reagents - Test provided sample for bicarbonates and calculate result Testing/Determination of Carbonate (CO3) - Identify the conditions for testing of carbonates - Identify appropriate test method, apparatus/equipment and Glassware used for testing of carbonates - Identify reagents required for testing of carbonates - Prepare reagents for carbonate analysis - Test provided sample for carbonates and calculate result Testing/Determination of Chloride (Cl) - Identify appropriate test method for testing of chlorides - Identify reagents required for testing of chlorides - Prepare and standardize reagent for chlorides testing - Apply quality control checks before testing of chlorides - Test provided sample for chlorides and calculate results Testing of Chlorine (Cl2) - Identify appropriate test method, equipment for testing of chlorine - Set up test equipment and reagents for chlorine testing in accordance with the Specified work instructions - Check the calibration status of equipment for chlorine. - Perform zero correction for chlorine testing. Testing/Determination of Fluoride (F) - Identify appropriate test method, Glassware and Equipment for analysis of fluoride - Identify reagents for fluoride testing - Prepare and analyze sample for fluoride |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Module | Water and waste water testing (physico-chemical parameters)-II |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Testing/ Determination of Bicarbonate (HCO3) - Testing/Determination of Carbonate (CO3) - Testing/Determination of Chloride (Cl) - Testing/Determination of Chlorine (Cll2) - Testing/Determination of Fluoride (F) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, apparatus/equipment and Glassware used for testing of bicarbonates |  |  |
| - Identify reagents required for testing of bicarbonates |  |  |
| - Prepare and standardize reagents |  |  |
| - Test provided sample for bicarbonates and calculate result |  |  |
| - Identify the conditions for testing of carbonates |  |  |
| - Identify appropriate test method, apparatus/equipment and Glassware used for testing of carbonates |  |  |
| - Identify reagents required for testing of carbonates |  |  |
| - Prepare reagents for carbonate analysis |  |  |
| - Test provided sample for carbonates and calculate result |  |  |
| - Identify appropriate test method for testing of chlorides |  |  |
| - Identify reagents required for testing of chlorides |  |  |
| - Prepare and standardize reagent for chlorides testing |  |  |
| - Apply quality control checks before testing of chlorides |  |  |
| - Test provided sample for chlorides and calculate results |  |  |
| - Identify appropriate test method, equipment for testing of chlorine |  |  |
| - Set up test equipment and reagents for chlorine testing in accordance with the Specified work instructions |  |  |
| - Check the calibration status of equipment for chlorine. |  |  |
| - Perform zero correction for chlorine testing |  |  |
| - Identify appropriate test method, Glassware and Equipment for analysis of fluoride |  |  |
| - Identify reagents for fluoride testing |  |  |
| - Prepare and analyze sample for fluoride |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Module | Water and waste water testing (physico-chemical parameters)-II |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Testing/ Determination of Bicarbonate (HCO3) - Testing/Determination of Carbonate (CO3) - Testing/Determination of Chloride (Cl) - Testing of Chlorine (Cl2) - Testing/Determination of Fluoride (F) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, apparatus/equipment and Glassware used for testing of bicarbonates |  |  |  |  |  |
|  | Identify reagents required for testing of bicarbonates |  |  |  |  |  |
|  | Prepare and standardize reagents |  |  |  |  |  |
|  | Test provided sample for bicarbonates and calculate result |  |  |  |  |  |
|  | Identify the conditions for testing of carbonates |  |  |  |  |  |
|  | Identify appropriate test method, apparatus/equipment and Glassware used for testing of carbonates |  |  |  |  |  |
|  | Identify reagents required for testing of carbonates |  |  |  |  |  |
|  | Prepare reagents for carbonate analysis |  |  |  |  |  |
|  | Test provided sample for carbonates and calculate result |  |  |  |  |  |
|  | Identify appropriate test method for testing of chlorides |  |  |  |  |  |
|  | Identify reagents required for testing of chlorides |  |  |  |  |  |
|  | Prepare and standardize reagent for chlorides testing |  |  |  |  |  |
|  | Apply quality control checks before testing of chlorides |  |  |  |  |  |
|  | Test provided sample for chlorides and calculate results |  |  |  |  |  |
|  | Identify appropriate test method, equipment for testing of chlorine |  |  |  |  |  |
|  | Set up test equipment and reagents for chlorine testing in accordance with the Specified work instructions |  |  |  |  |  |
|  | Check the calibration status of equipment for chlorine. |  |  |  |  |  |
|  | Perform zero correction for chlorine testing |  |  |  |  |  |
|  | Identify appropriate test method, Glassware and Equipment for analysis of fluoride |  |  |  |  |  |
|  | Identify reagents for fluoride testing |  |  |  |  |  |
|  | Prepare and analyze sample for fluoride |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Module | Water and waste water testing (physico-chemical parameters)-II |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the basic principle of fluoride measurement? |  |  |
|  | Differentiate between total and free chlorine? |  |  |
|  | What is meant by DPD reagent? |  |  |
|  | What is the principle of titration for bicarbonates? |  |  |
|  | How the molarity of reagent acid (HCL) is calculated? |  |  |
|  | Why is the principle of argentometric titration?explain with equation? |  |  |
|  | What is the principle of titration for phenolphthalein alkalinity? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________