Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Testing of Chlorine (Cl2) by DPD/Chlorine Meter Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform Testing of chlorine by chlorine Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during result |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Perform Testing of chlorine by chlorine Meter - Check the sample label for the requirement of Chlorine testing and keep the sample at room temperature for few minutes. - Check for the availability of required reagents. - Identify appropriate test method, equipment and safety requirements. Prepare for laboratory testing - Set up test equipment Chlorine meter and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Check the calibration status of equipment. Perform tests on samples - Turn on the meter as per following the work instructions and select free or total chlorine mode as per requirement of test - Add reagents in the sample and replace the cap and shake gently. - Place the cuvette in to the holder in accordance with the prescribed way. - Perform zero correction. - Test free chlorine. - Test total chlorine measurement according to prescribed procedure. - Give proper reaction time for total chlorine analysis. - Analyzed three replicate for each sample and store unused reagents by relevant regulations and codes. - Clean and store equipment. Apply Quality Control Checks - Analyze method blank after every 10 samples - Analyze Laboratory Control samples. - Record daily quality control data in QC Data sheet-I. Record the results/ Finalize work - Note down the Results on analyst workbook. - Report the results on result record form with proper uncertainty and unit. Adopt precautions during work - Adopt precautionary measures for cuvette handling. - Focus on reaction time between sample and reagent preparation. - Proper procedure for sample handling is needed. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality and Resource Management |
| Competency Standard | Testing of Turbidity by Turbidity Meter |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform Testing of chlorine by chlorine Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during result |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the sample label for the requirement of Chlorine testing and keep the sample at room temperature for few minutes. |  |  |
| - Check for the availability of required reagents. |  |  |
| - Identify appropriate test method, equipment and safety requirements. |  |  |
| - Set up test equipment Chlorine meter and/or reagents in accordance with the specified work instructions. |  |  |
| - Conduct pre-use and safety checks. |  |  |
| - Check the calibration status of equipment. |  |  |
| - Turn on the meter as per following the work instructions and select free or total chlorine mode as per requirement of test |  |  |
| - Add reagents in the sample and replace the cap and shake gently. |  |  |
| - Place the cuvet in to the holder in accordance with the prescribed way. |  |  |
| - Perform zero correction. |  |  |
| - Test free chlorine. |  |  |
| - Test total total chlorine measurement according to prescribed procedure. |  |  |
| - Give proper reaction time for total chlorine analysis. |  |  |
| - Analyzed three replicate for each sample and store unused reagents by relevant regulations and codes. |  |  |
| - Clean and store equipment. |  |  |
| - Analyze method blank after every 10 samples |  |  |
| - Analyze Laboratory Control samples . |  |  |
| - Record daily quality control data in QC Data sheet-I. |  |  |
| - Note down the Results on analyst workbook. |  |  |
| - Report the results on result record form with proper uncertainty and unit. |  |  |
| - Adopt precautionary measures for cuvette handling. |  |  |
| - Focus on reaction time between sample and reagent preparation. |  |  |
| - Proper procedure for sample handling is needed. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality and Resource Management Level 3 |
| --- | --- |
| Competency Standard | Testing of Turbidity by Turbidity Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform Testing of chlorine by chlorine Meter - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during result |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the sample label for the requirement of Chlorine testing and keep the sample at room temperature for few minutes. |  |  |  |  |  |
|  | Check for the availability of required reagents. |  |  |  |  |  |
|  | Identify appropriate test method, equipment and safety requirements. |  |  |  |  |  |
|  | Set up test equipment Chlorine meter and/or reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Conduct pre-use and safety checks. |  |  |  |  |  |
|  | Check the calibration status of equipment. |  |  |  |  |  |
|  | Turn on the meter as per following the work instructions and select free or total chlorine mode as per requirement of test |  |  |  |  |  |
|  | Add reagents in the sample and replace the cap and shake gently. |  |  |  |  |  |
|  | Place the cuvet in to the holder in accordance with the prescribed way. |  |  |  |  |  |
|  | Perform zero correction. |  |  |  |  |  |
|  | Test free chlorine. |  |  |  |  |  |
|  | Test total total chlorine measurement according to prescribed procedure. |  |  |  |  |  |
|  | Give proper reaction time for total chlorine analysis. |  |  |  |  |  |
|  | Analyze three replicate for each sample and store unused reagents by relevant regulations and codes. |  |  |  |  |  |
|  | Clean and store equipment. |  |  |  |  |  |
|  | Analyze method blank after every 10 samples |  |  |  |  |  |
|  | Analyze Laboratory Control sample. |  |  |  |  |  |
|  | Record daily quality control data in QC Data sheet-I. |  |  |  |  |  |
|  | Note down the Results on analyst workbook. |  |  |  |  |  |
|  | Report the results on result record form with proper uncertainty and unit. |  |  |  |  |  |
|  | Adopt precautionary measures for cuvette handling. |  |  |  |  |  |
|  | Focus on reaction time between sample and reagent preparation. |  |  |  |  |  |
|  | Proper procedure for sample handling is needed. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality and Resource Management |
| --- | --- |
| Competency Standard | Testing of Turbidity by Turbidity Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why chlorine is called a disinfectant? |  |  |
|  | Differentiate between total and free chlorine? |  |  |
|  | What does residual chlorine means? |  |  |
|  | What is chlorine dosing? |  |  |
|  | What is meant by DPD reagent? |  |  |
|  | What are the harmful effects of chlorine on human health? |  |  |
|  | What is the function of chlorinator? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________