Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chloride (Cl) by Titrimetric/Argentometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare samples for testing - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| - Minimum Evidence Required | Prepare samples for testing - Check the sample label for the requirement of testing Chlorides. - Prepare 0.0141N AgNO3 solution - Prepare 0.0141N NaCl solution - Identify appropriate test method, Glassware and safety requirements. Prepare for laboratory testing - Wash all glassware as required for analysis - Set up the burette on burette stand properly. Fill the 0.0141N AgNO3 in burette accordance with the specified work instructions. - Standardize silver nitrate with sodium chloride solution - Conduct pre-use and safety checks Perform tests on samples - Prepare sample in 100 ml beaker as per standard. - Add small amount of indicator - Titrate it against 0.0141N AgNO3 with 25ml burette of 0.05ml resolution - The burette reading is then noted when sample color changes to pinkish yellow - Calculation: mg Cl -1/L= (A – B) × N ×1000 ×35.6 ml of sample Where: A = mL titration for sample B = mL titration for blank C = Normality of AgNO3 - Analyzed Three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. Quality Control Checks - Verify AgNO3 concentration by titrating with known standards of Chlorides. - Apply quality control checks before sample analysis. Record the results/ Finalize works - Note down the Results on analyst workbook. - Calculate uncertainty of the results Adopt precautions during work - Store Silver nitrate stock solution properly. - Care should be taken during weighing of silver nitrate. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Perform Testing/Determination of Chloride (Cl) by Titrimetric/Argentometric Method |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare samples for testing - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the sample label for the requirement of testing Chlorides |  |  |
| - Prepare 0.0141N AgNO3 solution |  |  |
| - Prepare 0.0141N NaCl solution |  |  |
| - Identify appropriate test method, Glassware and safety requirements |  |  |
| - Wash all glassware as required for analysis |  |  |
| - Set up the apparatus. Fill the titrant (0.0141N AgNO3 ) in burette accordance with the specified work instructions. |  |  |
| - Standardize silver nitrate with sodium chloride solution |  |  |
| - Conduct pre-use and safety checks. |  |  |
| - Prepare sample in 100 ml beaker as per standard. |  |  |
| - Add small amount of indicator |  |  |
| - Titrate it against 0.0141N AgNO3 with 25ml burette of 0.05ml resolution |  |  |
| - The burette reading is then noted when sample color changes to pinkish yellow |  |  |
| 13.Calculation: mg Cl -1/L=(A – B) × N ×100×35.6 ml of sample Where: A = mL titration for sample B = mL titration for blank C = Normality of AgNO3 |  |  |
| - Analyzed Three replicate for each sample. |  |  |
| - Store unused reagents and dispose off wastes as required by relevant regulations and codes. |  |  |
| - Verify AgNO3 concentration by titrating with known standards of Chlorides. |  |  |
| - Apply quality control checks before sample analysis. |  |  |
| - Note down the Results on analyst workbook. |  |  |
| - Calculate uncertainty of the results |  |  |
| - Store Silver nitrate stock solution properly. |  |  |
| - Care should be taken during weighing of silver nitrate. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chloride (Cl) by Titrimetric/Argentometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare samples for testing - Prepare for laboratory testing - Perform tests on samples - Quality Control Checks - Record the results/ Finalize work - Adopt precautions during work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the sample label for the requirement of testing Chlorides. |  |  |  |  |  |
|  | Prepare 0.0141N AgNO3 solution |  |  |  |  |  |
|  | Prepare 0.0141N NaCl solution |  |  |  |  |  |
|  | Identify appropriate test method, Glassware and safety requirements. |  |  |  |  |  |
|  | Wash all glassware as required for analysis |  |  |  |  |  |
|  | Set up the apparatus. Fill the titrant (0.0141N AgNO3 ) in burette accordance with the specified work instructions. |  |  |  |  |  |
|  | Standardize silver nitrate with sodium chloride solution |  |  |  |  |  |
|  | Conduct pre-use and safety checks. |  |  |  |  |  |
|  | Prepare sample in 100 ml beaker as per standard. |  |  |  |  |  |
|  | Add small amount of indicator |  |  |  |  |  |
|  | Titrate it against 0.0141N AgNO3 with 25ml burette of 0.05ml resolution |  |  |  |  |  |
|  | The burette reading is then noted when sample color changes to pinkish yellow |  |  |  |  |  |
|  | Calculation: mg Cl -1/L=(A – B) × N ×100×35.6 ml of sample Where: A = mL titration for sample B = mL titration for blank C = Normality of AgNO3 |  |  |  |  |  |
|  | Analyzed Three replicate for each sample |  |  |  |  |  |
|  | Store unused reagents and dispose off wastes as required by relevant regulations and codes |  |  |  |  |  |
|  | Verify AgNO3 concentration is by titrating with known standards of Chlorides. |  |  |  |  |  |
|  | Apply quality control checks before sample |  |  |  |  |  |
|  | Note down the Results on analyst workbook |  |  |  |  |  |
|  | Calculate uncertainty of the results |  |  |  |  |  |
|  | Store Silver nitrate stock solution properly. |  |  |  |  |  |
|  | Care should be taken during weighing of silver nitrate. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chloride (Cl) by Titrimetric/Argentometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why is the principle of argentometric titration?explain with equation.? |  |  |
|  | Why burette reading after titrating sample for chlorides is multiplied by 24,also write down formula? |  |  |
|  | Write down standardization procedure for silver nitrate? |  |  |
|  | How potassium chromate is prepared? |  |  |
|  | How many grams of sodium chloride is required to prepare 0.0141N NaCl Solution per litre? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________