Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Module | Water Testing Analyst (Microbiological) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): - Prepare to undertake basic microbiological tests i.e Total plate count and IDEXX method - Perform recommended method for Total Plate Count - Perform recommended method for IDFEXX Method - Maintain Environment and Quality Control |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Prepare to undertake basic microbiological tests i.e. Total Plate Count and IDEXX Method - Collect samples for microbiological examination according to standard protocols. - Collect sample in clean, sterile, non reactive borosilicate glass or plastic bottle. - Ensure volume of water sample is appropriate for test. - Leave ample air space in the bottle at least 2.5 cm to facilitate mixing by shaking before examination. Perform recommended method for Total Plate Count - Prepare recommended media (Plate count agar) by weighing the amount as per instruction using calibrated analytical balance. - Prepare dilutions for polluted water samples. - Pour recommended volume of water sample to be tested into petri plate using auto-pipette by pour plate method. - Pour media into plates, shake well, and allow solidifying and incubating at the recommended temperature for 48 hours. - Count bacterial colonies after incubation and report as CFU/ml as per standards. Perform recommended method for IDFEXX Method - Perform Colilert IDEXX quanti tray method for the detection of Total Coliforms and E-coli following standard protocols. - Use commercially available media for detection of coliforms & E-coli following Colilert IDEXX quanti tray method. - Add recommended volume of water sample in sterile mixing bottle and one package of the colilert reagent. - Transfer sample/reagent mixture from the mixing bottle into a quanti-tray. - Seal tray in IDEXX sealer, label tray on the back with sample code, date and time. - Incubate tray at the temperature set by the standard. - Count the number of small and large positive wells and report results using IDEXX MPN table to find the most probable number for Total Coliform. - Obtain E. coli results by placing the wells under a black light and counting the number of fluorescent wells. Maintain Environment and Quality Control - Use controls i.e. positive and negative controls along with the tests as per standards. - Clean and disinfect area - Dispose contaminated waste properly in accordance with the standards. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Module | Water Testing Analyst (Microbiological) |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Prepare to undertake basic microbiological tests i.e Total plate count and IDEXX method - Perform recommended method for Total Plate Count - Perform recommended method for IDFEXX Method - Maintain Environment and Quality Control |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Collect samples for microbiological examination according to standard protocols. |  |  |
| - Collect sample in clean, sterile, non reactive borosilicate glass or plastic bottle. |  |  |
| - Ensure volume of water sample is appropriate for test. |  |  |
| - Leave ample air space in the bottle at least 2.5 cm to facilitate mixing by shaking before examination. |  |  |
| - Prepare recommended media (Plate count agar) by weighing the amount as per instruction using calibrated analytical balance. |  |  |
| - Prepare dilutions for polluted water samples. |  |  |
| - Pour recommended volume of water sample to be tested into petri plate using auto-pipette by pour plate method. |  |  |
| - Pour media into plates, shake well, and allow solidifying and incubating at the recommended temperature for 48 hours. |  |  |
| - Count bacterial colonies after incubation and report as CFU/ml as per standards. |  |  |
| - Perform Colilert IDEXX quanti tray method for the detection of Total Coliforms and E-coli following standard protocols. |  |  |
| - Use commercially available media for detection of coliforms & E-coli following Colilert IDEXX quanti tray method. |  |  |
| - Add recommended volume of water sample in sterile mixing bottle and one package of the colilert reagent. |  |  |
| - Transfer sample/reagent mixture from the mixing bottle into a quanti-tray. |  |  |
| - Seal tray in IDEXX sealer, label tray on the back with sample code, date and time. |  |  |
| - Incubate tray at the temperature set by the standard. |  |  |
| - Count the number of small and large positive wells and report results using IDEXX MPN table to find the most probable number for Total Coliform. |  |  |
| - Obtain E. coli results by placing the wells under a black light and counting the number of fluorescent wells. |  |  |
| - Use controls i.e. positive and negative controls along with the tests as per standards. |  |  |
| - Clean and disinfect area |  |  |
| - Dispose contaminated waste properly in accordance with the standards. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Module | Water Testing Analyst (Microbiological) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare to undertake basic microbiological tests i.e Total plate count and IDEXX method - Perform recommended method for Total Plate Count - Perform recommended method for IDFEXX Method - Maintain Environment and Quality Control |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Collect samples for microbiological examination according to standard protocols. |  |  |  |  |  |
|  | Collect sample in clean, sterile, non reactive borosilicate glass or plastic bottle. |  |  |  |  |  |
|  | Ensure volume of water sample is appropriate for test. |  |  |  |  |  |
|  | Leave ample air space in the bottle at least 2.5 cm to facilitate mixing by shaking before examination. |  |  |  |  |  |
|  | Prepare recommended media (Plate count agar) by weighing the amount as per instruction using calibrated analytical balance. |  |  |  |  |  |
|  | Prepare dilutions for polluted water samples. |  |  |  |  |  |
|  | Pour recommended volume of water sample to be tested into petri plate using auto-pipette by pour plate method. |  |  |  |  |  |
|  | Pour media into plates, shake well, and allow solidifying and incubating at the recommended temperature for 48 hours. |  |  |  |  |  |
|  | Count bacterial colonies after incubation and report as CFU/ml as per standards. |  |  |  |  |  |
|  | Perform Colilert IDEXX quanti tray method for the detection of Total Coliforms and E-coli following standard protocols. |  |  |  |  |  |
|  | Use commercially available media for detection of coliforms & E-coli following Colilert IDEXX quanti tray method. |  |  |  |  |  |
|  | Add recommended volume of water sample in sterile mixing bottle and one package of the colilert reagent. |  |  |  |  |  |
|  | Transfer sample/reagent mixture from the mixing bottle into a quanti-tray. |  |  |  |  |  |
|  | Seal tray in IDEXX sealer, label tray on the back with sample code, date and time. |  |  |  |  |  |
|  | Incubate tray at the temperature set by the standard. |  |  |  |  |  |
|  | Count the number of small and large positive wells and report results using IDEXX MPN table to find the most probable number for Total Coliform. |  |  |  |  |  |
|  | Obtain E. coli results by placing the wells under a black light and counting the number of fluorescent wells. |  |  |  |  |  |
|  | Use controls i.e. positive and negative controls along with the tests as per standards. |  |  |  |  |  |
|  | Clean and disinfect area |  |  |  |  |  |
|  | Dispose contaminated waste properly in accordance with the standards. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Module | Water Testing Analyst (Microbiological) |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain the basic principle of IDEXX Colilert method? |  |  |
|  | Enlist different steps of IDEXX method? |  |  |
|  | How the results of IDEXX method are recorded for Coliforms and E-coli. |  |  |
|  | Define pour plate method? |  |  |
|  | What is dilution and why dilutions are prepared? |  |  |
|  | What is the recommended temperature for TPC? |  |  |
|  | How the results of IDEXX Colilert method is recorded and reported? |  |  |
|  | How the results of TPC are recorded? |  |  |
|  | Explain the advantages of IDEXX Colilert method? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________