Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Method Blank |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare Method Blank Sample - Analyse Method Blank - Perform the Evaluation |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Prepare Method Blank Sample - Prepare method blank from reagent water and all reagents that normally are in contact with the sample during the entire analytical procedure - Take the De-ionized water and add all the reagents which are used in the sample preparation Analyse Method Blank - Analyse Method blank with every analytical batch in order to determine the contribution of reagents and the preparative analytical steps to error in the measurement. - Set the instrument according to equipment instructions - Take an analyse free sample through the analysis using the same reagents, glassware, and instrumentation - Analyse the method blank sample on the instrument at the start of the sample analysis and also at different intervals. Perform the Evaluation - Evaluates The method blank results for the presence of contamination. - In case of unacceptable contamination present in the method blank, Identify the sources of contaminations and take corrective actions. - Re-prepared and re-analysed the sample as the results is suspected if analyse in the method blank is greater than Method Detection Limit |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Analyze Method Blank |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare Method Blank Sample - Analyse Method Blank - Perform the Evaluation |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare method blank from reagent water and all reagents that normally are in contact with the sample during the entire analytical procedure |  |  |
| - Take the De-ionized water and add all the reagents which are used in the sample preparation |  |  |
| - Analyse Method blank with every analytical batch in order to determine the contribution of reagents and the preparative analytical steps to error in the measurement. |  |  |
| - Set the instrument according to equipment instructions |  |  |
| - Take an analyse free sample through the analysis using the same reagents, glassware, and instrumentation |  |  |
| - Analyse the method blank sample on the instrument at the start of the sample analysis and also at different intervals. |  |  |
| - Evaluates The method blank results for the presence of contamination. |  |  |
| - In case of unacceptable contamination present in the method blank, Identify the sources of contaminations and take corrective actions. |  |  |
| - Re-prepared and re-analysed the sample as the results is suspected if analyse in the method blank is greater than Method Detection Limit. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Method Blank |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Method Blank Sample - Analyse Method Blank - Perform the Evaluation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare method blank from reagent water and all reagents that normally are in contact with the sample during the entire analytical procedure |  |  |  |  |  |
|  | Take the De-ionized water and add all the reagents which are used in the sample preparation |  |  |  |  |  |
|  | Analyse Method blank with every analytical batch in order to determine the contribution of reagents and the preparative analytical steps to error in the measurement. |  |  |  |  |  |
|  | Set the instrument according to equipment instructions |  |  |  |  |  |
|  | Take an analyse free sample through the analysis using the same reagents, glassware, and instrumentation |  |  |  |  |  |
|  | Analyse the method blank sample on the instrument at the start of the sample analysis and also at different intervals. |  |  |  |  |  |
|  | Evaluates The method blank results for the presence of contamination. |  |  |  |  |  |
|  | In case of unacceptable contamination present in the method blank, Identify the sources of contaminations and take corrective actions. |  |  |  |  |  |
|  | Re-prepared and re-analysed the sample as the results is suspected if analyse in the method blank is greater than Method Detection Limit. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Method Blank |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the basis role of analyzing Method Blank? |  |  |
|  | Write the specific procedure for preparation of the method blank Sample? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________