Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Calibration and Calibration Verification |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform instrument calibration - Perform initial calibration (IC) - Perform Continued calibration verification (ccv) |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Perform instrument calibration - Prepare the standard solutions - Perform instrument calibration by the use of reference standards or in-house standards. - Performs instruments calibration according to manufacturer instructions Perform initial calibration (IC) - Perform initial calibration with in-house standards or standard solutions made from the certified reference materials at levels appropriate for the analysis. - Prepare stock standard solution - Prepare minimum three desired standards solution at levels appropriate for the analysis or calibration range - Set the instrument according to equipment instructions - Analyse these standards solutions on the instrument to generate the standard curve. Perform Continued calibration verification (ccv) - Perform Continued calibration verification (ccv) at specified intervals throughout the analytical sequence. - Verified the calibration again through the analysis of independently prepared standard solutions - Also used the pre analysed sample for calibration verification. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Perform Calibration and Calibration Verification |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform instrument calibration - Perform initial calibration (IC) - Perform Continued calibration verification (ccv). |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare the standard solutions |  |  |
| - Perform instrument calibration by the use of reference standards or in-house standards. |  |  |
| - Performs instruments calibration according to manufacturer instructions |  |  |
| - Perform initial calibration with in-house standards or standard solutions made from the certified reference materials at levels appropriate for the analysis. |  |  |
| - Prepare stock standard solution |  |  |
| - Prepare minimum three desired standards solution at levels appropriate for the analysis or calibration range. |  |  |
| - Set the instrument according to equipment instructions. |  |  |
| - Analyse these standards solutions on the instrument to generate the standard curve. |  |  |
| - Perform Continued calibration verification (ccv) at specified intervals throughout the analytical sequence. |  |  |
| - Verified the calibration again through the analysis of independently prepared standard solutions |  |  |
| - Also used the pre analysed sample for calibration verification. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Calibration and Calibration Verification |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform instrument calibration - Perform initial calibration (IC) - Perform Continued calibration verification (ccv). |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare the standard solutions |  |  |  |  |  |
|  | Perform instrument calibration by the use of reference standards or in-house standards. |  |  |  |  |  |
|  | Performs instruments calibration according to manufacturer instructions |  |  |  |  |  |
|  | Perform initial calibration with in-house standards or standard solutions made from the certified reference materials at levels appropriate for the analysis. |  |  |  |  |  |
|  | Prepare stock standard solution |  |  |  |  |  |
|  | Prepare minimum three desired standards solution at levels appropriate for the analysis or calibration range. |  |  |  |  |  |
|  | Set the instrument according to equipment instructions. |  |  |  |  |  |
|  | Analyse these standards solutions on the instrument to generate the standard curve. |  |  |  |  |  |
|  | Perform Continued calibration verification (ccv) at specified intervals throughout the analytical sequence. |  |  |  |  |  |
|  | Verified the calibration again through the analysis of independently prepared standard solutions |  |  |  |  |  |
|  | Also used the pre analysed sample for calibration verification. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Calibration and Calibration Verification |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Calibration and its purpose? |  |  |
|  | Name the two method of Calibration? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________