Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Laboratory Control Samples (LCS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare the laboratory control sample - Analyse the Lab Control Sample - Corrective Actions |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Prepare the laboratory control sample - Prepare the laboratory control sample from solution of Certified Reference Material in de-ionized water as per standards. - Prepare first Stock solution from certified standards - Prepare then sub stock standard of desired concentration. - Use fallowing dilution formula for preparation of stock and sub stock standards C1V1 = C2V2 Where C1= initial concentration V1=Volume required C2=concentration required V2=final volume - Use all glassware of Type-A, - Use calibrated autopipette Analyse the Lab Control Sample - Analyse the Lab Control in each batch after every 10 samples. - Plot the result on control chart - If the result of the Lab Control Sample with the limits of control chart go for analysis - If the result of the Lab Control Sample exceeds the limits of control chart take corrective actions. Corrective Actions - Perform Continued calibration verification (ccv) at specified intervals throughout the analytical sequence. - Verified the calibration again through the analysis of independently prepared standard solutions - Also used the pre analysed sample for calibration verification. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Analyze Laboratory Control Samples (LCS) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare the laboratory control sample - Analyse the Lab Control Sample - Corrective Actions |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare the laboratory control sample from solution of Certified Reference Material in de-ionized water as per standards. |  |  |
| - Prepare first Stock solution from certified standards |  |  |
| - Prepare then sub stock standard of desired concentration. |  |  |
| - Use all glassware of Type-A, |  |  |
| - Use calibrated autopipette |  |  |
| - Analyse the Lab Control in each batch after every 10 samples. |  |  |
| - Plot the result on control chart |  |  |
| - If the result of the Lab Control Sample with the limits of control chart go for analysis |  |  |
| - If the result of the Lab Control Sample exceeds the limits of control chart take corrective actions |  |  |
| - Check to see if the LCS was prepared and analysed according to the method. |  |  |
| - Also used the pre analysed sample for calibration verification. |  |  |
| - Check calibration of the instrument |  |  |
| - Recalibrate and reanalyse LCS and samples |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Laboratory Control Samples (LCS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare the laboratory control sample - Analyse the Lab Control Sample - Corrective Actions |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare the laboratory control sample from solution of Certified Reference Material in de-ionized water as per standards. |  |  |  |  |  |
|  | Prepare first Stock solution from certified standards |  |  |  |  |  |
|  | Prepare then sub stock standard of desired concentration. |  |  |  |  |  |
|  | Use all glassware of Type-A, |  |  |  |  |  |
|  | Use calibrated autopipette |  |  |  |  |  |
|  | Analyse the Lab Control in each batch after every 10 samples. |  |  |  |  |  |
|  | Plot the result on control chart |  |  |  |  |  |
|  | If the result of the Lab Control Sample with the limits of control chart go for analysis |  |  |  |  |  |
|  | If the result of the Lab Control Sample exceeds the limits of control chart take corrective actions |  |  |  |  |  |
|  | Check to see if the LCS was prepared and analysed according to the method. |  |  |  |  |  |
|  | Also used the pre analysed sample for calibration verification. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Laboratory Control Samples (LCS) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Write the basic principle of analyzing the lab control sample? |  |  |
|  | Describe the procedure for preparation of sample for Lab control? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________