Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Audit Blind Sample |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare Audit Blind Sample - Analyse the Audit Blind Sample Sample - Evaluation of the Audit Blind Sample results |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Prepare Audit Blind Sample - Prepare the Audit blind sample for performance evaluation of lab analysts. - Prepare lab control sample of the desired parametersas fallowing - Prepare the stock standard solution from the certified reference material. - Prepare the desired concentration of the desired parameters from stock solution Analyse the Audit Blind Sample Sample - Set the instrument according to equipment instructions. - Analyse the laboratory control sample as per standard method. - The laboratory analyst analyse the LCS sample and submits the results. Evaluation of the Audit Blind Sample results - Calculate per cent recoveries for each parameter. - The per cent recovery is calculated as: Recovery (%) =found value x 100 True value - Evaluatethe results of LCS “SATISFACTORY” (if found in the acceptance range) and “UNSATISFACTORY”. (if not found in the acceptance range) |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Analyze Audit Blind Sample |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare Audit Blind Sample - Analyse the Audit Blind Sample Sample - Evaluation of the Audit Blind Sample results |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare the Audit blind sample for performance evaluation of lab analysts. |  |  |
| - Prepare lab control sample of the desired parameters as fallowing |  |  |
| - Prepare the stock standard solution from the certified reference material. |  |  |
| - Prepare the desired concentration of the desired parameters from stock solution |  |  |
| - Set the instrument according to equipment instructions. |  |  |
| - Analyse the laboratory control sample as per standard method. |  |  |
| - The laboratory analyst analyse the LCS sample and submits the results. |  |  |
| - Calculate per cent recoveries for each parameter. |  |  |
| - Evaluatethe results of LCS “SATISFACTORY” (if found in the acceptance range) and “UNSATISFACTORY”. (if not found in the acceptance range) |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Audit Blind Sample |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Audit Blind Sample - Analyse the Audit Blind Sample Sample - Evaluation of the Audit Blind Sample results |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare the Audit blind sample for performance evaluation of lab analysts. |  |  |  |  |  |
|  | Prepare lab control sample of the desired parametersas fallowing |  |  |  |  |  |
|  | Prepare the stock standard solution from the certified reference material. |  |  |  |  |  |
|  | Prepare the desired concentration of the desired parameters from stock solution |  |  |  |  |  |
|  | Set the instrument according to equipment instructions. |  |  |  |  |  |
|  | Analyse the laboratory control sample as per standard method. |  |  |  |  |  |
|  | The laboratory analyst analyse the LCS sample and submits the results. |  |  |  |  |  |
|  | Calculate per cent recoveries for each parameter. |  |  |  |  |  |
|  | Evaluatethe results of LCS “SATISFACTORY” (if found in the acceptance range) and “UNSATISFACTORY”. (if not found in the acceptance range) |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Analyze Audit Blind Sample |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the basic purpose of Audit blind Sample? |  |  |
|  | Write the method of evaluation for Audit blind Sample? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________