Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Correctness of Results |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Analyse the Sample - Perform Anion- cation balance - Check the measure EC and ions sum - Check Measured TDS to EC ratio |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Analyse the Sample - Analyse the sample for pH, Electrical conductivity and total Dissolved solids - Analyse the sample for major Anions and Cations. - Calculate the TDS by sum of the concentration of all the constituents in mg/l - Calculate the electrical conductivity as per the standard method. Perform Anion- cation balance - Perform the anion-cation balance by the following formula: % difference=100x∑Cations-∑Anions ∑Cations + ∑Anions - The anion-cation sum expressed as milliequilent per litter must balance The acceptance criteria is as fallows Anion Sum (meq/L) Acceptable difference 0-3.0 + 0.2meq/L 3.0-10.0 + 0.2% 10.0-800 + 5% Check the measure EC and ions sum - Measure the electrical conductivity of the sample - sum the anions and cations - Both the anions and cations sum should be approximately 1/100 of the measured EC value - If either sum does not meet this criteria, re analyse the sample - P5. The acceptance criteria is as fallows 100xanions(or cations) sum, meq/L= (0.9 – 1.1) EC Check Measured TDS to EC ratio - Measure the electrical conductivity of the sample - Measure the TDS of the sample - Calculate the ratio of the TDS and EC as Measured TDS/conductivity= 0.55 – 0.7 - The measured TDS to EC ratio should be between 0.55 and 0.7 - If it is outside these limits thee either measured TDS or measure conductivity is suspect; reanalyse the sample |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Perform Correctness of Results |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Analyse the Sample - Perform Anion- cation balance - Check the measure EC and ions sum - Check Measured TDS to EC ratio |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyse the sample for pH, Electrical conductivity and total Dissolved solids. |  |  |
| - Analyse the sample for major Anions and Cations. |  |  |
| - Calculate the TDS by sum of the concentration of all the constituents in mg/l |  |  |
| - Calculate the electrical conductivity as per the standard method. |  |  |
| - Measure the electrical conductivity of the sample |  |  |
| - sum the anions and cations |  |  |
| - Both the anions and cations sum should be approximately 1/100 of the measured EC value |  |  |
| - If either sum does not meet this criterion, re analyse the sample |  |  |
| - Measure the electrical conductivity of the sample |  |  |
| - Measure the TDS of the sample |  |  |
| - The measured TDS to EC ratio should be between 0.55 and 0.7 |  |  |
| - If it is outside these limits thee either measured TDS or measure conductivity is suspect; reanalyse the sample |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Correctness of Results |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Analyse the Sample - Perform Anion- cation balance - Check the measure EC and ions sum - Check Measured TDS to EC ratio |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyse the sample for pH, Electrical conductivity and total Dissolved solids. |  |  |  |  |  |
|  | Analyse the sample for major Anions and Cations. |  |  |  |  |  |
|  | Calculate the TDS by sum of the concentration of all the constituents in mg/l |  |  |  |  |  |
|  | Calculate the electrical conductivity as per the standard method. |  |  |  |  |  |
|  | Measure the electrical conductivity of the sample |  |  |  |  |  |
|  | sum the anions and cations |  |  |  |  |  |
|  | Both the anions and cations sum should be approximately 1/100 of the measured EC value |  |  |  |  |  |
|  | If either sum does not meet this criterion, re analyse the sample |  |  |  |  |  |
|  | Measure the electrical conductivity of the sample |  |  |  |  |  |
|  | Measure the TDS of the sample |  |  |  |  |  |
|  | The measured TDS to EC ratio should be between 0.55 and 0.7 |  |  |  |  |  |
|  | If it is outside these limits thee either measured TDS or measure conductivity is suspect; reanalyse the sample |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Perform Correctness of Results |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Calculate the anion cation balance through formula? |  |  |
|  | How to Calculate TDS of any Sample through formula? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________