Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Determine the Method Detection Limits |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare Standard Solutions - Analyse the Standard Solution and Calculate the Method Detection Limit - Evaluate the MDL results |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Prepare Standard Solutions - In order to calculate MDL prepare solution of concentration approximately four times the estimated limit. - Prepare standard stock solution - Prepare desired standard concentration solution from the stock solution. Analyse the Standard Solution and Calculate the Method Detection Limit - Set the instrument according to equipment instructions - Analyse the prepared solution 10 times over the course of several days. - Calculate the standard deviation by the usual method. - Calculate the MDL by substituting standard deviation in the following equation: Method Detection Limit (MDL) = t value x Std. deviation Where t = degree of freedom (n-1) Evaluate the MDL results - If the MDL is much higher than the estimated detection limit, it may indicate problems with the procedure or with the analytical equipment, improperly made reagents and expiration dates for chemicals. - Reprepare all the standards - Re analyse the standard and calculate the method detection limit. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| Competency Standard | Determine the Method Detection Limits |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare Standard Solutions - Analyse the Standard Solution and Calculate the Method Detection Limit - Evaluate the MDL results |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - In order to calculate MDL prepare solution of concentration approximately four times the estimated limit. |  |  |
| - Prepare standard stock solution |  |  |
| - Prepare desired standard concentration solution from the stock solution. |  |  |
| - Set the instrument according to equipment instructions |  |  |
| - Analyse the prepared solution 10 times over the course of several days. |  |  |
| - Calculate the standard deviation by the usual method. |  |  |
| - Calculate the MDL by substituting standard deviation in the following equation: Method Detection Limit (MDL) = t value x Std. deviation Where t = degree of freedom (n-1) |  |  |
| - If the MDL is much higher than the estimated detection limit, it may indicate problems with the procedure or with the analytical equipment, improperly made reagents and expiration dates for chemicals. |  |  |
| - Reprepare all the standards |  |  |
| - Re analyse the standard and calculate the method detection limit. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Determine the Method Detection Limits |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Standard Solutions - Analyse the Standard Solution and Calculate the Method Detection Limit - Evaluate the MDL results |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | In order to calculate MDL prepare solution of concentration approximately four times the estimated limit. |  |  |  |  |  |
|  | Prepare standard stock solution |  |  |  |  |  |
|  | Prepare desired standard concentration solution from the stock solution. |  |  |  |  |  |
|  | Set the instrument according to equipment instructions |  |  |  |  |  |
|  | Analyse the prepared solution 10 times over the course of several days. |  |  |  |  |  |
|  | Calculate the standard deviation by the usual method. |  |  |  |  |  |
|  | Calculate the MDL by substituting standard deviation in the following equation: Method Detection Limit (MDL) = t value x Std. deviation Where t = degree of freedom (n-1) |  |  |  |  |  |
|  | If the MDL is much higher than the estimated detection limit, it may indicate problems with the procedure or with the analytical equipment, improperly made reagents and expiration dates for chemicals. |  |  |  |  |  |
|  | Reprepare all the standards |  |  |  |  |  |
|  | Re analyse the standard and calculate the method detection limit. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 in “Water Quality and Resource Management” (Lab Analyst) |
| --- | --- |
| Competency Standard | Determine the Method Detection Limits |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the minimum concentration required for calculating MDL |  |  |
|  | Write the formula of MDL calculation? |  |  |
|  | How many times the desired concentration is required to be analyzed for calculating MDL? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________