## Water Supply Scheme (Urban & Rural) (Surface & Ground Water)

### Develop Water Supply Scheme (Rural and Urban)

Overview: This unit describes the skills and knowledge required to understand various components of surface water based water supply scheme.

| Unit of Competency | Performance Criteria |
| --- | --- |
| Develop ground surface levels and layout plan | Prepare layout plan Find out surface levels using dumpy level and GPS |
| Differentiate types of water supply systems | Study and recognize different types of water supply systems Recognize components of water supply systems Recognize components of surface water treatment plants |
| Demonstrate basic hydraulics of water supply systems | Demonstrate basic concepts of hydraulics Carryout basic calculations |

Knowledge and understanding

- Basic knowledge of hydrology and groundwater resource

- Basic knowledge of soil types

- Basic knowledge of water testing

- Basic knowledge of groundwater quantity

- Basic knowledge of groundwater monitoring mechanism

- Basic knowledge of methods of groundwater investigation

- Basic knowledge of Ohm law and its application

- Basic knowledge of operational working of terameter instrument

- Basic knowledge of resistivity data acquisition and interpretation

- Basic knowledge of groundwater development and tubewell design

Tools & Equipment

  - EC/pH meter

  - Water level indicator

  - Augar

  - Soil sampling kit

  - Sieve analysis

  - Terameter with all accessories

  - Software