Instruction Sheet for the Candidate

| Qualification | Water Quality and resource management Level-5 |
| --- | --- |
| Competency Standard | CS- 93 Estimate demand for Water Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Evaluate demand of water supply. - Identify Water Layout Standards - Identify Rate of Demand for water - Optimizing water supply network |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Evaluate demand of water supply. - Identify amount of water. - Calculate number of people - Identify people habits. - Calculate per capita consumption. - Check temperature. - Identify Losses - Identify quality & quantity of water - Identify rate of water supply Identify Water Layout Standards - Calculate quantity of water - Identify number of hydrants - Suggest Spacing between Hydrants - Select supply of water by (gravity / pumping) - Suggest spacing between main line valves - Check flushing and maintenance procedures - Identify Standard Construction Specification Identify Rate of Demand for water - Identify Seasonal variation - Calculate daily variation - Identify hourly variation Optimizing water supply network - Identify Single-objective optimization - Identify Multi-objective optimization - Identify Sensitivity analysis - Check Operational constraints |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality and resource management |
| Competency Standard | CS- 93 Estimate demand for Water Supply |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Evaluate demand of water supply. - Identify Water Layout Standards - Identify Rate of Demand for water - Optimizing water supply network |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify amount of water |  |  |
| - Calculate number of people |  |  |
| - Identify people habits. |  |  |
| - Calculate per capita consumption |  |  |
| - Check temperature |  |  |
| - Identify Losses |  |  |
| - Identify quality & quantity of water |  |  |
| - Identify rate of water supply |  |  |
| - Calculate quantity of water |  |  |
| - Identify number of hydrants |  |  |
| - Select supply of water by (gravity / pumping) |  |  |
| - Suggest spacing between main line valves |  |  |
| - Check flushing and maintenance procedures |  |  |
| - Identify Standard Construction Specification |  |  |
| - Identify Seasonal variation |  |  |
| - Calculate daily variation |  |  |
| - Identify hourly variation |  |  |
| - Identify Single-objective optimization |  |  |
| - Identify Multi-objective optimization |  |  |
| - Identify Sensitivity analysis |  |  |
| - Check Operational constraints |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality and resource management |
| --- | --- |
| Competency Standard | CS- 93 Estimate demand for Water Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Evaluate demand of water supply. - Identify Water Layout Standards - Identify Rate of Demand for water - Optimizing water supply network |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify amount of water |  |  |  |  |  |
|  | Calculate number of people |  |  |  |  |  |
|  | Identify people habits. |  |  |  |  |  |
|  | Calculate per capita consumption |  |  |  |  |  |
|  | Check temperature |  |  |  |  |  |
|  | Identify Losses |  |  |  |  |  |
|  | Identify quality & quantity of water |  |  |  |  |  |
|  | Identify rate of water supply |  |  |  |  |  |
|  | Calculate quantity of water |  |  |  |  |  |
|  | Identify number of hydrants |  |  |  |  |  |
|  | Select supply of water by (gravity / pumping) |  |  |  |  |  |
|  | Suggest spacing between main line valves |  |  |  |  |  |
|  | Check flushing and maintenance procedures |  |  |  |  |  |
|  | Identify Standard Construction Specification |  |  |  |  |  |
|  | Identify Seasonal variation |  |  |  |  |  |
|  | Calculate daily variation |  |  |  |  |  |
|  | Identify hourly variation |  |  |  |  |  |
|  | Identify Single-objective optimization |  |  |  |  |  |
|  | Identify Multi-objective optimization |  |  |  |  |  |
|  | Identify Sensitivity analysis |  |  |  |  |  |
|  | Check Operational constraints |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality and resource management |
| --- | --- |
| Competency Standard | CS- 93 Estimate demand for Water Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How would you calculate tentative water demand for a population of 300? |  |  |
|  | What is the consumption of water per person? |  |  |
|  | What is design period of a water supply ? |  |  |
|  | List types of distribution system? |  |  |
|  | Which are the maximum demand hours in a day? |  |  |
|  | Perform a UPVC pipe joint by solvent solution? |  |  |
|  | What provision is made to maintain line pressure upto tail end of a distribution system? |  |  |
|  | Convert 3 cubic meter of water into meters? |  |  |
|  | Calculate the dimensions of a rectangular water tank required (L=2W), for a house having 4 persons @ 135 LPCD (Liters per capita per day)? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________