Instruction Sheet for the Candidate

| Qualification | Water Quality and resource management |
| --- | --- |
| Competency Standard | # CS-98 Plan water distribution system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Interpret water distribution system - Interpret layout for water distribution network - Interpret layout for water Storage Reservoir - Interpret storage capacity of Reservoir - Accumulate Hydraulic model |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Interpret Layout of water distribution system - Identify safety requirements for installation - Identify Gravity system - Identify Pumping system - Identify partly gravity & pumping system Interpret layout for water distribution network - Mark out distribution network points - Identify dead end system - Identify Radial system - Identify Ring System - Identify Grid Iron System Interpret layout for water Storage Reservoir - Mark out place for reservoir - Identify surface reservoir - Identify elevated reservoir - Monitor difference in working both reservoir - Perform cleaning / repair process for reservoir Interpret storage capacity of Reservoir - Identify quantity of water for reservoir - Identify balancing storage - Identify breakdown storage - Calculate Fire demand storage - Identify dead storage Accumulate Hydraulic model - Evaluate methodology of distribution system - Develop pipe networks into sub networks - Recognize Data - Prepare hydraulic model - Analyze Results |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality and resource management |
| Competency Standard | CS-98 Plan water distribution system |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Interpret water distribution system - Interpret layout for water distribution network - Interpret layout for water Storage Reservoir - Interpret storage capacity of Reservoir - Accumulate Hydraulic model |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify safety requirements for installation |  |  |
| - Identify Gravity system |  |  |
| - Identify Pumping system |  |  |
| - Identify partly gravity & pumping system |  |  |
| - Mark out distribution network points |  |  |
| - Identify dead end system |  |  |
| - Identify Radial syste |  |  |
| - Identify Ring System |  |  |
| - Identify Grid Iron System |  |  |
| - Mark out place for reservoir |  |  |
| - Identify surface reservoir |  |  |
| - Identify elevated reservoir |  |  |
| - Monitor difference in working both reservoir |  |  |
| - Perform cleaning / repair process for reservoir |  |  |
| - Identify quantity of water for reservoir |  |  |
| - Identify balancing storage |  |  |
| - Identify breakdown storage |  |  |
| - Calculate Fire demand storage |  |  |
| - Identify dead storage |  |  |
| - Evaluate methodology of distribution system |  |  |
| - Develop pipe networks into sub networks |  |  |
| - Recognize Data |  |  |
| - Prepare hydraulic model |  |  |
| - Analyze Results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality and resource management |
| --- | --- |
| Competency Standard | CS-98 Plan water distribution system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret water distribution system - Interpret layout for water distribution network - Interpret layout for water Storage Reservoir - Interpret storage capacity of Reservoir - Accumulate Hydraulic model |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify safety requirements for installation |  |  |  |  |  |
|  | Identify Gravity system |  |  |  |  |  |
|  | Identify Pumping system |  |  |  |  |  |
|  | Identify partly gravity & pumping system |  |  |  |  |  |
|  | Mark out distribution network points |  |  |  |  |  |
|  | Identify dead end system |  |  |  |  |  |
|  | Identify Radial system |  |  |  |  |  |
|  | Identify Ring System |  |  |  |  |  |
|  | Identify Grid Iron System |  |  |  |  |  |
|  | Mark out place for reservoir |  |  |  |  |  |
|  | Identify surface reservoir |  |  |  |  |  |
|  | Identify elevated reservoir |  |  |  |  |  |
|  | Monitor difference in working both reservoir |  |  |  |  |  |
|  | Perform cleaning / repair process for reservoir |  |  |  |  |  |
|  | Identify quantity of water for reservoir |  |  |  |  |  |
|  | Identify balancing storage |  |  |  |  |  |
|  | Identify breakdown storage |  |  |  |  |  |
|  | Calculate Fire demand storage |  |  |  |  |  |
|  | Identify dead storage |  |  |  |  |  |
|  | Evaluate methodology of distribution system |  |  |  |  |  |
|  | Develop pipe networks into sub networks |  |  |  |  |  |
|  | Recognize Data |  |  |  |  |  |
|  | Prepare hydraulic model |  |  |  |  |  |
|  | Analyze Results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality and resource management |
| --- | --- |
| Competency Standard | CS-98 Plan water distribution system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define trenching and back filling? |  |  |
|  | What is dead end distribution system? Elaborate your answer with a sketch. |  |  |
|  | What is redial distribution system? Elaborate your answer with a sketch? |  |  |
|  | What is grid iron distribution system? Elaborate your answer with a sketch? |  |  |
|  | Define surface storage reservoir? |  |  |
|  | Define elevated storage reservoir? |  |  |
| 7. | Describe the use of tee, elbow and unions and their uses in distribution system? |  |  |
| 8. | Define hydraulics? |  |  |
| 9. | Name some hydraulic parameters of distribution system? (Any three) |  |  |
| 10. | What do you know about breakdown storage? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________