Instruction Sheet for the Candidate

| Qualification | National Diploma in Water Quality & Resource Management-Level-5 |
| --- | --- |
| Competency Standard | Determination of Nitrate (N) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, Prepare samples and stock solution for testing - Identify appropriate test method, Glassware, equipment and safety requirements - Enlist the chemicals and standards involved in analysis. - Maintain the temperature of sample and working environment before analysis. - Prepare Zero solution of Sodium Sulfite Prepare Equipment/Apparatus for testing - Set up test equipment and/or reagents in accordance with the specified work instructions. - Verify the electrode calibration of DO Meter or re-Calibrate it in case of result fluctuation Perform tests on samples as per SOPs - Demonstrate the measurement of DO as per work instruction - Conduct the analysis in proper reagent bottle in order to avoid result fluctuation - Analyze three replicate for each sample - Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace Clean and store equipment. Perform Quality Control Checks - Write down frequency of method blank during batch analysis. - Analyze the lab Control sample of known concentration - check repeatability by reanalyzing a pre-analyzed sample - Record the results/ Finalize the work - Calculate the concentration of sample from measured absorbance by using appropriate equation - Record the and report the results with proper units and uncertainty - Clear and restore work area. Adopt the precautions during testing work - Wash the reaction cell properly before analysis - Apply special correction and standard adjust features to eliminate variation of reagents - Prevent interferences from hydroxide or carbonate concentrations by acidification with 1N HCL - Practice another method in case of correction factor more than 10% |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Management Technology Level-5 |
| Competency Standard | CS24 Determination of Nitrate (N) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Enlist the chemicals and standards involved in analysis. |  |  |
| - Maintain the temperature of sample and working environment before analysis. - Wash the Glassware as per mentioned procedure |  |  |
| - Prepare 1000 ppm Nitrate Stock solution and other required working standards from stock. |  |  |
| - Set up test equipment Spectrophotometer and/or reagents in accordance with the specified work instructions. |  |  |
| - Verify the calibration of equipment or re-Calibrate it. |  |  |
| - Prepare sample for analysis as SOPs |  |  |
| - Identify the wavelength for analysis and organic interferences |  |  |
| - Demonstrate the method for determination of Nitrate |  |  |
| - Write down frequency of method blank during batch analysis |  |  |
| - Analyze the lab Control sample of known concentration |  |  |
| - check repeatability by reanalyzing a pre-analyzed sample |  |  |
| - Calculate the concentration of sample from measured absorbance by using appropriate equation |  |  |
| - Record the and report the results with proper units and uncertainty |  |  |
| - Clear and restore work area. |  |  |
| - Wash the reaction cell properly before analysis |  |  |
| - Apply special correction and standard adjust features to eliminate variation of reagents |  |  |
| - Prevent interferences from hydroxide or carbonate concentrations by acidification with 1N HCL |  |  |
| - Practice another method in case of correction factor more than 10% |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma in Water Quality & Resource Management-Level-5 |
| --- | --- |
| Competency Standard | Determination of Nitrate (N) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Enlist the chemicals and standards involved in analysis. |  |  |  |  |  |
|  | Maintain the temperature of sample and working environment before analysis. |  |  |  |  |  |
|  | Wash the Glassware as per mentioned procedure |  |  |  |  |  |
|  | Prepare 1000 ppm Nitrate Stock solution and other required working standards from stock. |  |  |  |  |  |
|  | Set up test equipment Spectrophotometer and/or reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Verify the calibration of equipment or re-Calibrate it. |  |  |  |  |  |
|  | Prepare sample for analysis as SOPs |  |  |  |  |  |
|  | Identify the wavelength for analysis and organic interferences |  |  |  |  |  |
|  | Demonstrate the method for determination of Nitrate |  |  |  |  |  |
|  | Write down frequency of method blank during batch analysis |  |  |  |  |  |
|  | Analyze the lab Control sample of known concentration |  |  |  |  |  |
|  | - Check repeatability by reanalyzing a pre-analyzed sample |  |  |  |  |  |
|  | Calculate the concentration of sample from measured absorbance by using appropriate equation |  |  |  |  |  |
|  | Record the and report the results with proper units and uncertainty |  |  |  |  |  |
|  | Clear and restore work area. |  |  |  |  |  |
|  | - Wash the reaction cell properly before analysis |  |  |  |  |  |
|  | - Apply special correction and standard adjust features to eliminate variation of reagents |  |  |  |  |  |
|  | - Prevent interferences from hydroxide or carbonate concentrations by acidification with 1N HCL |  |  |  |  |  |
|  | - Practice another method in case of correction factor more than 10% |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma in Water Quality & Resource Management-Level-5 |
| --- | --- |
| Competency Standard | Determination of Nitrate (N) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is Nitrate |  |  |
|  | What are the potential sources of Nitrate in Water |  |  |
|  | Write the working principle for analysis of Nitrate |  |  |
|  | What are the possible health implications of Nitrate if high in drinking water |  |  |
|  | How we can remove the Nitrate from contaminated drinking |  |  |
|  | Write down the equation used to calculate concentration from absorbance |  |  |
|  | Prepare 5 ppm Nitrate standard from 1000 ppm Nitrate stock solution |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________