Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determination of Sulphate (SO4) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, Prepare samples and stock solution for testing - Identify appropriate test method, Glassware, equipment and safety requirements - Enlist the chemicals and standards required for analysis. - Maintain the temperature of sample and working environment before analysis. - Wash the Glassware as per mentioned procedure - Prepare 1000 ppm Sulphate Stock solution and other required working standards from stock. Prepare Equipment/Apparatus for testing - Set up test equipment Spectrophotometer and/or reagents in accordance with the specified work instructions. - Verify the calibration of equipment or re-Calibrate it. Perform tests on samples as per SOPs - Prepare the sample for analysis as SOPs - Identify the wavelength for analysis - Demonstrate the method for determination of Sulphate Perform Quality Control Checks - Write down frequency of method blank during batch analysis. - Analyze the lab Control sample of known concentration - check repeatability by reanalyzing a pre-analyzed sample - Record the results/ Finalize the work - Calculate the concentration of sample from measured absorbance by using appropriate equation - Record the and report the results with proper units and Uncertainty &clear and restore work area. Adopt the precautions during testing work - Apply wavelength and special correction before start of sample analysis - Verify the reliability of the already prepared curve by running number of known standards. - Maintain the pH of the buffer solution in the range (2.5-3.5) to avoid decomposition of BaSO4. - Accuracy of the calibration curve decreases at concentration greater than 40 ppm due to decomposition of BaSO4, therefore, it is recommended to make dilution if the concentration is higher than 40 ppm. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Determination of Sulphate (SO4) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Enlist the chemicals and standards involved in analysis. |  |  |
| - Maintain the temperature of sample and working environment before analysis. |  |  |
| - Wash the Glassware as per mentioned procedure |  |  |
| - Prepare 1000 ppm Sulphate Stock solution and other required working standards from stock. |  |  |
| - Set up test equipment Spectrophotometer and/or reagents in accordance with the specified work instructions. |  |  |
| - Verify the calibration of equipment or re-Calibrate it. |  |  |
| - Prepare sample for analysis as SOPs |  |  |
| - Identify the wavelength for analysis |  |  |
| - Demonstrate the method for determination of Sulphate |  |  |
| - Write down frequency of method blank during batch analysis |  |  |
| - Analyze the lab Control sample of known concentration |  |  |
| - check repeatability by reanalyzing a pre-analyzed sample |  |  |
| - Calculate the concentration of sample from measured absorbance by using appropriate equation |  |  |
| - Record and report the results with proper units and uncertainty |  |  |
| - Apply wavelength and special correction before start of sample analysis |  |  |
| - Verify the reliability of the already prepared curve by running number of known standards. |  |  |
| - Maintain the pH of the buffer solution in the range (2.5-3.5) to avoid decomposition of BaSO4. |  |  |
| - Accuracy of the calibration curve decreases at concentration greater than 40 ppm due to decomposition of BaSO4, therefore, it is recommended to make dilution if the concentration is higher than 40 ppm. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determination of Sulphate (SO4) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Enlist the chemicals and standards involved in analysis. |  |  |  |  |  |
|  | Maintain the temperature of sample and working environment before analysis. |  |  |  |  |  |
|  | Wash the Glassware as per mentioned procedure |  |  |  |  |  |
|  | Prepare 1000 ppm Sulphate Stock solution and other required working standards from stock. |  |  |  |  |  |
|  | Set up test equipment Spectrophotometer and/or reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Verify the calibration of equipment or re-Calibrate it. |  |  |  |  |  |
|  | Prepare sample for analysis as SOPs |  |  |  |  |  |
|  | Identify the wavelength for analysis |  |  |  |  |  |
|  | Demonstrate the method for determination of Sulphate |  |  |  |  |  |
|  | Write down frequency of method blank during batch analysis |  |  |  |  |  |
|  | - Analyze the lab Control sample of known concentration |  |  |  |  |  |
|  | - check repeatability by reanalyzing a pre-analyzed sample |  |  |  |  |  |
|  | Calculate the concentration of sample from measured absorbance by using appropriate equation |  |  |  |  |  |
|  | Record and report the results with proper units and uncertainty |  |  |  |  |  |
|  | Apply wavelength and special correction before start of sample analysis |  |  |  |  |  |
|  | Verify the reliability of the already prepared curve by running number of known standards. |  |  |  |  |  |
|  | Maintain the pH of the buffer solution in the range (2.5-3.5) to avoid decomposition of BaSO4. |  |  |  |  |  |
|  | Accuracy of the calibration curve decreases at concentration greater than 40 ppm due to decomposition of BaSO4, therefore, it is recommended to make dilution if the concentration is higher than 40 ppm. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determination of Sulphate (SO4) by Spectrophotometric Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is Sulphate (Anion or Cation) |  |  |
|  | Define the basic principle of spectrometric Sulphate measurement |  |  |
|  | Define Beer Lambert Law |  |  |
|  | Write down the equation used to calculate concentration from absorbance |  |  |
|  | Why pH of the sample is maintained in the range of 2.5-3.5 |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________