Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Water and waste water Testing (Physico-chemical Parameter)-III |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Determine Sodium (Na) by Flame-photometric Method - Determine Potassium (K) by Flame-photometric Method - Determine Nitrate (N) by Spectrophotometric Method - Determine Sulphate (SO4) by Spectrophotometric Method |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Determine Sodium (Na) by Flame-photometric Method - Identify appropriate test method, Glassware equipment and safety requirements for analyzing sodium. - Set up test equipment and reagents in accordance with the specified work instructions. - Adopt precautionary measures for sample handling during analysis. Determine Potassium (K) by Flame-photometric Method - Prepare 1000 ppm potassium stock solution from chemical salt and then prepare dilutions in the lower range as per SOP. - Analyze given sample potassium as per SOP. - Apply quality control checks during analysis of potassium. Determine Nitrate (N) - Identify appropriate test method, Glassware, equipment and safety requirements. - Perform analysis of nitrate by calculating concentration from absorbance as per SOP. - Check repeatability of sample. Determine Sulphate (SO4) by Spectrophotometric - Set up test equipment Spectrophotometer and reagents in accordance with the specified work instructions and verify the calibration of equipment. - Prepare the sample for analysis of sulphate as SOP. - Apply wavelength and special correction before start of sample analysis - Apply quality control checks during analysis of sulphate |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Module | Water and waste water Testing (Physico-chemical Parameter)-III |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Determine Sodium (Na) by Flame-photometric Method - Determine Potassium (K) by Flame-photometric Method - Determine Nitrate (N) by Spectrophotometric Method - Determine Sulphate (SO4) by Spectrophotometric Method |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements for analyzing sodium. |  |  |
| - Set up test equipment and reagents in accordance with the specified work instructions. |  |  |
| - Adopt precautionary measures for sample handling during analysis. |  |  |
| - Prepare 1000 ppm potassium stock solution from chemical salt and then prepare dilutions in the lower range as per SOP. |  |  |
| - Analyze given sample as per SOP. |  |  |
| - Apply quality control checks during analysis of potassium. |  |  |
| - Identify appropriate test method, Glassware, equipment and safety requirements. |  |  |
| - Perform analysis of nitrate by calculating concentration from absorbance as per SOP. |  |  |
| - Check repeatability of sample. |  |  |
| - Set up test equipment Spectrophotometer and reagents in accordance with the specified work instructions and verify the calibration of equipment. |  |  |
| - Prepare the sample for analysis of sulphate as SOP. |  |  |
| - Apply wavelength and special correction before start of sample analysis |  |  |
| - Apply quality control checks during analysis of sulphate |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Water and waste water Testing (Physico-chemical Parameter)-III |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Determine Sodium (Na) by Flame-photometric Method - Determine Potassium (K) by Flame-photometric Method - Determine Nitrate (N) by Spectrophotometric Method - Determine Sulphate (SO4) by Spectrophotometric Method |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements for analyzing sodium. |  |  |  |  |  |
|  | Set up test equipment and reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Adopt precautionary measures for sample handling during analysis. |  |  |  |  |  |
|  | Prepare 1000 ppm potassium stock solution from chemical salt and then prepare dilutions in the lower range as per SOP. |  |  |  |  |  |
|  | Analyze given sample as per SOP. |  |  |  |  |  |
|  | Apply quality control checks during analysis of potassium. |  |  |  |  |  |
|  | Identify appropriate test method, Glassware, equipment and safety requirements. |  |  |  |  |  |
|  | Perform analysis of nitrate by calculating concentration from absorbance as per SOP. |  |  |  |  |  |
|  | Check repeatability of sample. |  |  |  |  |  |
|  | Set up test equipment Spectrophotometer and reagents in accordance with the specified work instructions and verify the calibration of equipment. |  |  |  |  |  |
|  | Prepare the sample for analysis of sulphate as SOP. |  |  |  |  |  |
|  | Apply wavelength and special correction before start of sample analysis |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Water and waste water Testing (Physico-chemical Parameter)-III |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the basic principle of spectrometric Sulphate measurement |  |  |
|  | Why pH of the sample is maintained in the range of 2.5-3.5 during sulphate analysis. |  |  |
|  | Write the working principle for analysis of Nitrate |  |  |
|  | Write dilution formula in order to Prepare 5 ppm Nitrate standard from 1000 ppm Nitrate stock solution. |  |  |
|  | What color flame is seen when sodium ignited? |  |  |
|  | What is the function of fuel adjuster flame photometer |  |  |
|  | What are the drinking water standards for Potassium? |  |  |
|  | What color flame is seen when Potassium ignited? |  |  |
|  | Which gas is used for igniting the flame of flame photometer? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________