Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in Water Quality & Water Resource Management (Supervisor-Technician) |
| --- | --- |
| Module | Water Quality testing |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Identify the appropriate test method, stock solution, working standards, and sample requirements for Arsenic Analysis. - Prepare Equipment/Apparatus for testing of Copper on Flame Mode. - Perform tests for Zinc on Flame mode of Atomic Absorption Spectrometer (AAS) as assigned by the examiner - Explain quality control checks and precautionary measures and housekeeping practices for analysis of Arsenic on AAS |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, stock solution, working standards, and sample requirements for Arsenic Analysis. - Identify appropriate test method, glassware equipment and safety requirements. - Check the sample and prepare as per requirement for the analysis of Arsenic. - Check for the availability of Arsenic stock solution and working standard. Otherwise prepare as per standard procedure from reference stock solution. Prepare Equipment/Apparatus for testing of Copper on Flame Mode. - Set up test equipment AAS on Flame Mode. Load the method and identify the reagents required in accordance with the specified work instructions for copper. - Conduct pre-use, adjust parameters and safety checks. - Check the calibration status of equipment by using working standard. Perform tests for Zinc on Flame mode of Atomic Absorption Spectrometer (AAS) as assigned by the examiner. - Open the AAS Software select Flam Mode. Load Method for Zinc or draw new calibration curve by using working standards. - Adjust the parameter (for lamps, auto sampler and air acetylene flam according to the manufacturer instructions). - Prepare sample table on software. Prepare for sample analysis as per work instructions - Ignite the flam and run sample as per procedure. - Store unused reagents and dispose of wastes as required and clean/store equipment. Explain quality control checks, precautionary measures and housekeeping practices for analysis of Arsenic on AAS - Analyze quality control samples for Arsenic as per frequency given in procedure. - Prepare spiked matrix sample - Note down the sample results on analyst workbook. - Record the results with uncertainty on result record form and submit to reporting section - Store unused reagents and dispose of wastes as per requirements. Clean work place and store equipment. - Prepare washing acid for washing of glassware during Arsenic analysis. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in Water Quality & Water Resource Management (Supervisor-Technician) |
| Module | Water Quality testing |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Identify the appropriate test method, stock solution, working standards, and sample requirements for Arsenic Analysis. - Prepare Equipment/Apparatus for testing of Copper on Flame Mode. - Perform tests for Zinc on Flame mode of Atomic Absorption Spectrometer (AAS) as assigned by the examiner - Explain quality control checks and precautionary measures and housekeeping practices for analysis of Arsenic on AAS |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, glassware equipment and safety requirements. |  |  |
| - Check the sample and prepare as per requirement for the analysis of Arsenic. |  |  |
| - Check for the availability of Arsenic stock solution and working or prepare as per standard procedure from reference stock solution. |  |  |
| - Open the AAS Software select Flam Mode. Load Method for Zinc or draw new calibration curve by using working standards. |  |  |
| - Adjust the parameter (for lamps, auto sampler and air acetylene flam according to the manufacturer instructions). |  |  |
| - Prepare sample table on software. Prepare sample for analysis as per work instructions |  |  |
| - Ignite the flam and run sample as per procedure. |  |  |
| - Store unused reagents and dispose of wastes as required and clean/store equipment. |  |  |
| - Analyze quality control samples for Arsenic as per frequency given in procedure. |  |  |
| - Prepare spiked matrix sample |  |  |
| - Note down the sample results on analyst workbook. |  |  |
| - Record the results with uncertainty on result record form and submit to reporting section |  |  |
| - Store unused reagents and dispose of wastes as per requirements. Clean work place and store equipment. |  |  |
| - Prepare washing acid for washing of glassware during Arsenic analysis. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in Water Quality & Water Resource Management (Supervisor-Technician) |
| --- | --- |
| Module | Water Quality testing |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, stock solution, working standards, and sample requirements for Arsenic Analysis. - Prepare Equipment/Apparatus for testing of Copper on Flame Mode. - Perform tests for Zinc on Flame mode of Atomic Absorption Spectrometer (AAS) as assigned by the examiner - Explain quality control checks and precautionary measures and housekeeping practices for analysis of Arsenic on AAS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, glassware equipment and safety requirements. |  |  |  |  |  |
|  | Check the sample and prepare as per requirement for the analysis of Arsenic. |  |  |  |  |  |
|  | Check for the availability of Arsenic stock solution and working or prepare as per standard procedure from reference stock solution. |  |  |  |  |  |
|  | - Open the AAS Software select Flam Mode. Load Method for Zinc or draw new calibration curve by using working standards. |  |  |  |  |  |
|  | - Adjust the parameter (for lamps, auto sampler and air acetylene flam according to the manufacturer instructions). |  |  |  |  |  |
|  | - Prepare sample table on software. Prepare sample for analysis as per work instructions |  |  |  |  |  |
|  | - Ignite the flam and run sample as per procedure. |  |  |  |  |  |
|  | Store unused reagents and dispose of wastes as required and clean/store equipment. |  |  |  |  |  |
|  | - Analyze quality control samples for Arsenic as per frequency given in procedure. |  |  |  |  |  |
|  | - Prepare spiked matrix sample |  |  |  |  |  |
|  | Note down the sample results on analyst workbook. |  |  |  |  |  |
|  | Record the results with uncertainty on result record form and submit to reporting section |  |  |  |  |  |
|  | Store unused reagents and dispose of wastes as per requirements. Clean work place and store equipment. |  |  |  |  |  |
|  | - Prepare washing acid for washing of glassware during Arsenic analysis. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in Water Quality & Water Resource Management (Supervisor-Technician) |
| --- | --- |
| Module | Water Quality testing |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | At which wavelength Arsenic is being analyzed on AAS |  |  |
|  | What is the working principal of Arsenic on Hydride Generation Mode of AAS? |  |  |
|  | What is the working principal of Manganese on Flame Mode of AAS? |  |  |
|  | Which gas is being used for the analysis of Arsenic on Hydride Generation Mode of AAS |  |  |
|  | What is the function of Acetylene gas on Flame Mode of AAS? |  |  |
|  | Give the name of the oxidant used on Flame Mode for metal analysis. |  |  |
|  | Define Diluents and give examples of two diluents used in standard preparation for AAS. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________