Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Maintain and Repair Water Distribution Network |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Plan and prepare for work - Conduct maintenance and repairs - Review, report and record work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare for work - Conduct risk assessment for environmental, safety and water quality factors. - Determine work requirements, materials and configuration from plans, specifications, instructions and/or organizational procedures. - Check coordination issues with relevant personnel, including isolations, licenses and permits to work. - Identify networks system operation requirements. - Arrange appropriate site protection. - Identify and notify customers of supply interruption Conduct maintenance and repairs - Isolate the work area. - Determine appropriate repair method from job specifications and instructions. - Ensure materials, pipes and fittings are clear of any contaminants before installing. - Sterilize fittings and repair materials. - Check maintenance and repairs to assets to ensure specifications are met. - Restore work site to meet environmental and organizational requirements - Review, report and record work - Check, tag and report faulty equipment and tools. - Store equipment, tools and materials. - Complete workplace records |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Maintain and Repair Water Distribution Network |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare for construction and installation - Construct and install distribution assets, pipes and associated fittings - Confirm work quality - Finalize work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Conduct risk assessment for environmental, safety and water quality factors. |  |  |
| - Determine work requirements, materials and configuration from plans, specifications, instructions and/or organizational procedures. |  |  |
| - Check coordination issues with relevant personnel, including isolations, licenses and permits to work. |  |  |
| - Identify networks system operation requirements. |  |  |
| - Arrange appropriate site protection. |  |  |
| - Identify and notify customers of supply interruption |  |  |
| - Isolate the work area. |  |  |
| - Determine appropriate repair method from job specifications and instructions. |  |  |
| - Ensure materials, pipes and fittings are clear of any contaminants before installing. |  |  |
| - Sterilize fittings and repair materials. |  |  |
| - Check maintenance and repairs to assets to ensure specifications are met. |  |  |
| - Restore work site to meet environmental and organizational requirements |  |  |
| - Check, tag and report faulty equipment and tools. |  |  |
| - Store equipment, tools and materials. |  |  |
| - Complete workplace records |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Maintain and Repair Water Distribution Network |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for construction and installation - Construct and install distribution assets, pipes and associated fittings - Confirm work quality - Finalize work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Conduct risk assessment for environmental, safety and water quality factors. |  |  |  |  |  |
|  | Determine work requirements, materials and configuration from plans, specifications, instructions and/or organizational procedures. |  |  |  |  |  |
|  | Check coordination issues with relevant personnel, including isolations, licenses and permits to work. |  |  |  |  |  |
|  | Identify networks system operation requirements. |  |  |  |  |  |
|  | Arrange appropriate site protection. |  |  |  |  |  |
|  | Identify and notify customers of supply interruption |  |  |  |  |  |
|  | Isolate the work area. |  |  |  |  |  |
|  | Determine appropriate repair method from job specifications and instructions. |  |  |  |  |  |
|  | Ensure materials, pipes and fittings are clear of any contaminants before installing. |  |  |  |  |  |
|  | Sterilize fittings and repair materials. |  |  |  |  |  |
|  | Check maintenance and repairs to assets to ensure specifications are met. |  |  |  |  |  |
|  | Restore work site to meet environmental and organizational requirements |  |  |  |  |  |
|  | Check, tag and report faulty equipment and tools. |  |  |  |  |  |
| - ‘ | Store equipment, tools and materials. |  |  |  |  |  |
|  | Complete workplace records |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Maintain and Repair Water Distribution Network |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Please list down the work activities from the given plan and specifications? |  |  |
|  | Describe the types of pipes? |  |  |
|  | Describe the causes of leakages? |  |  |
|  | Describe how to perform pressure test? |  |  |
|  | Explain check list for R&M of water works? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________