Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Leak Detection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Plan for leak detection - Operate leak detection equipment and report work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan for leak detection - Determine work site boundaries and leak detection requirements from plans, specifications and instructions. - Select and check equipment. - Plan for leak detection using site inspection and service search diagrams according to work site requirements Operate leak detection equipment and report work - Determine and mark work site boundaries from plans and service search diagrams. - Select, fit and use personal protective equipment. - Operate leak detection equipment. - Mark the location of leaks. - Expose leaks and arrange repair according to testing outcomes and organizational and statutory requirements. - Review, record and report work |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Perform Leak Detection |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan for leak detection - Operate leak detection equipment and report work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine work site boundaries and leak detection requirements from plans, specifications and instructions. |  |  |
| - Select and check equipment. |  |  |
| - Plan for leak detection using site inspection and service search diagrams according to work site requirements |  |  |
| - Determine and mark work site boundaries from plans and service search diagrams. |  |  |
| - Select, fit and use personal protective equipment. |  |  |
| - Operate leak detection equipment. |  |  |
| - Mark the location of leaks. |  |  |
| - Expose leaks and arrange repair according to testing outcomes and organizational and statutory requirements. |  |  |
| - Review, record and report work |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Leak Detection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan for leak detection - Operate leak detection equipment and report work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine work site boundaries and leak detection requirements from plans, specifications and instructions. |  |  |  |  |  |
|  | Select and check equipment. |  |  |  |  |  |
|  | Plan for leak detection using site inspection and service search diagrams according to work site requirements |  |  |  |  |  |
|  | Determine and mark work site boundaries from plans and service search diagrams. |  |  |  |  |  |
|  | Select, fit and use personal protective equipment. |  |  |  |  |  |
|  | Operate leak detection equipment. |  |  |  |  |  |
|  | Mark the location of leaks. |  |  |  |  |  |
|  | Expose leaks and arrange repair according to testing outcomes and organizational and statutory requirements. |  |  |  |  |  |
|  | Review, record and report work |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Leak Detection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How can leak be detected in water distribution network? |  |  |
|  | How leakage can be checked? |  |  |
|  | Describe the causes of leakages? |  |  |
|  | Describe how to perform leakage test? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________