Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control Coagulation and Flocculation Process (Surface Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Monitor coagulation and flocculation processes - Control chemical use - Operate and control coagulation and flocculation processes - Complete Documentation |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Monitor coagulation and flocculation processes - Monitor test results and processes to ensure compliance with the parameters of the operation. - Identify and report process faults and the operational condition of plant. - Collect and test samples. - Conduct jar tests and determine dosages. Control chemical use - Use, handle and store chemicals. - Determine and apply chemical dosing according to plant processes based on jar testing. - Maintain chemical supply and usage records. - Select structures, valves and accessories and integrate into a functional system Operate and control coagulation and flocculation processes - Carry out routine plant inspections. - Collect process samples and conduct standard tests such as jar testing. - Carry out system adjustments and process calculations to improve system performance. Complete Documentation - Compile reports from plant and system data. - Report observations outside defined parameters for further action. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Operate and Control Coagulation and Flocculation Process (Surface Water) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Monitor coagulation and flocculation processes Define pumping and power systems - Control chemical use - Operate and control coagulation and flocculation processes - Complete Documentation |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Monitor test results and processes to ensure compliance with the parameters of the operation. |  |  |
| - Identify and report process faults and the operational condition of plant. |  |  |
| - Collect and test samples. |  |  |
| - Conduct jar tests and determine dosages. |  |  |
| - Use, handle and store chemicals. |  |  |
| - Determine and apply chemical dosing according to plant processes based on jar testing. |  |  |
| - Maintain chemical supply and usage records. |  |  |
| - Select structures, valves and accessories and integrate into a functional system |  |  |
| - Carry out routine plant inspections. |  |  |
| - Collect process samples and conduct standard tests such as jar testing. |  |  |
| - Carry out system adjustments and process calculations to improve system performance. |  |  |
| - Compile reports from plant and system data. |  |  |
| - Report observations outside defined parameters for further action. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control Coagulation and Flocculation Process (Surface Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Monitor coagulation and flocculation processes Define pumping and power systems - Control chemical use - Operate and control coagulation and flocculation processes - Complete Documentation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Monitor test results and processes to ensure compliance with the parameters of the operation. |  |  |  |  |  |
|  | Identify and report process faults and the operational condition of plant. |  |  |  |  |  |
|  | Collect and test samples. |  |  |  |  |  |
|  | Conduct jar tests and determine dosages. |  |  |  |  |  |
|  | Use, handle and store chemicals. |  |  |  |  |  |
|  | Determine and apply chemical dosing according to plant processes based on jar testing. |  |  |  |  |  |
|  | Maintain chemical supply and usage records. |  |  |  |  |  |
|  | Select structures, valves and accessories and integrate into a functional system |  |  |  |  |  |
|  | Carry out routine plant inspections. |  |  |  |  |  |
|  | Collect process samples and conduct standard tests such as jar testing. |  |  |  |  |  |
|  | Carry out system adjustments and process calculations to improve system performance. |  |  |  |  |  |
|  | Compile reports from plant and system data. |  |  |  |  |  |
|  | Report observations outside defined parameters for further action. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control Coagulation and Flocculation Process (Surface Water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define flocculation process |  |  |
|  | Enlist three pH adjusting chemicals |  |  |
|  | What is meant by Flash mixing |  |  |
|  | Enlist three potential hazards related to coagulation and flocculation process |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________