Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Select and Operate water Filtration Process (Media and Membrane Straining) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Explain Rapid/Pressure Sand Filtration (RSF) and Specifications of media - GAC Filtration and Specifications of medium - Membrane Water Treatment Technologies - Documentation |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Rapid/Pressure Sand Filtration (RSF) and Specifications of media - Identify physical and hydraulic specifications of commercial sand vessels - Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed - Sketch a flow diagram of RSF plant to achieve drinking water standards. - Select, fit, operate and back-wash RSF. - Prepare Performa for daily and monthly O&M records GAC Filtration and Specifications of medium - Identify the principles of adsorption and specifications of GAC medium - Sketch a flow diagram to show position of GAC vessel to achieve its effectiveness. - Select, install, operate and back-wash GAC filter. Membrane Water Treatment Technologies - Identify the principles of Osmosis and Reverse Osmosis. - Sketch a flow diagram of UF/RO plant showing main components and controlling devices (as opted by assessor) - Demonstrate operations of start, stop and membrane separation of the UF/ RO plant (As opted by Assessor) - Identify pretreatment module, feed line, permeate line, retentive outlet, and anti-scalent inlet line in RO.( As asked by Assessor) Documentation - Compile reports from plant and system data. - Report observations outside defined parameters for further action. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Select and Operate water Filtration Process (Media and Membrane Straining) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Rapid/Pressure Sand Filtration (RSF) and Specifications of media - GAC Filtration and Specifications of medium - Membrane Water Treatment Technologies - Documentation |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify physical and hydraulic specifications of commercial sand vessels |  |  |
| - Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed |  |  |
| - Sketch a flow diagram of RSF plant to achieve drinking water standards. |  |  |
| - Select, fit, operate and back-wash RSF. |  |  |
| - Prepare Performa for daily and monthly O&M records |  |  |
| - Identify the principles of adsorption and specifications of GAC medium |  |  |
| - Sketch a flow diagram to show position of GAC vessel to achieve its effectiveness. |  |  |
| - Select, install, operate and back-wash GAC filter. |  |  |
| - Identify the principles of Osmosis and Reverse Osmosis. |  |  |
| - Sketch a flow diagram of UF/RO plant showing main components and controlling devices (as opted by assessor) |  |  |
| - Demonstrate operations of start, stop and membrane separation of the UF/ RO plant (As opted by Assessor) |  |  |
| - Identify pretreatment module, feed line, permeate line, retentive outlet, and anti-scalent inlet line in RO.( As asked by Assessor) |  |  |
| - Compile reports from plant and system data. |  |  |
| - Report observations outside defined parameters for further action. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Select and Operate water Filtration Process (Media and Membrane Straining) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Rapid/Pressure Sand Filtration (RSF) and Specifications of media - GAC Filtration and Specifications of medium - Membrane Water Treatment Technologies - Documentation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify physical and hydraulic specifications of commercial sand vessels |  |  |  |  |  |
|  | Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed |  |  |  |  |  |
|  | Sketch a flow diagram of RSF plant to achieve drinking water standards. |  |  |  |  |  |
|  | Select, fit, operate and back-wash RSF. |  |  |  |  |  |
|  | Prepare Performa for daily and monthly O&M records |  |  |  |  |  |
|  | Identify the principles of adsorption and specifications of GAC medium |  |  |  |  |  |
|  | Sketch a flow diagram to show position of GAC vessel to achieve its effectiveness. |  |  |  |  |  |
|  | Select, install, operate and back-wash GAC filter. |  |  |  |  |  |
|  | Identify the principles of Osmosis and Reverse Osmosis. |  |  |  |  |  |
|  | Sketch a flow diagram of UF/RO plant showing main components and controlling devices (as opted by assessor) |  |  |  |  |  |
|  | Demonstrate operations of start, stop and membrane separation of the UF/ RO plant (As opted by Assessor) |  |  |  |  |  |
|  | Identify pretreatment module, feed line, permeate line, retentive outlet, and anti-scalent inlet line in RO.( As asked by Assessor) |  |  |  |  |  |
|  | Compile reports from plant and system data. |  |  |  |  |  |
|  | Report observations outside defined parameters for further action. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Select and Operate water Filtration Process (Media and Membrane Straining) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is a difference between slow, rapid and pressure sand filtration processes? |  |  |
|  | What is the effect of increasing the rate of filtration on filter area? |  |  |
|  | What is relation between membrane sizes and flow rate of product water? |  |  |
|  | What is meant by scaling of RO membrane? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________