Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control UV Process |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Plan and prepare for work. - Monitor system performance - Maintain and operate UV irradiation disinfection system. - Complete Documentation |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare for work. - Determine work requirements according to legislative and organizational requirements. - Select the equipment and tools required to meet safety requirements of task and site. - Select, fit and use personal protective equipment. Monitor system performance - Monitor UV irradiation disinfection systems according to agreed schedule and procedures. - Collect process samples and conduct standard microbiological tests as required. - Maintain and monitor relevant OHS requirements. - Collect and report process data according to organizational and disinfection system requirements. Maintain and operate UV irradiation disinfection system. - Carry out routine inspections of system components according to organizational requirements. - Clean and replace system components as required. - Operate UV lamp sequencing according to organizational requirements. Complete Documentation - Produce information relating to UV irradiation - Compile disinfection system maintenance and operation, according to organizational requirements. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Operate and Control UV Process |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare for work. - Monitor system performance - Maintain and operate UV irradiation disinfection system. - Complete Documentation |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine work requirements according to legislative and organizational requirements. |  |  |
| - Select the equipment and tools required to meet safety requirements of task and site. |  |  |
| - Select, fit and use personal protective equipment. |  |  |
| - Monitor UV irradiation disinfection systems according to agreed schedule and procedures. |  |  |
| - Collect process samples and conduct standard microbiological tests as required. |  |  |
| - Maintain and monitor relevant OHS requirements. |  |  |
| - Collect and report process data according to organizational and disinfection system requirements |  |  |
| - Carry out routine inspections of system components according to organizational requirements. |  |  |
| - Clean and replace system components as required. |  |  |
| - Operate UV lamp sequencing according to organizational requirements. |  |  |
| - Produce information relating to UV irradiation |  |  |
| - Compile disinfection system maintenance and operation, according to organizational requirements. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control UV Process |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for work. - Monitor system performance - Maintain and operate UV irradiation disinfection system. - Complete Documentation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine work requirements according to legislative and organizational requirements. |  |  |  |  |  |
|  | Select the equipment and tools required to meet safety requirements of task and site. |  |  |  |  |  |
|  | Select, fit and use personal protective equipment. |  |  |  |  |  |
|  | Monitor UV irradiation disinfection systems according to agreed schedule and procedures. |  |  |  |  |  |
|  | Collect process samples and conduct standard microbiological tests as required. |  |  |  |  |  |
|  | Maintain and monitor relevant OHS requirements. |  |  |  |  |  |
|  | Collect and report process data according to organizational and disinfection system requirements |  |  |  |  |  |
|  | Carry out routine inspections of system components according to organizational requirements. |  |  |  |  |  |
|  | Clean and replace system components as required. |  |  |  |  |  |
|  | Operate UV lamp sequencing according to organizational requirements. |  |  |  |  |  |
|  | Produce information relating to UV irradiation |  |  |  |  |  |
|  | Compile disinfection system maintenance and operation, according to organizational requirements. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control UV Process |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the role of UV radiations in disinfection process |  |  |
|  | Is turbidity in water enhance or reduce the effectiveness of UV radiations |  |  |
|  | At which wave length the UV disinfection process is most effective |  |  |
|  | What is the name of the equipment used to monitor the effective wavelength of UV bulb. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________