Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and control of sediment process (Surface water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Plan and prepare for work. - Monitor and operate sedimentation processes. - Report sedimentation processes. |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare for work. - Determine work according to legislative and organizational requirements. - Select the equipment required to meet safety requirements of task and site. - Select and use personal protective equipment. Monitor and operate sedimentation processes. - Carry out inspections of sedimentation process according to type of plant. - Collect process samples and conduct standard tests. - Collect and report process data according to organizational and plant requirements. - Monitor processes to maintain parameters of operation. - Identify and report process faults and operational condition of plant according to organizational requirements. - Carry out basic system adjustments to enhance system performance according to organizational requirements. Report sedimentation processes - Compile records from plant and system data to meet organizational requirements. - Report observations outside defined parameters for further action. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Operate and control of sediment process (Surface water) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare for work. - Monitor and operate sedimentation processes. - Report sedimentation processes. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine work according to legislative and organizational requirements. |  |  |
| - Select the equipment required to meet safety requirements of task and site. |  |  |
| - Select and use personal protective equipment. |  |  |
| - Carry out inspections of sedimentation process according to type of plant. |  |  |
| - Collect process samples and conduct standard tests. |  |  |
| - Collect and report process data according to organizational and plant requirements. |  |  |
| - Monitor processes to maintain parameters of operation. |  |  |
| - Identify and report process faults and operational condition of plant according to organizational requirements. |  |  |
| - Carry out basic system adjustments to enhance system performance according to organizational requirements. |  |  |
| - Compile records from plant and system data to meet organizational requirements. |  |  |
| - Report observations outside defined parameters for further action. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and control of sediment process (Surface water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for work. - Monitor and operate sedimentation processes. - Report sedimentation processes. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Determine work according to legislative and organizational requirements. |  |  |  |  |  |
|  | - Select the equipment required to meet safety requirements of task and site. |  |  |  |  |  |
|  | Select and use personal protective equipment. |  |  |  |  |  |
|  | - Carry out inspections of sedimentation process according to type of plant. |  |  |  |  |  |
|  | - Collect process samples and conduct standard tests. |  |  |  |  |  |
|  | - Collect and report process data according to organizational and plant requirements. |  |  |  |  |  |
|  | - Monitor processes to maintain parameters of operation. |  |  |  |  |  |
|  | - Identify and report process faults and operational condition of plant according to organizational requirements. |  |  |  |  |  |
|  | Carry out basic system adjustments to enhance system performance according to organizational requirements. |  |  |  |  |  |
|  | - Compile records from plant and system data to meet organizational requirements. |  |  |  |  |  |
|  | Report observations outside defined parameters for further action. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and control of sediment process (Surface water) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is mean by hydraulic Load in sediment process |  |  |
|  | What is the principal of sedimentation process |  |  |
|  | Give name of two components involve in sedimentation process. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________