Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Control Ozonation Process in Water Treatment Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): - Plan and prepare for work - Monitor system performance - Prepare and apply ozone dosing. - Complete Documentation |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare for work - Determine work requirements according to legislative and organizational requirements. - Select and check equipment and tools required to meet safety requirements of task and site. - Select, fit and use personal protective equipment . Monitor system performance - Monitor ozone treatment systems according to agreed schedule and procedures. - Collect process samples and conduct standard tests. - Perform microbiological and ozone residual sampling in the workplace - Maintain and monitor relevant OHS requirements. Prepare and apply ozone dosing - Generate ozone using Ozonator according to water treatment system design - Calculate ozone dose - Maintain information related to ozone generation and dosing according to requirements. Complete Documentation - Compile reports from plant and system data. - Report observations outside defined parameters for further action. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | # Operate and Control Ozonation Process in Water Treatment Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare for work - Monitor system performance - Prepare and apply ozone dosing. - Complete Documentation |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine work requirements according to legislative and organizational requirements. |  |  |
| - Select and check equipment and tools required to meet safety requirements of task and site. |  |  |
| - Select, fit and use personal protective equipment |  |  |
| - Monitor ozone treatment systems according to agreed schedule and procedures. |  |  |
| - Collect process samples and conduct standard tests. |  |  |
| - Perform microbiological and ozone residual sampling in the workplace |  |  |
| - Maintain and monitor relevant OHS requirements. |  |  |
| - Generate ozone using Ozonator according to water treatment system design |  |  |
| - Calculate ozone dose |  |  |
| - Maintain information related to ozone generation and dosing according to requirements. |  |  |
| - Compile reports from plant and system data. |  |  |
| - Report observations outside defined parameters for further action. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Control Ozonation Process in Water Treatment Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for work - Monitor system performance - Prepare and apply ozone dosing. - Complete Documentation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine work requirements according to legislative and organizational requirements. |  |  |  |  |  |
|  | Select and check equipment and tools required to meet safety requirements of task and site. |  |  |  |  |  |
|  | Select, fit and use personal protective equipment |  |  |  |  |  |
|  | Monitor ozone treatment systems according to agreed schedule and procedures. |  |  |  |  |  |
|  | Collect process samples and conduct standard tests. |  |  |  |  |  |
|  | Perform microbiological and ozone residual sampling in the workplace |  |  |  |  |  |
|  | Maintain and monitor relevant OH requirements. |  |  |  |  |  |
|  | Generate ozone using Ozonator according to water treatment system design |  |  |  |  |  |
|  | Calculate ozone dose |  |  |  |  |  |
|  | Maintain information related to ozone generation and dosing according to requirements. |  |  |  |  |  |
|  | Compile reports from plant and system data. |  |  |  |  |  |
|  | Report observations outside defined parameters for further action. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Control Ozonation Process in Water Treatment Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Identify and respond to operational problems? |  |  |
|  | Explain ozone dosing processes? |  |  |
|  | Define the effects of weather and conditions on operation of site or plant? |  |  |
|  | What are the risk factors and potential hazards associated with Ozonation? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________