Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Control Chlorination Disinfection processes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): - Plan and prepare for work - Monitor process performance - Prepare and apply chlorine dosing - Report on chlorination processes |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare for work - Select and check equipment and hypochlorite supplies to meet safety requirements of task and worksite - Select, fit and use required safety equipment, including personal protective equipment (PPE) - Handle and store hypochlorite chemicals to maximize shelf life and reduce loss of available chlorine. Monitor process performance - Calculate the percentage for chlorine test - Monitor hypochlorite disinfection processes as per standards - Collect process samples and conduct standard tests according to water - treatment procedures - Make process adjustments to maintain effectiveness of hypochlorite disinfection - Monitor chlorination processes according to agreed schedule and procedures. - Collect treated water samples and test total and free chlorine as per standards. - Maintain and monitor relevant OHS requirements. - Collect test data, perform calculations and report according to organizational and chlorination process requirements Prepare and apply chlorine dosing - Calculate chlorine dose as per volume of water to be treated. - Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator - Control hypochlorite dosing to maintain required chlorine residual - Handle, use and store chlorine chemicals according to organizational requirements. Report on chlorination processes - Maintain information relating to hypochlorite supply and usage - Collect, record and complete process data according to workplace procedures and process requirements - Produce information relating to maintenance and operation according to organizational requirements. - Identify data outside of normal operational parameters and report to relevant personnel for further action |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | # Operate and Control Chlorination Disinfection processes |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare for work - Monitor process performance - Prepare and apply chlorine dosing - Report on chlorination processes |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select and check equipment and hypochlorite supplies to meet safety requirements of task and worksite |  |  |
| - Select, fit and use required safety equipment, including personal protective equipment (PPE) |  |  |
| - Handle and store hypochlorite chemicals to maximize shelf life and reduce loss of available chlorine. |  |  |
| - Calculate the percentage for chlorine test |  |  |
| - Monitor hypochlorite disinfection processes as per standards |  |  |
| - Collect process samples and conduct standard tests according to water treatment procedures |  |  |
| - Make process adjustments to maintain effectiveness of hypochlorite disinfection |  |  |
| - Monitor chlorination processes according to agreed schedule and procedures. |  |  |
| - Collect treated water samples and test total and free chlorine as per standards. |  |  |
| - Maintain and monitor relevant OHS requirements. |  |  |
| - Collect test data, perform calculations and report according to organizational and chlorination process requirements |  |  |
| - Calculate chlorine dose as per volume of water to be treated. |  |  |
| - Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator |  |  |
| - Control hypochlorite dosing to maintain required chlorine residual |  |  |
| - Handle, use and store chlorine chemicals according to organizational requirements. |  |  |
| - Maintain information relating to hypochlorite supply and usage |  |  |
| - Collect, record and complete process data according to workplace procedures and process requirements |  |  |
| - Produce information relating to maintenance and operation according to organizational requirements. |  |  |
| - Identify data outside of normal operational parameters and report to relevant personnel for further action |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Control Chlorination disinfection processes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare for work - Monitor process performance - Prepare and apply chlorine dosing - Report on chlorination processes |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select and check equipment and hypochlorite supplies to meet safety requirements of task and worksite |  |  |  |  |  |
|  | Select, fit and use required safety equipment, including personal protective equipment (PPE) |  |  |  |  |  |
|  | Handle and store hypochlorite chemicals to maximize shelf life and reduce loss of available chlorine. |  |  |  |  |  |
|  | Calculate the percentage for chlorine test |  |  |  |  |  |
|  | Monitor hypochlorite disinfection processes as per standards |  |  |  |  |  |
|  | Collect process samples and conduct standard tests according to water treatment procedures |  |  |  |  |  |
|  | Make process adjustments to maintain effectiveness of hypochlorite disinfection |  |  |  |  |  |
|  | Monitor chlorination processes according to agreed schedule and procedures. |  |  |  |  |  |
|  | Collect treated water samples and test total and free chlorine as per standards. |  |  |  |  |  |
|  | Maintain and monitor relevant OHS requirements. |  |  |  |  |  |
|  | Collect test data, perform calculations and report according to organizational and chlorination process requirements |  |  |  |  |  |
|  | Calculate chlorine dose as per volume of water to be treated. |  |  |  |  |  |
|  | Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator |  |  |  |  |  |
|  | Control hypochlorite dosing to maintain required chlorine residual |  |  |  |  |  |
|  | Handle, use and store chlorine chemicals according to organizational requirements. |  |  |  |  |  |
|  | Maintain information relating to hypochlorite supply and usage |  |  |  |  |  |
|  | Collect, record and complete process data according to workplace procedures and process requirements |  |  |  |  |  |
|  | Produce information relating to maintenance and operation according to organizational requirements. |  |  |  |  |  |
|  | Identify data outside of normal operational parameters and report to relevant personnel for further action |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Control Chlorination Disinfection processes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain chlorine effects on human health? |  |  |
|  | Calculate the percentage of chlorine for chlorine test? |  |  |
|  | Differentiate between Total and free chlorine? |  |  |
|  | Explain chlorine dosing processes? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________