Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | # Operate and Maintain Pumping Stations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): - Plan and prepare work - Operate pump stations - Maintain pump stations. - Monitor and adjust pump station performance - Finalize work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Plan and prepare work - Determine pump station work requirements from standard operating and maintenance procedures. - Access and interpret pump operation and maintenance procedures. - Perform site check to prevent damage to other utilities and the environment - Select and check equipment to meet safety requirements of task and select, fit and use personal protective equipment. - Handle, use and store chemicals according to HSE requirements. Operate pump stations - Identify and set or adjust pump station components according to organizational requirements. - Carry out routine security inspections and cleaning duties. - Operate pump station according to organizational requirements Maintain pump stations - Apply pump station maintenance standards. - Inspect pump station components according to requirements and manufacturer recommendations. - Schedule maintenance tasks and order appropriate materials. - Identify and report pump station faults and carry out minor repairs. Monitor and adjust pump station performance - Apply pump station performance targets. - Identify and apply monitoring points and timing. - Monitor pump station and make adjustments, where necessary, to maintain operational parameters. Finalize work - Check, maintain and store equipment, tools and materials according to manufacturer guidelines and organizational procedures. - Maintain workplace records as required. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Operate and Maintain Pumping Stations |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Plan and prepare work - Operate pump stations - Maintain pump stations. - Monitor and adjust pump station performance - Finalize work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine pump station work requirements from standard operating and maintenance procedures. |  |  |
| - Access and interpret pump operation and maintenance procedures. |  |  |
| - Perform site check to prevent damage to other utilities and the environment |  |  |
| - Select and check equipment to meet safety requirements of task and select, fit and use personal protective equipment. |  |  |
| - Handle, use and store chemicals according to HSE requirements |  |  |
| - Identify and set or adjust pump station components according to organizational requirements. |  |  |
| - Carry out routine security inspections and cleaning duties. |  |  |
| - Operate pump station according to organizational requirements |  |  |
| - Apply pump station maintenance standards. |  |  |
| - Inspect pump station components according to requirements and manufacturer recommendations. |  |  |
| - Schedule maintenance tasks and order appropriate materials. |  |  |
| - Identify and report pump station faults and carry out minor repairs |  |  |
| - Apply pump station performance targets. |  |  |
| - Identify and apply monitoring points and timing. |  |  |
| - Monitor pump station and make adjustments, where necessary, to maintain operational parameters. |  |  |
| - Check, maintain and store equipment, tools and materials according to manufacturer guidelines and organizational procedures. |  |  |
| - Maintain workplace records as required. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Maintain Pumping Stations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare work - Operate pump stations - Maintain pump stations. - Monitor and adjust pump station performance - Finalize work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine pump station work requirements from standard operating and maintenance procedures. |  |  |  |  |  |
|  | Access and interpret pump operation and maintenance procedures. |  |  |  |  |  |
|  | Perform site check to prevent damage to other utilities and the environment |  |  |  |  |  |
|  | Select and check equipment to meet safety requirements of task and select, fit and use personal protective equipment. |  |  |  |  |  |
|  | Handle, use and store chemicals according to HSE requirements |  |  |  |  |  |
|  | Identify and set or adjust pump station components according to organizational requirements. |  |  |  |  |  |
|  | Carry out routine security inspections and cleaning duties. |  |  |  |  |  |
|  | Operate pump station according to organizational requirements |  |  |  |  |  |
|  | Apply pump station maintenance standards. |  |  |  |  |  |
|  | Inspect pump station components according to requirements and manufacturer recommendations. |  |  |  |  |  |
|  | Schedule maintenance tasks and order appropriate materials. |  |  |  |  |  |
|  | Identify and report pump station faults and carry out minor repairs |  |  |  |  |  |
|  | Apply pump station performance targets. |  |  |  |  |  |
|  | Identify and apply monitoring points and timing. |  |  |  |  |  |
|  | Monitor pump station and make adjustments, where necessary, to maintain operational parameters. |  |  |  |  |  |
|  | Check, maintain and store equipment, tools and materials according to manufacturer guidelines and organizational procedures. |  |  |  |  |  |
|  | Maintain workplace records as required. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Operate and Maintain Pumping Stations |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain the principle of pump operation? |  |  |
|  | What is the purpose of pump operation? |  |  |
|  | Enlist different types of pump and their operational function? |  |  |
|  | What are the risk factors and potential hazards of operating wastewater transfer systems? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________