Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Operation and Maintenance of Water Filtration and Treatment Plant |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Design a water treatment system - Monitor coagulation and flocculation processes - Plan and prepare for work on sedimentation process. - Explain Rapid/Pressure Sand Filtration (RSF) and Specifications of media - Prepare and apply chlorine dosing - Explain the Operation of pumping stations - Estimate the cost of components of UV Disinfection treatment plant. - Monitor and report on water treatment operation. |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Design a water treatment system - Evaluate and design treatment systems with respect to target contaminants - Size pipes, valves and fittings according to design system specifications - Calculate and document flows, water levels and pressures to be within the acceptable tolerances for optimum performance - Include mechanisms for controlling and adjusting pressure Monitor coagulation and flocculation processes - Monitor test results and processes to ensure compliance with the parameters of the operation. - Identify and report process faults and the operational condition of plant. - Collect and test samples. - Conduct jar tests and determine dosages. Plan and prepare for work on sedimentation process. - Determine work according to organizational and process requirements. - Select the equipment required to meet safety requirements of task and site. Explain Rapid/Pressure Sand Filtration (RSF) and Specifications of media - Identify physical and hydraulic specifications of commercial sand vessels - Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed - Sketch a flow diagram of RSF plant to achieve drinking water standards. - Select, fit, operate and back-wash RSF. - Prepare Performa for daily and monthly O&M records Prepare and apply chlorine dosing - Calculate chlorine dose as per volume of water to be treated.9As per assessors instruction) - Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator - Handle, use and store chlorine chemicals according to organizational requirements. Explain the Operation of pumping stations - Identify and set or adjust pump station components according to organizational requirements. - Carry out routine security inspections and cleaning duties. - Operate pump station according to the requirements Estimate the cost of components of UV Disinfection treatment plant. - Make a list of all required items and services for installation of water treatment plant - Estimate market cost of all items and services required Monitor and report on water treatment operation. - Identify operating principles used in water treatment processes. - Complete the records required for effective operation of a water treatment plant. - Identify data that falls outside normal operating range and report for further action |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Module | Operation and Maintenance of Water Filtration and Treatment Plant |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Design a water treatment system - Monitor coagulation and flocculation processes - Plan and prepare for work on sedimentation process. - Explain Rapid/Pressure Sand Filtration (RSF) and Specifications of media - Prepare and apply chlorine dosing - Explain the Operation of pumping stations - Estimate the cost of components of UV Disinfection treatment plant. - Monitor and report on water treatment operation. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Evaluate and design treatment systems with respect to target contaminants |  |  |
| - Size pipes, valves and fittings according to design system specifications |  |  |
| - Calculate and document flows, water levels and pressures to be within the acceptable tolerances for optimum performance |  |  |
| - Include mechanisms for controlling and adjusting pressure |  |  |
| - Monitor test results and processes to ensure compliance with the parameters of the operation. |  |  |
| - Identify and report process faults and the operational condition of plant. |  |  |
| - Collect and test samples. |  |  |
| - Conduct jar tests and determine dosages. |  |  |
| - Determine work according to organizational and process requirements. |  |  |
| - Select the equipment required to meet safety requirements of task and site. |  |  |
| - Identify physical and hydraulic specifications of commercial sand vessels |  |  |
| - Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed |  |  |
| - Sketch a flow diagram of RSF plant to achieve drinking water standards. |  |  |
| - Select, fit, operate and back-wash RSF. |  |  |
| - Prepare Performa for daily and monthly O&M records |  |  |
| - Calculate chlorine dose as per volume of water to be treated.9As per assessors instruction) |  |  |
| - Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator |  |  |
| - Identify and set or adjust pump station components according to organizational requirements. |  |  |
| - Carry out routine security inspections and cleaning duties. |  |  |
| - Operate pump station according to the requirements |  |  |
| - Make a list of all required items and services for installation of water treatment plant |  |  |
| - Estimate market cost of all items and services required |  |  |
| - Identify operating principles used in water treatment processes. |  |  |
| - Complete the records required for effective operation of a water treatment plant. |  |  |
| - Identify data that falls outside normal operating range and report for further action |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Operation and Maintenance of Water Filtration and Treatment Plant |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Design a water treatment system - Monitor coagulation and flocculation processes - Plan and prepare for work on sedimentation process. - Explain Rapid/Pressure Sand Filtration (RSF) and Specifications of media - Prepare and apply chlorine dosing - Explain the Operation of pumping stations - Estimate the cost of components of UV Disinfection treatment plant. - Monitor and report on water treatment operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Evaluate and design treatment systems with respect to target contaminants |  |  |  |  |  |
|  | Size pipes, valves and fittings according to design system specifications |  |  |  |  |  |
|  | Calculate and document flows, water levels and pressures to be within the acceptable tolerances for optimum performance |  |  |  |  |  |
|  | Include mechanisms for controlling and adjusting pressure |  |  |  |  |  |
|  | Monitor test results and processes to ensure compliance with the parameters of the operation. |  |  |  |  |  |
|  | Identify and report process faults and the operational condition of plant. |  |  |  |  |  |
|  | Collect and test samples. |  |  |  |  |  |
|  | Conduct jar tests and determine dosages. |  |  |  |  |  |
|  | - Determine work according to organizational and process requirements. |  |  |  |  |  |
|  | - Select the equipment required to meet safety requirements of task and site. |  |  |  |  |  |
|  | Identify physical and hydraulic specifications of commercial sand vessels |  |  |  |  |  |
|  | Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed |  |  |  |  |  |
|  | Sketch a flow diagram of RSF plant to achieve drinking water standards. |  |  |  |  |  |
|  | Select, fit, operate and back-wash RSF. |  |  |  |  |  |
|  | Prepare Performa for daily and monthly O&M records |  |  |  |  |  |
|  | Calculate chlorine dose as per volume of water to be treated.9As per assessors instruction) |  |  |  |  |  |
|  | Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator |  |  |  |  |  |
|  | Identify and set or adjust pump station components according to organizational requirements. |  |  |  |  |  |
|  | Carry out routine security inspections and cleaning duties. |  |  |  |  |  |
|  | Operate pump station according to the requirements |  |  |  |  |  |
|  | Make a list of all required items and services for installation of water treatment plant |  |  |  |  |  |
|  | Estimate market cost of all items and services required |  |  |  |  |  |
|  | Identify operating principles used in water treatment processes. |  |  |  |  |  |
|  | Complete the records required for effective operation of a water treatment plant. |  |  |  |  |  |
|  | Identify data that falls outside normal operating range and report for further action |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Module | Operation and Maintenance of Water Filtration and Treatment Plant |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Give the design drawing of a drinking water filtration plant for 5000 population |  |  |
|  | Define flocculation process and enlist three pH adjusting chemicals |  |  |
|  | What is mean by hydraulic Load in sediment process |  |  |
|  | What is a difference between slow, rapid and pressure sand filtration processes? |  |  |
|  | What is meant by residual chlorine? |  |  |
|  | At which wave length the UV disinfection process is most effective? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________