Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determine the flow discharge measurement of wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Ideal site for most accurate surface water discharge measurement. - Measure cross section area of open channel - Measure Velocity of each subsection - Adopt the float method to measure velocity. - Calculate discharge of each subsection - Computation of the total discharge for the total cross section - Adopt Alternate measurement method with Weirs and flumes - Quality Assurance of the measurement procedure - Adopt proper safety precautions and analyze the data |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Performance Criteria |
| --- | --- |
|  | Ideal site for most accurate surface water discharge measurement. - Identify the criteria for site selection to measure the discharge flow and chemical tests for site characterization. Measure cross section area of open channel - Demonstrate the measurement of cross sectional area of stream along with formula - Define the equation used for area measurement. Measure Velocity of each subsection - Identify the equipment used for velocity measurement of discharge flow Adopt the float method to measure velocity - Identify the correction factor for rocky bottom stream - Specify the equipment required to perform Float method - Demonstrate the float method for velocity measurement. - Calculate the velocity of buoyant object with the travel time of 30 seconds between two selected points. Calculate discharge of each subsection - Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 15 seconds withand the stream had a rocky bottom. The width and length of the stream is 3.69 ft and 5.42ft respectively. Computation of the total discharge for the total cross section - Identify the equation used to measure total discharge flow Adopt Alternate measurement method with Weirs and flume - Identify the needed equipment to measure the amount of time taken to fill a container of known volume. - Demonstrate method to measure the height of water as it passes over the notch in the weir opening and calibrate this height to a pressure transducer. - Identify conversion of the depth measurements to flow volumes based on the geometry of the weir opening (45º, 60 º, and 90º v-notches are common), Quality Assurance of the measurement procedure - Identify equipment maintenance per manufacturer instruction Adopt proper safety precautions and analyze data - Identify the health and safety precautions required for field personnel. - Record the discharge data and all field information in given data sheet. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Determine the flow discharge measurement of wastewater |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Ideal site for most accurate surface water discharge measurement. - Measure cross section area of open channel - Measure Velocity of each subsection - Adopt the float method to measure velocity. - Calculate discharge of each subsection - Computation of the total discharge for the total cross section - Adopt Alternate measurement method with Weirs and flumes - Quality Assurance of the measurement procedure - Adopt proper safety precautions and analyze the data |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the criteria for site selection to measure the discharge flow and chemical tests for site characterization. |  |  |
| - Demonstrate the measurement of cross sectional area of stream along with formula |  |  |
| - Define the equation used for area measurement. |  |  |
| - Identify the equipment used for velocity measurement of discharge flow |  |  |
| - Identify the correction factor for rocky bottom stream |  |  |
| - Specify the equipment required to perform Float method |  |  |
| - Demonstrate the float method for velocity measurement. |  |  |
| - Calculate the velocity of buoyant object with the travel time of 30 seconds between two selected points. |  |  |
| - Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 15 seconds withand the stream had a rocky bottom. The width and length of the stream is 3.69 ft and 5.42ft respectively. |  |  |
| - Identify the equation used to measure total discharge flow |  |  |
| - Identify the needed equipment to measure the amount of time taken to fill a container of known volume. |  |  |
| - Demonstrate method to measure the height of water as it passes over the notch in the weir opening and calibrate this height to a pressure transducer. |  |  |
| - Identify conversion of the depth measurements to flow volumes based on the geometry of the weir opening (45º, 60 º, and 90º v-notches are common),. |  |  |
| - Identify equipment maintenance per manufacturer instruction |  |  |
| - Identify the health and safety precautions required for field personnel. |  |  |
| - Record the discharge data and all field information in given data sheet. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determine the flow discharge measurement of wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify waste water - Select site and operate the measurement device - Measure quantity of Industrial waste water - Measure quantity of Municipal waste water - Analyze Industrial waste water - Analyze Municipal Wastewater - Record Trends and reporting |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the criteria for site selection to measure the discharge flow and chemical tests for site characterization. |  |  |  |  |  |
|  | Demonstrate the measurement of cross sectional area of stream along with formula |  |  |  |  |  |
|  | Define the equation used for area measurement. |  |  |  |  |  |
|  | Identify the equipment used for velocity measurement of discharge flow |  |  |  |  |  |
| - I | Identify the correction factor for rocky bottom stream |  |  |  |  |  |
|  | Specify the equipment required to perform Float method |  |  |  |  |  |
|  | Demonstrate the float method for velocity measurement. |  |  |  |  |  |
|  | Calculate the velocity of buoyant object with the travel time of 30 seconds between two selected points. |  |  |  |  |  |
|  | Calculate the flow of stream with the average time of travel for the orange between Transect #1 and #2 is 15 seconds withand the stream had a rocky bottom. The width and length of the stream is 3.69 ft and 5.42ft respectively. |  |  |  |  |  |
|  | Identify the equation used to measure total discharge flow |  |  |  |  |  |
|  | Identify the needed equipment to measure the amount of time taken to fill a container of known volume. |  |  |  |  |  |
|  | Demonstrate method to measure the height of water as it passes over the notch in the weir opening and calibrate this height to a pressure transducer. |  |  |  |  |  |
|  | Identify conversion of the depth measurements to flow volumes based on the geometry of the weir opening (45º, 60 º, and 90º v-notches are common),. |  |  |  |  |  |
|  | Identify equipment maintenance per manufacturer instruction |  |  |  |  |  |
|  | Identify the health and safety precautions required for field personnel. |  |  |  |  |  |
|  | Record the discharge data and all field information in given data sheet. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Determine the flow discharge measurement of wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define the term discharge flow? |  |  |
|  | Write the units of discharge measurement? |  |  |
|  | If the distance covered by an object is 20 feet and Float time is 18 seconds. Calculate the velocity of an object.. |  |  |
|  | Using a channel width of 10 feet and an average depth of 0.8 feet and the Calculate the discharge flow of sandy muddy stream |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________