Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Dissolved Oxygen (DO) by DO Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Identify the appropriate test method, Prepare Standard required for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, Prepare samples and stock solution for testing - Identify appropriate test method, Glassware equipment and safety requirements. - Maintain the temperature of sample and working environment before analysis. - Prepare Zero solution of Sodium Sulfite Prepare Equipment/Apparatus for testing - Set up test equipment and/or reagents in accordance with the specified work instructions. - Verify the electrode calibration of DO Meter or re-Calibrate it in case of result fluctuation Perform tests on samples as per SOPs - Demonstrate the measurement of DO as per work instruction - Conduct the analysis in proper reagent bottle in order to avoid result fluctuation - Analyze three replicate for each sample - Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace Perform Quality Control Checks - Verify the equipment calibration by zero solution - Record the results/ Finalize the work - Record and report the Results with proper units and uncertainty. Adopt the precautions during testing work - .Follow manufacturer’s calibration procedure exactly to obtain guaranteed precision and accuracy. - Care should be taken in changing membrane to avoid contamination of sensing elements. - Stopper the bottles with care to avoid entrapping air bubbles Samples should be analyzed within 24 hours after collection. - Ensure certain agitation of sample by Use of magnetic stirrer tol reduce the errors due to the presence of air bubbles on the membrane surface. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Perform Testing/Determination of Dissolved Oxygen (DO) by DO Meter |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Maintain the temperature of sample and working environment before analysis. |  |  |
| - Prepare Zero solution of Sodium Sulfite |  |  |
| - Set up test equipment and/or reagents in accordance with the specified work instructions. |  |  |
| - Verify the electrode calibration of DO Meter or re-Calibrate it in case of result fluctuation |  |  |
| - Demonstrate the measurement of DO as per work instruction |  |  |
| - Conduct the analysis in proper reagent bottle in order to avoid result fluctuation |  |  |
| - Analyze three replicate for each sample |  |  |
| - Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace |  |  |
| - Verify the equipment calibration by zero solution |  |  |
| - Record and report the Results with proper units and uncertainty. |  |  |
| - Follow manufacturer’s calibration procedure exactly to obtain guaranteed precision and accuracy. |  |  |
| - Care should be taken in changing membrane to avoid contamination of sensing elements. |  |  |
| - Stopper the bottles with care to avoid entrapping air bubbles. Samples should be analyzed within 24 hours after collection |  |  |
| - Ensure certain agitation of sample by Use of magnetic stirrer to reduce the errors due to the presence of air bubbles on the membrane surface |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Dissolved Oxygen (DO) by DO Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Maintain the temperature of sample and working environment before analysis. |  |  |  |  |  |
|  | Prepare Zero solution of Sodium Sulfite |  |  |  |  |  |
|  | Set up test equipment and/or reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Verify the electrode calibration of DO Meter or re-Calibrate it in case of result fluctuation |  |  |  |  |  |
|  | Demonstrate the measurement of DO as per work instruction |  |  |  |  |  |
|  | Conduct the analysis in proper reagent bottle in order to avoid result fluctuation |  |  |  |  |  |
|  | Analyze three replicate for each sample |  |  |  |  |  |
|  | Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace |  |  |  |  |  |
|  | Verify the equipment calibration by zero solution |  |  |  |  |  |
|  | Record and report the Results with proper units and uncertainty. |  |  |  |  |  |
|  | Follow manufacturer’s calibration procedure exactly to obtain guaranteed precision and accuracy. |  |  |  |  |  |
|  | Care should be taken in changing membrane to avoid contamination of sensing elements. |  |  |  |  |  |
|  | Stopper the bottles with care to avoid entrapping air bubbles. Samples should be analyzed within 24 hours after collection |  |  |  |  |  |
|  | Ensure certain agitation of sample by Use of magnetic stirrer to reduce the errors due to the presence of air bubbles on the membrane surface |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Dissolved Oxygen (DO) by DO Meter |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Dissolved Oxygen |  |  |
|  | Explain the effect of temperature on DO |  |  |
|  | The DO of fresh water will lie in the range? |  |  |
|  | What will be the effect on DO of stream after mixing with organic contamination |  |  |
|  | Define the relationship between DO and BOD |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________