Instruction Sheet for the Candidate

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Identify the appropriate test method, Prepare Standard required for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Identify the appropriate test method, Prepare samples and stock solution for testing - Identify appropriate test method, Glassware equipment and safety requirements. - Maintain the temperature of sample and working environment before analysis. - Prepare Potassium Hydrogen Phthalate standards of required concentration. Prepare Equipment/Apparatus for testing - Set up test equipment and/or reagents in accordance with the specified work instructions. - Verify the calibration of COD Meter for low or medium range. Re-Calibrate it in case of result fluctuation Perform tests on samples as per SOPs - Before analysis homogenize 500 ml of sample for 30 seconds in a blender OR by magnetic stirring. - Turn ON the COD reactor and adjust the temperature at 150oC and Place the plastic safety shield in front of the reactor. - Select appropriate range of COD vial and volume of sample according to location of the sample (river, nullah, tanneries, sewage etc.). - Introduce the sample to vial by following safety precautions. - Digest sample, standard and blank at 150oC for 2 hours. - Maintain the temperature of digested sample before analysis. - Demonstrate the measurement of COD on Colorimeter as per SOP. - Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace Perform Quality Control Checks - Verify the equipment calibration by laboratory Control sample - Analyze Method blank and standard with every batch of analysis. - Record the results/ Finalize the work - Record and report the Results with proper units and uncertainty. Adopt the precautions during testing work - Collect Samples in glass bottles. Use plastic bottles only if the sample is known to be free of organic contamination. - Analyze sample within 24 hours after sampling if it is delayed then preserve samples as per SOP. - Homogenize the sample by Shaking for at least 30 seconds for - Wear appropriate eye protection and clothing for protection. - Secure the unused vials in opaque container as the reagent mixture is light sensitive. |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| Competency Standard | Perform Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify appropriate test method, Glassware equipment and safety requirements. |  |  |
| - Maintain the temperature of sample and working environment before analysis. |  |  |
| - Prepare Potassium Hydrogen Phthalate standards of required concentration |  |  |
| - Set up test equipment and/or reagents in accordance with the specified work instructions. |  |  |
| - Verify the calibration of COD Meter for low or medium range. Re-Calibrate it in case of result fluctuation |  |  |
| - Before analysis homogenize 500 ml of sample for 30 seconds in a blender OR by magnetic stirring. |  |  |
| - Turn ON the COD reactor and adjust the temperature at 150oC and |  |  |
| Place the plastic safety shield in front of the reactor. |  |  |
| - Select appropriate range of COD vial and volume of sample according to location of the sample (river, nullah, tanneries, sewage etc.). |  |  |
| - Introduce the sample to vial by following safety precautions. |  |  |
| - Digest sample, standard and blank at 150oC for 2 hours. |  |  |
| - Maintain the temperature of digested sample before analysis. |  |  |
| - Demonstrate the measurement of COD on Colorimeter as per SOP. |  |  |
| - Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace |  |  |
| - Verify the equipment calibration by laboratory Control sample |  |  |
| - Analyze Method blank and standard with every batch of analysis |  |  |
| - Record and report the Results with proper units and uncertainty. |  |  |
| - Collect Samples in glass bottles. Use plastic bottles only if the sample is known to be free of organic contamination. |  |  |
| - Analyze sample within 24 hours after sampling if it is delayed then preserve samples as per SOP. |  |  |
| - Homogenize the sample by Shaking for at least 30 seconds |  |  |
| - Wear appropriate eye protection and clothing for protection |  |  |
| - Secure the unused vials in opaque container as the reagent mixture is light sensitive |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify the appropriate test method, Prepare samples and stock solution for testing - Prepare Equipment/Apparatus for testing - Perform tests on samples as per SOPs - Perform Quality Control Checks - Record the results/ Finalize the work - Adopt the precautions during testing work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify appropriate test method, Glassware equipment and safety requirements. |  |  |  |  |  |
|  | Maintain the temperature of sample and working environment before analysis. |  |  |  |  |  |
|  | Prepare Potassium Hydrogen Phthalate standards of required concentration |  |  |  |  |  |
|  | Set up test equipment and/or reagents in accordance with the specified work instructions. |  |  |  |  |  |
|  | Verify the calibration of COD Meter for low or medium range. Re-Calibrate it in case of result fluctuation |  |  |  |  |  |
|  | Before analysis homogenize 500 ml of sample for 30 seconds in a blender OR by magnetic stirring. |  |  |  |  |  |
|  | Turn ON the COD reactor and adjust the temperature at 150oC and |  |  |  |  |  |
|  | Place the plastic safety shield in front of the reactor. |  |  |  |  |  |
|  | Select appropriate range of COD vial and volume of sample according to location of the sample (river, nullah, tanneries, sewage etc.). |  |  |  |  |  |
|  | Introduce the sample to vial by following safety precautions. |  |  |  |  |  |
|  | Digest sample, standard and blank at 150oC for 2 hours. |  |  |  |  |  |
|  | Maintain the temperature of digested sample before analysis. |  |  |  |  |  |
|  | Demonstrate the measurement of COD on Colorimeter as per SOP. |  |  |  |  |  |
|  | Store unused reagents and dispose of wastes as required by relevant regulations and codes and clean your workplace |  |  |  |  |  |
|  | Ensure certain agitation of sample by Use of magnetic stirrer to reduce the errors due to the presence of air bubbles on the membrane surface |  |  |  |  |  |
|  | Record and report the Results with proper units and uncertainty. |  |  |  |  |  |
|  | Collect Samples in glass bottles. Use plastic bottles only if the sample is known to be free of organic contamination. |  |  |  |  |  |
|  | Analyze sample within 24 hours after sampling if it is delayed then preserve samples as per SOP. |  |  |  |  |  |
|  | Homogenize the sample by Shaking for at least 30 seconds |  |  |  |  |  |
|  | Wear appropriate eye protection and clothing for protection |  |  |  |  |  |
|  | Secure the unused vials in opaque container as the reagent mixture is light sensitive |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma- Level-5 in “Water Quality and Resource Management” (Technician-Supervisor) |
| --- | --- |
| Competency Standard | Perform Testing/Determination of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Chemical Oxygen Deamnd |  |  |
|  | Identify the reagents used to prepare COD Vial |  |  |
|  | Write down the concentration of KHP standard for 3 ranges |  |  |
|  | Explain why COD vials change color after digestion |  |  |
|  | Write the working principle of COD Photometer |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________